## ARS Core Audit Requirements
Alberta Reliability Standards Compliance Monitoring
Core Audit Requirements
Updated: November 16, 2021
Reliability Standard Number | Reliability Standard Name | Requirement Number1,2, 3
CIP-002 | Cyber Security - BES Cyber System Categorization | All requirements
CIP-003 | Cyber Security - Security Management Controls | All requirements
CIP-004 | Cyber Security – Personnel & Training | All requirements
CIP-005 | Cyber Security – Electronic Security Perimeter(s) | All requirements
CIP-006 | Cyber Security – Physical Security of BES Cyber Systems | All requirements
CIP-007 | Cyber Security - System Security Management | All requirements
CIP-008 | Cyber Security – Incident Reporting and Response Planning | All requirements
CIP-009 | Cyber Security – Recovery Plans for BES Cyber Systems | All requirements
CIP-010 | Cyber Security - Configuration Change Management and Vulnerability Assessments | All requirements
CIP-011 | Cyber Security – Information Protection | All requirements
CIP-014 | Physical Security | All requirements
EOP-005 | System Restoration from Blackstart Resources | All requirements
EOP-008 | Loss of Control Centre Functionality | All requirements
EOP-011 | Emergency Operations | All requirements
FAC-003 | Transmission Vegetation Management Program | R1 (AB1)
R2 (AB1)
FAC-008 | Facility Ratings | All requirements
PER-003 | Operations Personnel Credentials | All requirements
PER-005 | Operations Personnel Training | All requirements
PRC-001 | Protection System Coordination | All requirements (AB3-1.1ii)
PRC-002 | Disturbance Monitoring and Reporting Requirements | All requirements
PRC-004 | Analysis and Mitigation of Transmission and Generation Protection System Misoperation | All requirements
PRC-005 | Protection System, Automatic Reclosing, and Sudden Pressure Relaying Maintenance | All requirements
PRC-006 | Automatic Underfrequency Load Shedding | All requirements
PRC-019 | Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection | All requirements
PRC-004-WECC | Protection System and Remedial Action Scheme Misoperation | R2
PRC-023 | Transmission Relay Loadability | R1
R2
R3
PRC-025 | Generator Load Reliability | All requirements
VAR-002 | Generator Operation for Maintaining Network Voltages | R1 (AB-3 and AB-4.1)
R3 (AB-3 and AB-4.1)
R4 (AB-3 and AB-4.1)
1 Note: If no version of the reliability standard is specified, the requirement number pertains to every version of the standard in-effect.
2 Note: If a requirement contains sub-requirements, the requirement number pertains to all sub-requirements unless explicitly stated.
3 Note: Requirements are those applicable to market participants.