|  |  |  |
| --- | --- | --- |
| **Date of Change** | **Asset ID and Change Type** | **Change Description** |
| 2015-01-09 | NPC1: MC decrease | MC change from 12 MW to 11 MW |
| 2015-01-12 | NPC2: Asset addition | NPC2, MC 9 MW, Fuel Type Gas - Simple Cycle |
| 2015-01-26 | NRG3: Category change | NRG3 moved to the Other section |
| 2015-02-27 | WWD1: MC increase | MC change from 20 to 50MW |
| 2015-02-27 | WWD2: Removed | Removed from CSD page |
| 2015-02-27 | HMT1: MC increase | MC change from 30 MW to 45 MW |
| 2015-04-01 | CRWD: Asset ID change | Asset ID change from CRWD to CRW1 |
| 2015-04-10 | IOR2: MC increase | MC change from 170 MW to 195 MW |
| 2015-04-16 | MFG1: Asset addition | MFG1, MCR 16 MW, Fuel Type Gas - Simple Cycle |
| 2015-05-01 | NAT1: Asset addition | NAT1, MC 16 MW, Fuel Type Gas - Simple Cycle |
| 2015-05-01 | SD3: MC increase | MC change from 362 MW to 368 MW |
| 2015-10-02 | SD6: MC increase | MC change from 389 MW to 401 MW |
| 2015-12-01 | SCR1: MC decrease | MC change from 901 MW to 50 MW |
| 2015-12-01 | SCR5: Asset addition | SCR5, 376 MW, Gas - Cogeneration |
| 2015-12-01 | SCR6: Asset addition | SCR6, MC 475 MW, Gas - Cogeneration |
| 2015-12-01 | NPP1: MC increase | MC change from 93 MW to 105 MW |
| 2015-12-05 | BUL1: Asset addition | BUL1, MCR 13 MW, Fuel Type - Wind |
| 2015-12-05 | BUL2: Asset addition | BUL2, MCR 16 MW, Fuel Type - Wind |
| 2015-12-18 | SCR6: MC decrease | MC change from 475 MW to 473 MW |
| 2015-12-23 | CRG1: Asset addition | CRG1, MCR 10 MW, Fuel Type Gas - Cogeneration |
| 2015-12-23 | PEC1: Asset addition | PEC1, MCR 16 MW, Fuel Type Gas - Cogeneration |
| 2016-03-06 | CRW1: MC decrease | MC change from 38 MW to 20 MW |
| 2016-03-30 | SH1 MC increase | MC change from 390 MW to 400 MW |
| 2016-04-01 | SLP1: Asset addition | SLP1, MCR 9 MW, Fuel Type Other |
| 2016-04-16 | EGC1: MC decrease | MC change from 873 MW to 860 MW |
| 2016-05-31 | HSM1: Asset addition | HSM1, MC 6 MW, Fuel Type Gas - Simple Cycle |
| 2016-06-01 | CL01: Asset addition | CL01, MC 101 MW, Fuel Type Gas - Cogeneration |
| 2016-06-01 | CRW1: Asset ID change | Asset ID change from CRW1 to CRE3 |
| 2016-12-01 | RB1, RB2, RB3: Assets removed | Assets retired from market |

|  |  |  |
| --- | --- | --- |
| **Date of Change** | **Asset ID and Change Type** | **Change Description** |
| 2016-12-13 | NAT1: MC increase | MC change from 16 MW to 20 MW |
| 2016-12-20 | CNR5: MCR increase | MCR change from 103 MW to 203 MW |
| 2017-01-27 | NRG3: MC decrease | MC change from 19MW to 16MW |
| 2017-04-28 | SD1: MC decrease | MC change from 288 MW to 280 MW |
| 2017-04-28 | SD2: MC decrease | MC change from 288 MW to 280 MW |
| 2017-08-01 | FH1: Asset addition | FH1, MC 199 MW, Fuel Type Gas - Cogeneration |
| 2017-09-22 | MKRC: MC increase | MC change from 197 MW to 205 MW |
| 2017-12-05 | BSC1: Asset addition | BSC1, MC 15 MW, Fuel Type Other |
| 2018-01-01 | SD1: Removed | Asset retired from market |
| 2018-01-29 | CL01: MC decrease | MC change from 101 MW to 100 MW |
| 2018-03-02 | CMH1: MC increase | MC change from 210 MW to 255 MW |
| 2018-08-01 | SD2: Removed | Asset retired from market |
| 2018-10-01 | DV1: Removed | Asset retired from market |
| 2018-10-26 | MKRC: MC increase | MC change from 205 MW to 207 MW |
| 2018-11-28 | BHL1: Asset Addition | BHL1, MC 5 MW, Fuel Type Gas – Simple Cycle |
| 2019-02-20 | TC02: MC Increase | MC change from 46 MW to 92 MW |
| 2019-02-23 | MUL1: Asset Addition | MUL1, MC 5 MW, Fuel Type Gas - Cogeneration |
| 2019-05-01 | MFG1: Removed | Asset retired from market |
| 2019-07-01 | SDH1: Asset Addition | SDH1, MC 10 MW, Fuel Type Gas - Cogeneration |
| 2019-07-04 | BFD1: Asset Addition | BFD1, MC 6 MW, Fuel Type Gas - Cogeneration |
| 2019-08-30 | SCR6: MC Increase | MC change from 473 MW to 497 MW |
| 2019-09-01 | WHT1: Asset Addition | WHT1, MC 202 MW, Fuel Type Wind |
| 2019-11-01 | CRR2: Asset Addition | CRR2, MC 29 MW, Fuel Type Wind |
| 2019-11-01 | RIV1: Asset Addition | RIV1, MC 105 MW, Fuel Type Wind |
| 2019-11-08 | COD1: Asset Addition | COD1, MC 5 MW, Fuel Type Gas - Cogeneration |
| 2019-11-14 | ALS1: MC Increase | MC change from 96 MW to 106 MW |
| 2019-12-03 | APS1: Asset Name Change | APS1 Asset name changed from “ATCO Scotford Upgrader” to “Scotford Upgrader” |
| 2020-01-01 | BR3: Removed | Asset retired from market |
| 2020-02-19 | VXH1: Asset Addition | VXH1, MC 22 MW, Fuel Type Other |
| 2020-03-01 | SHCG: Asset Name Change | SHCG Asset name changed from “Shell Caroline (SHCG)\*” to “Caroline (SHCG)\*” |

|  |  |  |
| --- | --- | --- |
| **Date of Change** | **Asset ID and Change Type** | **Change Description** |
| 2020-04-23 | HRM: MC Increase | MC change from 144 MW to 185 MW |
| 2020-04-24 | HUL1: Asset Addition | HUL1, MC 25 MW, Fuel Type Other |
| 2020-05-01 | EGC1: MC Increase | MC change from 860 MW to 868 MW |
| 2020-05-02 | HRM: MC Increase | MC change from 185 MW to 167 MW |
| 2020-05-09 | HRM: MC Increase, Category Change | MC change from 167 MW to 208 MW, HRM moved to the Gas - Simple Cycle section |
| 2020-06-15 | INF1: Asset Addition | INF1, MC 22 MW, Fuel Type Other |
| 2020-06-26 | PMB1: Asset Addition | PMB1, MC 13 MW, Fuel Type Gas – Simple Cycle |
| 2020-08-01 | SD3: Removed | Asset retired from market |
| 2020-08-06 | IEW2: MC Increase | MC change from 66 MW to 76 MW |
| 2020-08-24 | IOR4: Asset Addition | IOR4, MC 43 MW, Fuel Type Gas - Cogeneration |
| 2020-08-30 | SUF1: Asset Addition | SUF1, MC 23 MW, Fuel Type Other |
| 2020-11-01 | IEW2: MC Decrease | MC change from 76 MW to 66 MW |
| 2020-11-01 | SUM1: Asset Addition | SUM1, MC 10MW, Fuel Type Other |
| 2020-11-06 | SH2: MC Increase | MC change from 390 MW to 400 MW |
| 2020-11-30 | ERV1: Asset Addition | ERV1, MC 20 MW, Fuel Type Other |
| 2021-01-25 | CLR1: Asset Addition | CLR1, MC 58 MW, Fuel Type Other |
| 2021-01-25 | CLR2: Asset Addition | CLR2, MC 75 MW, Fuel Type Other |
| 2021-02-18 | BRD1: Asset Addition | BRD1, MC 10 MW, Fuel Type Other |
| 2021-02-19 | SD6: Category Change | SD6 moved to the Gas - Simple Cycle section |
| 2021-02-22 | BUR1: Asset Addition | BUR1, MC 20 MW, Fuel Type Other |
| 2021-03-01 | SET1: Asset Addition | SET1, MC 20 MW, Fuel Type Gas – Simple Cycle |
| 2021-03-02 | WEF1: Asset Addition | WEF1, MC 19 MW, Fuel Type Other |
| 2021-03-05 | HSM1: Removed | Asset’s MC decreased to non-dispatchable. Removed from CSD page. |
| 2021-04-08 | BRD1: MC Increase | MC change from 10 MW to 11 MW |
| 2021-06-10 | WRW1: Asset Addition | WRW1, MC 207 MW, Fuel Type Wind |
| 2021-06-22 | New Categories Added | New Categories were added:  Dual Fuel, Solar, Energy Storage, Sub-category under Gas: Gas Fired Steam |
| 2021-06-22 | Assets Moved to New Categories | Assets SUM1, ERV1 moved to new Energy Storage section  Assets BRD1, BUR1, BSC1, CLR1, CLR2, HUL1, INF1, SUF1, VXH1, WEF1 move to new Solar section  Assets BR4, BR5, SH2 moved to new Dual Fuel section |
| 2021-06-24 | SD6: Category Change | SD6 moved to the Gas – Gas Fired Steam section |
| **Date of Change** | **Asset ID and Change Type** | **Change Description** |
| 2021-07-27 | KH2: Category Change | KH2 moved to the Gas – Gas Fired Steam section |
| 2021-07-30 | SH2: Category Change | SH2 moved to the Gas – Gas Fired Steam section |
| 2021-08-04 | HYS1: Asset Addition | HYS1, MC 23 MW, Fuel Type Solar |
| 2021-08-09 | JER1: Asset Addition | JER1, MC 23 MW, Fuel Type Solar |
| 2021-08-24 | WHT2: Asset Addition | WHT2, MC 97 MW, Fuel Type Wind |
| 2021-09-01 | BON1: Asset Addition | BON1, MC 10 MW, Fuel Type Other |
| 2021-09-15 | WHT2: MC Increase | MC change from 97 MW to 151 MW |
| 2021-10-01 | ERV2: Asset Addition | ERV2, MC 20 MW, Fuel Type Energy Storage |
| 2021-11-01 | SD5: Removed | Asset retired from market |
| 2021-11-19 | BR5: Category Change | BR5 moved to the Gas – Gas Fired Steam section |
| 2021-11-30 | HRT1: Asset Addition | HRT1, MC 116 MW, Fuel Type Gas - Cogeneration |
| 2021-12-01 | GPEC: MC Decrease | MC change from 27 MW to 18 MW |
| 2021-12-02 | RTL1: Asset Addition | RTL1, MC 130 MW, Fuel Type Wind |
| 2021-12-09 | HRM: MC Increase | MC change from 208 MW to 300 MW |
| 2021-12-20 | TVS1: Asset Addition | TVS1, MC 400 MW, Fuel Type Solar |
| 2022-01-01 | SD4: MC Decrease, Category Change | MC change from 406 MW to 113 MW, SD4 moved to the Gas – Gas Fired Steam section |
| 2022-01-01 | KH1: Removed | Asset retired from market |
| 2022-01-11 | KH3: Category Change | KH3 moved to the Gas – Gas Fired Steam section |
| 2022-01-14 | NPC3: Asset Addition | NPC3, MC 9 MW, Fuel Type Gas – Simple Cycle |
| 2022-01-14 | NPC1: Removed | Asset’s MC decreased to non-dispatchable. Removed from CSD page. |
| 2022-02-15 | STR1: Asset Addition | STR1, MC 18 MW, Fuel Type Solar |
| 2022-02-15 | STR2: Asset Addition | STR2, MC 23 MW, Fuel Type Solar |
| 2022-03-08 | BR4: Category Change | BR4 moved to the Gas – Gas Fired Steam section |
| 2022-03-16 | BRK2: Asset Addition | BRK2, MC 14 MW, Fuel Type Solar |
| 2022-03-18 | BRK1: Asset Addition | BRK1, MC 13 MW, Fuel Type Solar |
| 2022-03-24 | TVS1: MC Increase | MC change from 400 MW to 465 MW |
| 2022-04-01 | SD4: Removed | Asset retired from market |
| 2022-04-05 | COL1: Asset Addition | COL1, MC 23 MW, Fuel Type Solar |
| 2022-04-19 | CMH1: MC Increase | MC change from 255 MW to 299 MW |
| 2022-05-21 | CAL1: MC Increase | MC change from 320 MW to 330 MW |
| 2022-05-28 | NMK1: Asset Addition | NMK1, MC 20 MW, Fuel Type Solar |
| **Date of Change** | **Asset ID and Change Type** | **Change Description** |
| 2022-06-08 | MON1: Asset Addition | MON1, MC 24 MW, Fuel Type Solar |
| 2022-07-08 | CRD1: Asset Addition | CRD1, MC 23 MW, Fuel Type Solar |
| 2022-07-08 | CRD2: Asset Addition | CRD2, MC 18 MW, Fuel Type Solar |
| 2022-07-12 | HRT1: MC Decrease | MC change from 116 MW to 108 MW |
| 2022-08-03 | WHE1: Asset Addition | WHE1, MC 120 MW, Fuel Type Wind |
| 2022-08-08 | KKP1: Asset Addition | KKP1, MC 7 MW, Fuel Type Solar |
| 2022-08-08 | KKP2: Asset Addition | KKP2, MC 7 MW, Fuel Type Solar |
| 2022-08-17 | FMG1: Asset Addition | FMG1, MC 200 MW, Fuel Type Wind |
| 2022-08-19 | ERV3: Asset Addition | ERV3, MC 20 MW, Fuel Type Energy Storage |
| 2022-09-02 | SRL1: Asset Addition | SRL1, MC 20 MW, Fuel Type Other |
| 2022-09-15 | EPS1: Asset Addition | EPS1, MC 46 MW, Fuel Type Gas – Cogeneration |
| 2022-09-22 | VCN1: Asset Addition | VCN1, MC 22 MW, Fuel Type Solar |
| 2022-09-30 | HHW1: Asset Addition | HHW1, MC 145 MW, Fuel Type Wind |
| 2022-10-01 | GN2: MC Increase | MC change from 400 MW to 420 MW |
| 2022-10-01 | BR5: MC Increase | MC change from 385 MW to 395 MW |
| 2022-10-05 | CLY1: Asset Addition | CLY1, MC 41 MW, Fuel Type Solar |
| 2022-10-05 | CLY2: Asset Addition | CLY2, MC 34 MW, Fuel Type Solar |
| 2022-10-17 | CYP2: Asset Addition | CYP2, MC 46 MW, Fuel Type Wind |
| 2022-11-01 | MIC1: Asset Addition | MIC1, MC 25 MW, Fuel Type Solar |
| 2022-11-01 | TRH1: Asset Addition | TRH1, MC 25 MW, Fuel Type Solar |
| 2022-11-01 | HRV1: Asset Addition | HRV1, MC 10 MW, Fuel Type Gas – Simple Cycle |
| 2022-11-04 | GN3: Category Change | GN3 moved to the Dual Fuel section |
| 2022-11-04 | HLD1: Asset Addition | HLD1, MC 100 MW, Fuel Type Wind |
| 2022-11-08 | CYP1: Asset Addition | CYP1, MC 196 MW, Fuel Type Wind |
| 2022-11-14 | LAN1: Asset Addition | LAN1, MC 151 MW, Fuel Type Wind |
| 2022-11-15 | JNR3: Asset Addition | JNR3, MC 109 MW, Fuel Type Wind |
| 2022-11-21 | GDP1: Asset Addition | GDP1, MC 130 MW, Fuel Type Wind |
| 2022-12-01 | GRZ1: Asset Addition | GRZ1, MC 152 MW, Fuel Type Wind |
| 2022-12-23 | BLS1: Asset Addition | BLS1, MC 27 MW, Fuel Type Solar |
| 2023-01-16 | ERV5: Asset Addition | ERV5, MC 20 MW, Fuel Type Energy Storage |
| 2023-04-19 | CHP1: Asset Addition | CHP1, MC 14 MW, Fuel Type Solar |
| 2023-05-01 | MCH1: Asset Addition | MCH1, MC 13 MW, Fuel Type Solar |
| 2023-05-16 | STV1: Asset Addition | STV1, MC 17 MW, Fuel Type Solar |
| 2023-06-21 | HRV2: Asset Addition | HRV2, MC 10 MW, Fuel Type Gas – Simple Cycle |
| 2023-06-21 | EMP1: Asset Addition | EMP1, MC 39 MW, Fuel Type Solar |
| 2023-06-30 | SWP1: Asset Addition | SWP1, MC 113 MW, Fuel Type Wind |
| 2023-07-14 | DFT1: Asset Addition | DFT1, MC 37 MW, Fuel Type Solar |
| 2023-07-19 | YNG1: Asset Addition | YNG1, MC 6 MW, Fuel Type Solar |
| 2023-07-26 | WLC1: Asset Addition | WLC1, MC 9MW, Fuel Type Gas – Simple Cycle |
| 2023-08-04 | JNR1: Asset Addition | JNR1, MC 122 MW, Fuel Type Wind |
| 2023-08-12 | CAS1: Asset Addition | CAS1, MC 450 MW, Fuel Type Gas – Combined Cycle |
| 2023-08-12 | CAS2: Asset Addition | CAS2, MC 450 MW, Fuel Type Gas – Combined Cycle |
| 2023-08-23 | ERV4: Asset Addition | ERV4, MC 20 MW, Fuel Type Energy Storage |
| 2023-08-23 | ERV6: Asset Addition | ERV6, MC 20 MW, Fuel Type Energy Storage |
| 2023-09-09 | MCH1: MC Increase | MC change from 13 MW to 14 MW |
| 2023-09-15 | GRZ1: Asset Name Change | GRZ1 Asset name changed from “Grizzly Bear Creek” to “Grizzly Bear” |
| 2023-09-21 | HRM: Category Change | HRM moved to Combined Cycle section |
| 2023-10-25 | SLD1: Asset Addition | SLD1, MC 81 MW, Fuel Type Solar |
| 2023-10-27 | SHH1: Asset Addition | SHH1, MC 297 MW, Fuel Type Wind |
| 2023-11-06 | JFS1: Asset Addition | JFS1, MC 25 MW, Fuel Type Solar |
| 2023-11-06 | JFS2: Asset Addition | JFS2, MC 22 MW, Fuel Type Solar |
| 2023-11-15 | PAW1: Asset Addition | PAW1, MC 198 MW, Fuel Type Wind |
| 2023-11-17 | SLD1: Removed | Asset retired from market |
| 2023-11-17 | SDL1: Asset Addition | SDL1, MC 81 MW, Fuel Type Solar |
| 2023-11-20 | WCR1: Asset Addition | WCR1, MC 50 MW, Fuel Type Solar |
| 2023-11-22 | BFL1: Asset Addition | BFL1, MC 18 MW, Fuel Type Wind |
| 2023-11-22 | BFL2: Asset Addition | BFL2, MC 18 MW, Fuel Type Wind |
| 2023-11-22 | BFL3: Asset Addition | BFL3, MC 18 MW, Fuel Type Wind |
| 2023-11-22 | BFL4: Asset Addition | BFL4, MC 18 MW, Fuel Type Wind |
| 2023-11-25 | JNR2: Asset Addition | JNR2, MC 71 MW, Fuel Type Wind |
| 2023-11-28 | ERV7: Asset Addition | ERV7, MC 20 MW, Fuel Type Energy Storage |
| 2023-11-28 | ERV8: Asset Addition | ERV8, MC 20 MW, Fuel Type Energy Storage |
| 2023-12-05 | FCS1: Asset Addition | FCS1, MC 75 MW, Fuel Type Solar |
| 2023-12-08 | SGC1: Asset Addition | SGC1, MC 30 MW, Fuel Type Solar |
| 2023-12-10 | WEM1: Asset Addition | WEM1. MC 19 MW, Fuel Type Gas – Cogeneration |
| 2023-12-11 | ERV9: Asset Addition | ERV9, MC 20 MW, Fuel Type Energy Storage |
| 2023-12-12 | SLR1: Asset Addition | SLR1, MC 75 MW, Fuel Type Solar |
| 2023-12-16 | BFL2: MC Decrease | MC change from 18 MW to 16 MW |
| 2023-12-16 | BFL4: MC Decrease | MC change from 18 MW to 10 MW |
| 2024-02-01 | KH3: MC Increase | MC change from 463 MW to 466 MW |
| 2024-02-21 | GNR1: Asset Addition | GNR1, MC 411 MW, Fuel Type Gas – Simple Cycle |
| 2024-05-01 | GN1: Removed | Asset retired from market |
| 2024-05-07 | GNR2: Asset Addition | GNR2, MC 411 MW, Fuel Type Gas – Simple Cycle |
| 2024-06-04 | FRM1: Asset Addition | FRM1, MC 266 MW, Fuel Type Wind |
| 2024-06-14 | BFL4: MC Increase | MC change from 10 MW to 11 MW |
| 2024-07-01 | GN2: Removed | Asset retired from market |
| 2024-07-12 | GN3: Category Change | GN3 moved to Gas Fired Steam section |
| 2024-07-12 | VBN1: Asset Addition | VBN1, 5 MW, Fuel Type Gas |
| 2024-07-24 | BLS1: MC Increase | MC change from 27 MW to 31 MW |
| 2024-07-24 | DFT1: MC Increase | MC change from 37 MW to 41 MW |
| 2024-08-13 | VNT1: Asset Addition | VNT1, 5 MW, Fuel Type Gas |
| 2024-08-31 | GNR1: Asset Addition | GNR1, MC 466 MW, Fuel Type Gas – Combined Cycle |
| 2024-08-20 | BPW1: Asset Addition | BPW1, MC 466 MW, Fuel Type Wind |
| 2024-08-28 | FCS1: MC Increase | MC changed from 75 MW to 80 MW |
| 2024-08-31 | GNR1: Asset Addition | GNR1, MC 466 MW, Fuel Type Gas – Combined Cycle |
| 2024-09-19 | HAL2: Asset Addition | HAL2, MC 126 MW, Fuel Type Wind |
| 2024-09-19 | WPT1: Asset Addition | WPT1, MC 30 MW, Fuel Type Gas - Cogeneration |
| 2024-09-30 | VKW1: Asset Addition | VKW1, 5 MW, Fuel Type Gas |
| 2024-10-08 | CLD1: Asset Addition | CLD1, 9 MW, Fuel Type Solar |
| 2024-10-10 | SCR1: MC Increase | MC change from 50 MW to 453 MW |
| 2024-10-25 | GNR2: Asset Addition | GNR2, MC 466 MW, Fuel Type Gas – Combined Cycle |
| 2024-11-01 | ACD1: Asset Addition | ACD1, MC 140 MW, Fuel Type Solar |
| 2024-11-09 | SCR1: MC Increase | MC change from 453 MW to 856 MW |
| 2024-11-15 | VNV1: Asset Addition | VNV1, 5 MW, Fuel Type Gas |
| 2024-11-21 | WIN1: Asset Addition | WIN1, MC 136 MW, Fuel Type Wind |
| 2024-12-06 | FMG1: MC Increase | MC changed from 200 MW to 220 MW |