## Template Inputs
Alberta Electric System Operator
Estimated Cost Parameters and Physical Constraints Template
Section 206.2 of the ISO rules, Interim Supply Cushion Directives
Notes:
- The information contained on this sheet is required under Section 206.2 of the ISO rules and must be submitted in this format
- Input cells are indicated in blue
- Please refer to subsection 3 of ID #2024-005, Interim Supply Cushion Directives, for further information to assist in the completion of this template
Asset ID:
Minimum stable generation (MW)
Minimum off time (hours)
No load heat rate estimate (GJ/hour)
Incremental heat rate estimate (GJ/MWh)
Variable O&M cost estimate at MSG ($/hour)
Emissions cost estimate at MSG ($/hour)
Loss Factor %
Warmth category | HOT | WARM | COLD
Lower limit (hours) | 0
Maximum run up time (minutes)
Minimum on time (hours)
Initial start-up time (hours)
Start-up heat (GJ)
Start-up variable O&M cost estimate ($)
Start-up emissions cost estimate ($)
Note on B21: HOT lower limit MUST be 0
Note on A24: See subsection 3.2 of ID #2024-005.

## Cost Estimates
Alberta Electric System Operator
DRAFT - Estimated Cost Parameters and Physical Constraints Template
Section 206.2 of the ISO rules, Interim Supply Cushion Directives
Notes:
- Cost Estimates sheet may be used to assist in the estimation of costs
- Submission of Cost Estimates sheet is not required unless requested by the ISO under Section 206.2 of the ISO rules
- Input cells are indicated in blue and are used for cost estimate calculations
- Prefilled values are for demonstration purposes only
Asset name | Warmth category | MSG (MW) | Start-up - lower limit (hours) | Start-up - upper limit (hours) | Ramp rate to MSG (MW/minute) | Maximum run up time (minutes) | Initial start-up time (hours) | Start-up heat (GJ) | No load heat rate (GJ/hour) | Incremental heat rate (GJ/MWh) | Energy produced (MWh) | Pre-sync fuel usage (GJ) | Post-sync fuel usage to MSG (GJ) | Fuel Price ($/GJ) | Carbon intensity (t C02e per GJ) | TIER electricity HPB (t CO2e per MWh) | Carbon compliance rate ($ per t C02e) | Tonnes of CO2e for total fuel usage | Start-up OBA allowance (t C02e) | Excess CO2e over OBA (tonnes) | Start-up Emissions cost total ($) | Carbon cost ($/MWh) | Fuel cost total ($) | Fuel cost ($/MWh) | Pre-Sync O&M Cost | Variable O&M charge to MSG ($/MWh) | Start-up Variable O&M Cost ($) | Pool trading charge ($/MWh) | Pool trading charge Total ($) | Totalized energy cost ($/MWh) | Totalized energy cost ($)
ASSET1 | Hot | 120 | 0 | 4.999 | 1 | 120 | 5 | 800 | 100 | 8 | 120 | 800 | 1160 | 3 | 0.0561 | 0.3552 | 80 | 109.956 | 42.624 | 67.332 | 5386.56 | 44.888 | 5880 | 49 | 200 | 4 | 680 | 0.375 | 45 | 98.263 | 11791.56
ASSET1 | Warm | 120 | 5 | 19.999 | 1 | 120 | 90 | 1200 | 100 | 8 | 120 | 1200 | 1160 | 3 | 0.0561 | 0.3552 | 80 | 132.396 | 42.624 | 89.772 | 7181.76 | 59.848 | 7080 | 59 | 400 | 4 | 880 | 0.375 | 45 | 123.223 | 14786.76
ASSET1 | Cold | 120 | 20 | - | 1 | 120 | 180 | 2000 | 100 | 8 | 120 | 2000 | 1160 | 3 | 0.0561 | 0.3552 | 80 | 177.276 | 42.624 | 134.652 | 10772.16 | 89.768 | 9480 | 79 | 600 | 4 | 1080 | 0.375 | 45 | 173.143 | 20777.16
Hourly costs while operating at MSG
Asset name | Hourly Tonnes of CO2e at MSG | Hourly OBA allowance at MSG (t C02e) | Excess CO2e over OBA (tonnes) | Emissions cost estimate at MSG ($/hour) | Variable O&M Cost Estimate at MSG ($/hour)
ASSET1 | 59.466 | 42.624 | 16.842 | 1347.36 | 480