## Contents
Alberta Electric System Operator
2024 ISO Tariff Update Application
November 16, 2023
Appendix B — 2024 Rate Calculations
Contents
Appendix B
Updated 2024 Rate Calculations
B-1 | AESO 2024 Forecast Revenue Requirement
B-2 | 2024 Forecast Transmission Facility Owner Wires Costs
B-3 | Revenue Requirement Allocation to Demand and Supply Transmission Service
B-4 | Tariff Revenue Offsets
B-5 | Demand Transmission Service Costs Classified to Demand, Usage, and Customers
B-6 | POD Cost Function and POD Cost Classification
B-7 | Demand Transmission Service Cost Recovery
B-8 | Demand Transmission Service Rate Calculation
B-9 | Supply Transmission Service Costs Classified to Demand and Usage
B-10 | Supply Transmission Service Rate Calculation
B-11 | Opportunity Service Rate Calculations
B-12 | 2024 Billing Determinants
B-13 | Rate Change Impact Compared to 2023 Approved Rates
B-14 | Fort Nelson Demand Transmission Service Rate Calculation
B-15 | 2024 Fort Nelson Billing Determinants
B-16 | Bill Impact Estimator

## B-1 Rev Req
Alberta Electric System Operator | [9 empty] | Table B-1
2024 ISO Tariff Update Application | [9 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
AESO 2024 Forecast Revenue Requirement, $ 000 000
[6 empty] | A | B | C | D
[6 empty] | 2024 | 2023 | 2022 | 2021
[6 empty] | Forecast | Forecast | Recorded | Recorded
No. |  | Description |  |  |  | Costs | Costs | Costs | Costs
WIRES
TFO Wires-Related Costs
1 |  |  | AltaLink |  |  | 889.9183 | 875.0472 | 864.3693 | 632.6121
2 |  |  | ATCO Electric |  |  | 648.1874 | 683.6736 | 699.9664 | 685.5989
3 |  |  |  | Isolated Generation |  | -1.0565 | -1.1289 | -1.9398 | -1.1842
4 |  |  |  |  | Subtotal ATCO Costs | 647.1309 | 682.5447 | 698.0266 | 684.4147
5 |  |  | ENMAX Power Corporation |  |  | 135.7238 | 122.7318 | 105.2342 | 102.0014
6 |  |  | EPCOR Distribution & Transmission |  |  | 126.6895 | 124.6925 | 113.11 | 110.63
7 |  |  | City of Lethbridge |  |  | 9.836 | 9.836 | 9.4224 | 9.345
8 |  |  | TransAlta Utilities Corporation |  |  | 9.4193 | 8.1606 | 8.1606 | 7.5193
9 |  |  | City of Red Deer |  |  | 5.6085 | 5.275 | 5.23 | 5.0772
10 |  |  | PiikaniLink (PLP) |  |  | 4.7705 | 4.8646 | 5.0589 | 0
11 |  |  | KainaiLink (KLP) |  |  | 3.0603 | 3.125 | 3.2512 | 0
12 |  |  | Fortis Alberta |  |  | 3.1615 | 3.0269 | 2.965 | 4.924
13 |  |  | BC Hydro |  |  | 0 | 0 | 0 | 0
14 |  |  | Alberta PowerLine L.P. |  |  | 108.7874 | 108.2335 | 107.7963 | 107.2515
15 |  |  |  | Subtotal TFO Wires-Related Costs |  | 1944.1062 | 1947.5378 | 1922.6245 | 1663.7751
Non-Wires Costs
16 |  |  | Invitation to Bid on Credits (IBOC) |  |  | 0 | 0 | - | 2
17 |  |  | Location Based Credit Standing Offer (LBC SO) |  |  | 0 | 0.36 | 1.6159 | 2
18 |  |  |  | Subtotal IBOC/LBC SO Costs |  | 0 | 0.36 | 1.6159 | 4
19 |  |  |  |  | TOTAL WIRES COSTS | 1944.1062 | 1947.8978 | 1924.2403 | 1667.7751
ANCILLARY SERVICES
Operating Reserves
Active
20 |  |  |  | Regulating |  | 107.4586 | 64.4915 | 115.3146 | 75.7183
21 |  |  |  | Spinning |  | 118.8705 | 117.9158 | 223.0514 | 143.5365
22 |  |  |  | Supplemental |  | 46.453 | 73.3332 | 127.9857 | 95.6136
23 |  |  |  |  | Subtotal Active Reserves | 272.782 | 255.7405 | 466.3517 | 314.8683
Standby
24 |  |  |  | Regulating |  | 35.0208 | 4.56 | 24.3731 | 5.7271
25 |  |  |  | Spinning |  | 5.7912 | 7.64 | 8.4094 | 14.4991
26 |  |  |  | Supplemental |  | 1.2713 | 1.52 | 2.0147 | 4.0709
27 |  |  |  |  | Subtotal Standby Reserves | 42.0832 | 13.72 | 34.7972 | 24.2971
28 |  |  | Trading Fees and Other Related Charges |  |  | -6.4734 | -4.9198 | -6.7913 | -5.6164
29 |  |  |  | Subtotal Operating Reserves |  | 308.3919 | 264.5407 | 494.3577 | 333.5489
Other Ancillary Services
30 |  |  | Black Start |  |  | 2.8394 | 2.7 | 2.5087 | 2.4359
31 |  |  | Transmission Must Run (TMR) |  |  | 3.7 | 5.3 | 3.1434 | 6.3658
32 |  |  | Load Shed Service (LSS) |  |  | 38.5482 | 26.6 | 30.5786 | 31.3777
33 |  |  | Reliability Services from BC |  |  | 2.8571 | 2.9 | 2.8571 | 2.8571
34 |  |  | Transferred Frequency Response |  |  | 3.5279 | 0 | 0 | 0
35 |  |  | Transmission Constraint Rebalancing (TCR) |  |  | 4 | 1 | 1.8034 | 2.6504
36 |  |  | Interruptible Load Remedial Action Scheme (ILRAS) |  |  | 0 | 0 | 0 | 0
37 |  |  | Generator Remedial Action Scheme |  |  | 0 | 0 | 0 | 0
38 |  |  |  | Subtotal Other Ancilary Services |  | 55.4726 | 38.5 | 40.8913 | 45.687
39 |  |  |  |  | TOTAL ANCILLARY SERVICES | 363.8645 | 303.0407 | 535.249 | 379.2359
LOSSES
40 |  |  | Pool Payment |  |  | 178.3 | 183.8 | 332.7 | 201.8
41 |  |  |  | TOTAL LOSSES COSTS |  | 178.3 | 183.8 | 332.7 | 201.8
OTHER INDUSTRY COSTS
42 |  |  | Regulatory Process Costs |  |  | 0.935 | 2.038 | 6.2823 | 2.1
43 |  |  | Western Electricity Coordination Council (WECC) |  |  | 3.1967 | 2.6833 | 2.4129 | 2.3
44 |  |  | Share of Commission Costs |  |  | 11.2058 | 10.188 | 8.8566 | 9.8
45 |  |  |  | TOTAL OTHER INDUSTRY COSTS |  | 15.3375 | 14.9093 | 17.5517 | 14.2
GENERAL AND ADMINISTRATIVE COSTS
Administrative Costs
46 |  |  | Staff and Benefits |  |  | 71.977 | 60.7557 | 56.3912 | 52.9736
47 |  |  | Contract Services and Consultants |  |  | 5.807 | 3.9775 | 1.7155 | 3.4744
48 |  |  | Administration |  |  | 4.8446 | 4.4186 | 4.0478 | 2.6507
49 |  |  | Facilities |  |  | 3.6981 | 3.1919 | 3.3818 | 2.8646
50 |  |  | Computer and Telecom Services and Maintenance |  |  | 10.065 | 8.9435 | 7.6432 | 7.7572
51 |  |  |  | Subtotal Administrative Costs |  | 96.3917 | 81.2872 | 73.1795 | 69.7205
General Costs
52 |  |  | Market Systems Replacement |  |  | 0 | 0 | 0 | 0
53 |  |  | Interest |  |  | 0.5027 | 0.57458 | 0.49951 | 1
54 |  |  | Amortization and Depreciation |  |  | 19.1989 | 17.122 | 17.5505 | 21
55 |  |  |  | Subtotal General Costs |  | 19.7016 | 17.6966 | 18.0501 | 22
56 |  |  |  |  | TOTAL G&A COSTS | 116.0933 | 98.9837 | 91.2296 | 91.7205
57 |  | TOTAL G&A AND OTHER INDUSTRY COSTS |  |  |  | 131.4308 | 113.8931 | 108.7813 | 105.9205
58 |  | TOTAL REVENUE REQUIREMENT |  |  |  | 2617.7015 | 2548.6315 | 2900.9706 | 2354.7315
Note: | 1 | Numbers may not add due to rounding.
| 2 | 2023 forecast in column B is what was filed in the 2023 ISO Tariff Rates Update in proceeding 27777.
| 3 | The recorded costs in columns C and D is what was filed in the 2022 DAR in proceeding 28293.
| 4 | In 2021 and prior KLP and PLP were included as part of AltaLinks wires costs

## B-2 TFO Rev Req
Alberta Electric System Operator | [11 empty] | Table B-2
2024 ISO Tariff Update Application | [11 empty] | November 16, 2023
2024 Forecast Transmission Facility Owner Wires Costs
| A | B | C | D | E | F | G | H | I | J | K | L
|  | Last Approved Revenue Requirement |  |  | Latest TFO Application |  |  | 2022 TFO Revenue Requirement Forecast
Row No. | TFO | Type | Amount ($ millions) | Year | Type | Amount ($ millions) | Proceeding ID | Basis | Source | Increase / (Decrease) ($ millions) | 72% of Increase / (Decrease) ($ millions) | Forecast Revenue Requirement ($ millions)
1 | AltaLink | Final approval | 875.0472 | 2023 | Filed 2024 | 895.7016 | 28174 | 2024 Filed | Exhibit 28174-X0007.01, Schd 3-1, Cell R29 | 20.6544 | 14.8712 | 889.9183
2 | ATCO Electric | Compliance | 631.0187 | 2023 | Approved 2024 | 648.1874 | 28252 | 2024 Final Approved | Exhibit 28252_X0005.01, Cell I28 | NA | NA | 648.1874
3 | ENMAX | Final Approval | 105.2342 | 2022 | Compliance 2024 | 135.7238 | 27581 | 2024 Compliance Filing | 28563-X0003, Tab 31, Cell O31 | NA | NA | 135.7238
4 | EPCOR | Final Approval | 126.5849 | 2023 | Approved 2024 | 126.6895 | 27675 | 2024 Final Approved | Decision 27675-D01-2023 Par. 49 | NA | NA | 126.6895
5 | City of Lethbridge | Final approval | 9.4224 | 2022 | Approved 2023 | 9.836 | 27213 | 2023 Final Approved | 27213-X0002, Sheet 3-1, Cell K21 | NA | NA | 9.836
6 | TransAlta Corporation | Final Approved | 9.0073 | 2022 | Approved 2023 | 9.4193 | 27964 | 2023 Final Approved | 27964-X0004, Schdule 3-1, Cell K21 | NA | NA | 9.4193
7 | City of Red Deer | Final Approved | 5.2125 | 2022 | Approved 2023 | 5.6085 | 27878 | 2023 Final Approved | Exhibit 27878-X0002, Schd 3-1, Cell N23 | NA | NA | 5.6085
8 | PiikaniLink (PLP) | Final Approval | 4.8646 | 2023 | Filed 2024 | 4.7339 | 28174 | 2024 Filed | Exhibit 28174-X0237, Sch 3-1, Cell R28 | -0.13066 | -0.094077 | 4.7705
9 | KainaiLink (KLP) | Final Approval | 3.125 | 2023 | Filed 2024 | 3.0352 | 28174 | 2024 Filed | Exhibit 28174-X0232, Sch 3-1, Cell R28 | -0.089824 | -0.064673 | 3.0603
10 | FortisAlberta | Interim Approved | 3.051 | 2023 | Compliance 2024 | 3.1615 | 28576 | 2024 Compliance Filing | 28576-X0021, Tab 2.1 Y Factor Amounts, Cell L15 | NA | NA | 3.1615
11 | Alberta PowerLine | NA | NA | NA | Filed All Years | 108.7874 | 23161 | Approved Payment Schedule plus other Adjustments | Decision 23161-D01-2018 | NA | NA | 108.7874
Notes: | A: 1. “NA” means not applicable

## B-3 Allocation
Alberta Electric System Operator | [8 empty] | Table B-3
2024 ISO Tariff Update Application | [8 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Revenue Requirement Allocation to Demand and Supply Transmission Service
|  |  | A | B |  | C | D | E | F
[6 empty] | Allocation to DTS |  | Allocation to STS
| Description |  | Functionalization Ratio1 | Forecast $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  | 51.69% | 1004.9601 |  | 100% | 1004.9601 | 0% | 0
3 | Regional System |  | 24.58% | 477.9424 |  | 100% | 477.9424 |  | 0
4 | Point of Delivery |  | 23.72% | 461.2037 |  | 100% | 461.2037 | 0% | 0
5 | Total Wires |  | 100% | 1944.1062 |  | 100% | 1944.1062 | 0% | 0
6 | Ancillary Services
7 | Operating Reserves |  |  | 308.3919 |  | 100% | 308.3919 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start |  | 2.8394 |  | 100% | 2.8394 | 0% | 0
10 |  | Transmission Must Run (TMR) |  | 3.7 |  | 100% | 3.7 | 0% | 0
11 |  | Load Shed Services (LSS) |  | 38.5482 |  | 100% | 38.5482 | 0% | 0
12 |  | Reliability Services from BC |  | 2.8571 |  | 100% | 2.8571 | 0% | 0
13 |  | Transferred Frequency Response |  | 3.5279 |  | 100% | 3.5279 | 0% | 0
14 |  | Transmission Constraint Rebalancing (TCR) |  | 4 |  | 100% | 4 | 0% | 0
15 |  | Interruptible Load Remedial Action Scheme (ILRAS) |  | 0 |  | 100% | 0 | 0%
16 |  | Generator Remedial Action Scheme (RAS) |  | 0 |  | 100% | 0
17 | Total Ancillary Services |  |  | 363.8645 |  | 100% | 363.8645 | 0% | 0
18 | Losses |  |  | 178.3 |  | 0% | 0 | 100% | 178.3
19 | Other Industry |  |  | 15.3375 |  | 100% | 15.3375 | 0% | 0
20 | General and Administrative |  |  | 116.0933 |  | 100% | 116.0933 | 0% | 0
21 | Total Revenue Requirement |  |  | 2617.7015 |  | 93.19% | 2439.4015 | 6.811% | 178.3
22 | Tariff Revenue Offsets | [5 empty] | 22.6997 |  | -10.716
23 | Regulated Generating Unit Connection Costs | [5 empty] | 0 |  | 0
24 | Net DTS and STS Revenue Requirement | [5 empty] | 2462.1011 |  | 167.584
Note: | 1. 2020 Functionalization Ratios as described in Exhibit 22942.X0026, transmission System Cost Causation Study 2018 Update Workbook, Tab 'Guide', Cells E29 to E31
and approved in Decision 22942-D02-2019, Alberta Electric System Operator 2018 Independent System Operator Tariff, issued September 22, 2019, para 74.
103.2354

## B-4 Offsets
Alberta Electric System Operator | [8 empty] | Table B-4
2024 ISO Tariff Update Application | [8 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Tariff Revenue Offsets
|  |  | A | B | C | D | E | F | G
|  |  |  | Allocation to DTS |  | Allocation to STS |  | Forecasting Calculation |  | Updated | Variance
| Description |  | Forecast $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Volume | Rate | Forecast $ 000 000 | $ 000 000
1 | DTS Tariff Revenue Offsets
2 | Power Factor Deficiency Revenue |  | -1.1866 | 100% | -1.1866 |  |  | 2966.6 | 400 | -1.1866 | 0
3 | Demand Opportunity Service Revenue |  |  |  | 0 |  |  | 0
|  | Rate | -0.40355 | 100% | -0.40355 |  |  | 49621.9989 | 8.1325 | -0.40355 | 0
|  | Transaction | -0.0045 | 100% | -0.0045 |  |  | 9 | 500 | -0.0045 | 0
4 | Export Opportunity Service Revenue |  |  |  | 0 |  |  | 0
|  | Rate | -14.694 | 100% | -14.694 |  |  | 1612445.0678 | 9.1129 | -14.694 | 0
|  | Transaction | -0.0685 | 100% | -0.0685 |  |  | 137 | 500 | -0.0685 | 0
5 | UFLS Credits |  | 2.8666 | 100% | 2.8666 |  |  | NA | NA | 2.8666 | 0
6 | Primary Service Credits |  |  |  | 0 |  |  | 0
|  | Customer Charge × SF | 2.8442 | 100% | 2.8442 |  |  | 245.9089 | 11566 | 2.8442 | 0
|  | Billing Capacity ≤ (7.5×SF) MW | 6.401 | 100% | 6.401 |  |  | 1681.3721 | 3807 | 6.401 | 0
|  | BC > (7.5×SF) to ≤ (17×SF) MW | 3.931 | 100% | 3.931 |  |  | 1740.9274 | 2258 | 3.931 | 0
|  | BC > (17×SF) to ≤ (40×SF) MW | 5.0831 | 100% | 5.0831 |  |  | 3364.0943 | 1511 | 5.0831 | 0
|  | Billing Capacity > (40×SF) MW | 20.4632 | 100% | 20.4632 |  |  | 17371.1568 | 1178 | 20.4632 | 0
7 | RGU Connection Costs |  | 0 | 100% | 0 |  |  | 0 | 0 | 0 | 0 | `
8 | Fort Nelson Service Revenue |  | -2.0079 | 100% | -2.0079 |  |  | NA | NA | -2.0079 | 0
9 | Duplication Avoidance Adjustments |  | -0.52436 | 100% | -0.52436 |  |  | NA | NA | -0.52436 | 0
10 | Total DTS Offsets |  | 22.6997 | 100% | 22.6997 | 0% | 0 |  |  | 22.6997
11 | STS Tariff Revenue Offsets
12 | Demand Opportunity Service Losses |  | -0.013246 |  |  | 100% | -0.013246 | 49621.9989 | 0.32% | -0.013246 | 0
13 | Export Opportunity Service Losses
|  | BC Losses | -0.81777 |  |  | 100% | -0.81777 | 1420725.75 | 0.69% | -0.81777 | 0
|  | SK Losses | -0.067614 |  |  | 100% | -0.067614 | 35394.25 | 2.29% | -0.067614 | 0
14 | Import Opportunity Service Losses
|  | BC Losses | -1.9192 |  |  | 100% | -1.9192 | 898690 | 2.56% | -1.9192 | 0
|  | MT Losses | -4.4514 |  |  | 100% | -4.4514 | 884939.9269 | 6.03% | -4.4514 | 0
|  | SK Losses | -3.3823 |  |  | 100% | -3.3823 | 722728 | 5.61% | -3.3823 | 0
|  | Transaction Revenue | -0.0645 |  |  | 100% | -0.0645 | 129 | 500 | -0.0645 | 0
15 | Total STS Offsets |  | -10.716 | 0 | 0 | 100% | -10.716 |  |  | -10.716
16 | Total Tariff Revenue Offsets |  | 11.9836 | 189.4% | 22.6997 | -89.42% | -10.716

## B-5 DTS Classification
Alberta Electric System Operator | [12 empty] | Table B-5
2024 ISO Tariff Update Application | [12 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Demand Transmission Service Costs Classified to Demand, Usage, and Customer
|  |  | A | B | C | D | E | F | G | H | I | J | K
|  |  | DTS | Classification to Rate Component1
|  |  | Amount | Coincident Demand |  | Non-Coincident Dem’d |  | Flat Usage |  | Varying Usage |  | Customer
Line No. | Description |  | [Table B-3] $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  | 1004.9601 | 93.45% | 939.0982 | 0% | 0 | 6.554% | 65.862 | 0% | 0 | 0% | 0
3 | Regional System |  | 477.9424 | 0% | 0 | 89.54% | 427.9668 | 10.46% | 49.9755 | 0% | 0 | 0% | 0
4 | Point of Delivery |  | 461.2037 | 0% | 0 | 84.12% | 387.9591 | 0% | 0 | 0% |  | 15.88% | 73.2446
5 | Total Wires |  | 1944.1062 | 48.3% | 939.0982 | 41.97% | 815.9259 | 5.958% | 115.8375 | 0% | 0 | 3.768% | 73.2446
6 | Ancillary Services
7 | Operating Reserves |  | 308.3919 | 0% | 0 | 0% | 0 | 0% | 0 | 100% | 308.3919 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start | 2.8394 | 0% | 0 | 0% | 0 | 0% | 0 | 100% | 2.8394 | 0% | 0
10 |  | Transmission Must Run (TMR) | 3.7 | 0% | 0 | 0% | 0 | 100% | 3.7 | 0% | 0 | 0% | 0
11 |  | Load Shed Services (LSS) | 38.5482 | 0% | 0 | 0% | 0 | 0% | 0 | 100% | 38.5482 | 0% | 0
12 |  | Reliability Services from BC | 2.8571 | 0% | 0 | 100% | 2.8571 | 0% | 0 | 0% | 0 | 0% | 0
13 |  | Transferred Frequency Response | 3.5279 | 0% | 0 | 100% | 3.5279 | 0% | 0 | 0% | 0 | 0% | 0
14 |  | Transmission Constraint Rebalancing (TCR) | 4 |  | 0 | 0% | 0 |  | 0 | 100% | 4 | 0% | 0
15 |  | Interruptible Load Remedial Action Scheme (ILRAS) | 0 | 93.45% | 0 |  | 0 | 6.554% | 0 | 0% | 0 | 0% | 0
16 |  | Generator Remedial Action Scheme (RAS) | 0 | [7 empty] | 0
17 | Total Ancillary Services |  | 363.8645 | 0% | 0 | 1.755% | 6.385 | 1.017% | 3.7 | 97.23% | 353.7795 | 0% | 0
18 | Losses |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0
19 | Other Industry |  | 15.3375 | 48.3% | 7.4088 | 41.97% | 6.437 | 5.958% | 0.91387 | 0% | 0 | 3.768% | 0.57784
20 | General and Administrative |  | 116.0933 | 48.3% | 56.0787 | 41.97% | 48.7234 | 5.958% | 6.9173 | 0% | 0 | 3.768% | 4.3738
21 | Total Revenue Requirement |  | 2439.4015 | 41.1% | 1002.5857 | 35.97% | 877.4714 | 5.221% | 127.3687 | 14.5% | 353.7795 | 3.206% | 78.1963
22 | DTS Tariff Revenue Offsets |  | 22.6997 | 48.3% | 10.965 | 41.97% | 9.5269 | 5.958% | 1.3525 | 0% | 0 | 3.768% | 0.85521
23 | Net DTS Revenue Requirement |  | 2462.1011 | 41.17% | 1013.5507 | 36.03% | 886.9982 | 5.228% | 128.7212 | 14.37% | 353.7795 | 3.211% | 79.0515
Note: | 1. 2020 Functionalization Ratios as described in Exhibit 22942.X0026, Appendix E - Transmission System Cost Causation Study 2018 Update Workbook, Tab 'Guide', Cells C34 to D35
and approved in Decision 22942-D02-2019, Alberta Electric System Operator 2018 Independent System Operator Tariff, issued September 22, 2019, para 74.

## B-6 POD Classification
Alberta Electric System Operator | [13 empty] | Table B-6
2024 ISO Tariff Update Application | [13 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
POD Cost Function and POD Cost Classification
|  |  |  | A |  |  | B |  | C |  | D |  | E | F
Line
No. | Description |  | Reference | Customer |  |  | Demand | [6 empty] | Total
1 | Power Function1 |  | 22942-D02-2019 | Costs ($ million) = |  |  | 2.9583 | x | MW ^ | 0.5235
2 | Data Points (MW) |  | 2007-106 | 1.5 |  |  | 7.5 |  | 17 |  | 40 |  | 122.8
3 | Calculated Values ($ 000 000) |  | Lines 1 and 2 | 3.6579 | 0 | 0 | 8.4945 | 0 | 13.0371 |  | 20.4042 | 0 | 36.706
Demand
|  |  |  | Customer |  |  |  |  | > (7.5×SF) MW |  | > (17×SF) MW
| POD Cost Classification |  |  | Fixed |  |  | ≤ (7.5×SF) MW |  | ≤ (17×SF) MW |  | ≤ (40×SF) MW |  | > (40×SF) MW | Total
4 | Intercept and Slopes ($ 000 000) |  | Lines 2 and 3 | 2.449 |  |  | 0.806 |  | 0.478 |  | 0.32 |  | 0.197
5 | Determinants (cust-months, MW-months) |  | Table C-10 | 5399.2447 |  |  | 37012.581 |  | 35260.8909 |  | 45248.4751 |  | 45032.2263
6 | Total Cost Function Costs ($ 000 000) |  | Line 4 × Line 5 | 13222.7504 |  |  | 29832.1403 |  | 16854.7059 |  | 14479.512 |  | 8871.3486 | 83260.4571
7 | Cost Classification (%) |  | Line 6 ÷ Col F | 15.88% |  |  | 35.83% |  | 20.24% |  | 17.39% |  | 10.65% | 100%
Note: | 1. | The Power Function as described in Exhibit 22942.X0018.03, Appendix G - Options for POD Cost Function Workbook, Tab 'Option 2 Investment Proposed', Cells C11 to G11
and approved in Decision 22942-D02-2019, Alberta Electric System Operator, 2018 Independent System Operator Tariff, para 201.
| 2. | The “Customer” billing determinant at Line 5 Col A is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS market participant
| 3. | The “Demand” billing determinants at Line 5 Cols B-E are the sums over all Rate DTS market participants of billing capacity within the bounds indicated as
(amounts × substation fraction) for each Rate DTS market participant

## B-7 DTS Costs
Alberta Electric System Operator | [18 empty] | Table B-7
2024 ISO Tariff Update Application | [18 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Demand Transmission Service Cost Recovery
|  |  |  | A |  |  | B |  |  | C |  |  | D |  |  | E |  |  | F
|  |  |  | Coincident |  |  | Non-Coincident |  |  | Flat |  |  | Varying
|  |  |  | Demand |  |  | Demand |  |  | Usage |  |  | Usage |  |  | Customer |  |  | Total
Line No. | Description |  | Table B-5 Reference | Amount [B-5 Col C] $ 000 000 |  |  | Amount [B-5 Col E] $ 000 000 |  |  | Amount [B-5 Col G] $ 000 000 |  |  | Amount [B-5 Col I] $ 000 000 |  |  | Amount [B-5 Col K] $ 000 000 |  |  | Amount [A+B+C+D+E] $ 000 000
1 | DTS Connection Charge
2 | Wires
3 |  | Bulk System | Line 2 | 939.0982 |  |  | 0 |  |  | 65.862 |  |  | 0 |  |  | 0 |  |  | 1004.9601
4 |  | Regional System | Line 3 | 0 |  |  | 427.9668 |  |  | 49.9755 |  |  | 0 |  |  | 0 |  |  | 477.9424
5 |  | Point of Delivery | Line 4 | 0 |  |  | 387.9591 |  |  | 0 |  |  | 0 |  |  | 73.2446 |  |  | 461.2037
6 | Non-Wires | [17 empty] | 0
7 |  | ILRAS | Line 16 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 |  | Other Industry | Line 20 | 7.4088 |  |  | 6.437 |  |  | 0.91387 |  |  | 0 |  |  | 0.57784 |  |  | 15.3375
9 |  | General and Administrative | Line 21 | 56.0787 |  |  | 48.7234 |  |  | 6.9173 |  |  | 0 |  |  | 4.3738 |  |  | 116.0933
10 |  | DTS Tariff Revenue Offsets | Line 23 | 10.965 |  |  | 9.5269 |  |  | 1.3525 |  |  | 0 |  |  | 0.85521 |  |  | 22.6997
11 | DTS Connection Charge |  |  | 1013.5507 |  |  | 880.6132 |  |  | 125.0212 |  |  | 0 |  |  | 79.0515 |  |  | 2098.2366
12 | DTS Operating Reserve Charge
13 | Operating Reserves |  | Line 7 | 0 |  |  | 0 |  |  | 0 |  |  | 308.3919 |  |  | 0 |  |  | 308.3919
14 | Black Start |  | Line 9 | 0 |  |  | 0 |  |  | 0 |  |  | 2.8394 |  |  | 0 |  |  | 2.8394
15 | LSS |  | Line 11 | 0 |  |  | 0 |  |  | 0 |  |  | 38.5482 |  |  | 0 |  |  | 38.5482
16 | DTS Operating Reserve Charge |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 349.7795 |  |  | 0 |  |  | 349.7795
17 | Transmission Constraint Rebalacing Charge |  | Line 14 | 0 |  |  | 0 |  |  | 0 |  |  | 4 | [5 empty] | 4
18 | Voltage Control (TMR) Charge |  | Line 10 | 0 |  |  | 0 |  |  | 3.7 |  |  | 0 |  |  | 0 |  |  | 3.7
19 | DTS Other System Support Services Charge
20 | Reliability Services from BC |  | Line 12 | 0 |  |  | 2.8571 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2.8571
21 | Transferred Frequency Response |  | Line 13 | 0 |  |  | 3.5279 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 3.5279
22 | DTS OSS Services Charge |  |  | 0 |  |  | 6.385 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 6.385
23 | Total DTS Tariff |  |  | 1013.5507 | 0 | 0 | 886.9982 | 0 | 0 | 128.7212 | 0 | 0 | 353.7795 | 0 | 0 | 79.0515 | 0 | 0 | 2462.1011

## B-8 DTS Rate
Alberta Electric System Operator | [11 empty] | Table B-8
2024 ISO Tariff Update Application | [11 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Demand Transmission Service Rate Calculation
|  |  |  | A | B | C | D | E | F | G | H | I
|  |  | Table B-7 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
No. | Description |  | Reference | Wires | Non-Wires | Total | Quantity | Unit | Wires | Non-Wires | Total | Unit
1 | DTS Bulk System Charge
2 | Coincident Demand Charge |  | Lines 3, 7-10 | 939.0982 | 74.4525 | 1013.5507 | 92997.9469 | MW-months | 10098 | 801 | 10899 | /MW
3 | Flat Usage Charge |  | Lines 3, 7-10 | 65.862 | 5.2216 | 71.0836 | 58383.4619 | GWh | 1.13 | 0.09 | 1.22 | /MWh
4 | DTS Regional System Charge
5 | Billing Capacity Charge |  | Lines 4, 7-10 | 427.9668 | 33.9296 | 461.8964 | 162554.1733 | MW-months | 2633 | 209 | 2841 | /MW
6 | Flat Usage Charge |  | Lines 4, 7-10 | 49.9755 | 3.9621 | 53.9376 | 58383.4619 | GWh | 0.86 | 0.07 | 0.92 | /MWh
7 | DTS POD Charge (Note 1) | [11 empty] | PSC
8 | Customer Charge × SF |  | Lines 5, 7-10 | 73.2446 | 5.8069 | 79.0515 | 5399.2447 | customer-months | 13566 | 1076 | 14641 | /month | 11566
9 | Billing Capacity ≤ (7.5×SF) MW |  | Lines 5, 7-10 | 165.2488 | 13.1011 | 178.3499 | 37012.581 | MW-months | 4465 | 354 | 4819 | /MW | 3807
10 | BC > (7.5×SF) to ≤ (17×SF) MW |  | Lines 5, 7-10 | 93.3631 | 7.4019 | 100.765 | 35260.8909 | MW-months | 2648 | 210 | 2858 | /MW | 2258
11 | BC > (17×SF) to ≤ (40×SF) MW |  | Lines 5, 7-10 | 80.2062 | 6.3588 | 86.565 | 45248.4751 | MW-months | 1773 | 141 | 1913 | /MW | 1511
12 | Billing Capacity > (40×SF) MW |  | Lines 5, 7-10 | 49.141 | 3.8959 | 53.0369 | 45032.2263 | MW-months | 1091 | 87 | 1178 | /MW | 1178
13 | DTS Operating Reserve Charge
14 | Varying Usage Charge (Note 2) |  | Line 16 | 349.7795 | 0 | 349.7795 | 58383.4619 | GWh | 7.18% | 0% | 7.18% | × Pool Price
15 | DTS Transmission Constraint Rebalancing Charge
16 | Varying Usage Charge |  | Line 17 | 4 | 0 | 4 | 58383.4619 | GWh | 0.069 | 0 | 0.069 | /MWh
17 | DTS Voltage Control (TMR) Charge
18 | Flat Usage Charge |  | Line 18 | 3.7 | 0 | 3.7 | 58383.4619 | GWh | 0.06 | 0 | 0.06 | /MWh
19 | DTS Other System Support Services Charge
20 | Highest Metered Demand Charge |  | Line 22 | 6.385 | 0 | 6.385 | 123610.8777 | MW-months | 52 | 0 | 52 | /MW
21 | Total DTS Cost Recovery |  |  | 2307.9707 | 154.1305 | 2462.1011
Notes: | 1. | “SF” refers to substation fraction; the charges provided in lines 8 to 12 are applied to billing capacity within the bounds defined as amounts multiplied by the substation fraction for
each Rate DTS customer
| 2. | The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh

## B-9 STS Classification
Alberta Electric System Operator | [14 empty] | Table B-9
2024 ISO Tariff Update Application | [14 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Supply Transmission Service Costs Classified to Demand and Usage
|  |  |  | A | B | C | D | E | F | G |  | H | I | J | K
|  |  |  | STS | Classification to Rate Component
|  |  |  | Amount | Coincident Demand |  | Non-Coincident Dem’d |  | Flat Usage |  |  | Varying Usage |  | Customer
Line No. | Description |  | [Table B-5] $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
3 | Regional System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
4 | Point of Delivery |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
5 | Total Wires |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
6 | Ancillary Services
7 | Operating Reserves |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
10 |  | Transmission Must Run (TMR) |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
11 |  | Under Frequency Mitigation |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
12 |  | Poplar Hill |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
13 |  | ILRAS |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
14 |  | LSS |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0% | 0
15 | Total Ancillary Services |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
16 | Losses |  |  | 178.3 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 178.3 | 0% | 0
17 | Other Industry |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
18 | General and Administrative |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
19 | Total Revenue Requirement |  |  | 178.3 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 178.3 | 0% | 0
20 | STS Tariff Revenue Offsets |  |  | -10.716 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | -10.716 | 0% | 0
21 | RGU Connection Costs |  |  | 0 | 0% | 0 | 100% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
22 | Net DTS Revenue Requirement |  |  | 167.584 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 167.584 | 0% | 0

## B-10 STS Rate
Alberta Electric System Operator | [10 empty] | Table B-10
2024 ISO Tariff Update Application | [10 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Supply Transmission Service Rate Calculation
|  |  | A | B | C | D | E | F | G | H | I
Line |  | Table B-9 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
| Description | Reference | Losses | Other | Total | Quantity | Unit | Losses | Other | Total | Unit
1 | STS Losses Charge (Notes 1 and 2)
2 | Losses Charge | Lines 16, 20 | 178.3 | -10.716 | 167.584 | 58383.4619 | GWh | 3.66% | -0.22% | 3.44% | × Pool Price
3 | RGU Connection Costs (Note 3)
4 | RGU Connection Costs | Line 21 | 0 | 0 | 0 | 0 | MW-months | 0 | 0 | 0 | /MW
5 | Total STS Cost Recovery |  | 178.3 | -10.716 | 167.584
Notes: | 1.The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh
2. Facility loss factors are determined by the AESO for each Rate STS market participant, and the value calculated is an illustrative average only
3. RGU (Regulated Generating Unit) Connection Costs charge is applicable only to regulated generating units as listed in Appendix A to the ISO Tariff

## B-11 Other Rates
Alberta Electric System Operator | [12 empty] | Table B-11
2024 ISO Tariff Update Application | [12 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Opportunity Service Rate Calculations
|  | A | B | C | D | E | F | G | H | I | J | K | L
Line
| Component | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total
1 | DTS Revenue Requirement |  | 2024 DTS Costs, $ 000 000 |  | 2024 DTS Rates, $/MWh
2 | Connection – Bulk System | 1013.5507 | 71.0836 | 1084.6343 | 17.3602 | 1.2175 | 18.5778
3 | Connection – Regional System | 461.8964 | 53.9376 | 515.8341 | 7.9114 | 0.92385 | 8.8353
4 | Connection – POD | 418.7168 | 0 | 418.7168 | 7.1718 | 0 | 7.1718
5 | Operating Reserve | 0 | 349.7795 | 349.7795 | 0 | 5.9911 | 5.9911
6 | Voltage Control | 0 | 3.7 | 3.7 | 0 | 0.063374 | 0.063374
7 | Other System Support | 6.385 | 0 | 6.385 | 0.10936 | 0 | 0.10936
8 | Total DTS Costs | 1900.5489 | 478.5007 | 2379.0496 | 32.5529 | 8.1958 | 40.7487
9 | Demand Opportunity Service (DOS) Rates |  | 0 |  |  | DOS 7 Minutes, $/MWh |  |  | DOS 1 Hour, $/MWh |  |  | DOS Term, $/MWh
10 | Connection – Bulk System |  |  |  | 0 | 1.2175 | 1.2175 | 8.6801 | 1.2175 | 9.8976 | 17.3602 | 1.2175 | 18.5778
11 | Connection – Regional System |  |  |  | 0 | 0.92385 | 0.92385 | 3.9557 | 0.92385 | 4.8796 | 94.9371 | 0.92385 | 95.861
12 | Connection – POD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Operating Reserve |  |  |  | 0 | 5.9911 | 5.9911 | 0 | 5.9911 | 5.9911 | 0 | 5.9911 | 5.9911
14 | Voltage Control |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Other System Support |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Total DOS Costs |  |  |  | 0 | 8.1325 | 8.1325 | 12.6358 | 8.1325 | 20.7683 | 112.2973 | 8.1325 | 120.4298
17 | Export Opportunity Service (XOS/XOM) Rates |  |  |  |  | XOS/XOM, $/MWh
18 | Connection – Bulk System |  |  |  | 3.472 | 1.2175 | 4.6896
19 | Connection – Regional System |  |  |  | 1.5823 | 0.92385 | 2.5061
20 | Connection – POD |  |  |  | 0 | 0 | 0
21 | Operating Reserve |  |  |  | 0 | 1.9171 | 1.9171
22 | Voltage Control |  |  |  | 0 | 0 | 0
23 | Other System Support |  |  |  | 0 | 0 | 0
24 | Total XOS Costs |  |  |  | 5.0543 | 4.0585 | 9.1129

## B-12 Determinants
Alberta Electric System Operator | [5 empty] | Table B-12
2024 ISO Tariff Update Application | [5 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
2023 Billing Determinants
|  |  | A | B | C | D
Line |  |  | Rate DTS |  | Rate STS |  | 2023 ISO Tariff Rates Update |  | Increase
| Determinant |  | Quantity | Unit | Quantity | Unit | Quantity | Unit | (Decrease) | 2023 Revenue
1 | DTS Coincident Metered Demand |  | 92997.9469 | MW-months | — |  | 93526.1446 | MW-months | -0.5648% | 1013.5507
2 | DTS Billing Capacity (Total) |  | 162554.1733 | MW-months | — |  | 162444.6659 | MW-months | 0.06741% | 461.8964
3 | DTS Billing Capacity up to (7.5×SF) MW |  | 37012.581 | MW-months | — |  | 36600.2839 | MW-months | 1.126% | 178.3499
4 | DTS Billing Capacity Greater Than (7.5×SF) MW up to (17×SF) MW |  | 35260.8909 | MW-months | — |  | 34994.9154 | MW-months | 0.76% | 100.765
5 | DTS Billing Capacity Greater Than (17×SF) MW up to (40×SF) MW |  | 45248.4751 | MW-months | — |  | 44971.4957 | MW-months | 0.6159% | 86.565
6 | DTS Billing Capacity in Excess of (40×SF) MW |  | 45032.2263 | MW-months | — |  | 45877.9709 | MW-months | -1.843% | 53.0369
7 | DTS Highest Monthly Metered Demands |  | 123610.8777 | MW-months | — |  | 120804.3727 | MW-months | 2.323% | 6.385
8 | Metered Energy (All Hours) |  | 58383.4619 | GWh | 58383.4619 | GWh | 60112.9427 | GWh | -2.877% | 482.5007
9 | DTS Market Participants (Equivalent) (Note 2) |  | 5399.2447 | customer-months | — |  | 5364.753 | customer-months | 0.6429% | 79.0515
10 | Pool Price (Note 3) |  | 83.42 | /MWh | 83.42 | /MWh | Revenue Weighted Average |  |  | -0.6623%
11 | RGU Maximum Continuous Rating (MCR) |  | — |  | 0 | MW-months
Note: | 1. | DTS Billing Capacity within each tier is the sum over all Rate DTS market participants of the Rate DTS billing capacity within the
bounds defined as amounts multiplied by the substation fraction for each Rate DTS market participant
| 2. | DTS Market Participants (Equivalent) is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS
market participant
| 3. | The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh

## B-13 Impact
Alberta Electric System Operator | [9 empty] | Table B-13
2024 ISO Tariff Update Application | [9 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Rate Change Impact Compared to 2023 Approved Rates
|  |  | A | B | C | D | E | F | G | H
|  |  | 2023 Approved Rates |  |  | 2024 Proposed Rates |  |  | Increase (Decrease)
| Description |  | 2023 Rate | 2024 Determinant | Amount $ 000 000 | 2024 Rate | 2024 Determinant | Amount $ 000 000 | Amount $ 000 000 | Percent %
1 | DTS Tariff
2 | Connection Charge
3 |  | Bulk System Charge — Demand | 10840 | 92997.9469 | 1008.0977 | 10899 | 92997.9469 | 1013.5846 | 5.4869 | 0.5443%
4 |  | Bulk System Charge — Usage | 1.18 | 58383.4619 | 68.8925 | 1.22 | 58383.4619 | 71.2278 | 2.3353 | 3.39%
5 |  | Regional System Charge — Demand | 2844 | 162554.1733 | 462.3041 | 2841 | 162554.1733 | 461.8164 | -0.48766 | -0.1055%
6 |  | Regional System Charge — Usage | 0.9 | 58383.4619 | 52.5451 | 0.92 | 58383.4619 | 53.7128 | 1.1677 | 2.222%
7 |  | POD Charge — Customer × SF | 14728 | 5399.2447 | 79.5201 | 14641 | 5399.2447 | 79.0503 | -0.46973 | -0.5907%
8 |  | POD — Demand ≤ (7.5×SF) MW | 4847 | 37012.581 | 179.4 | 4819 | 37012.581 | 178.3636 | -1.0364 | -0.5777%
9 |  | POD — Demand > (7.5×SF) to ≤ (17×SF) MW | 2875 | 35260.8909 | 101.3751 | 2858 | 35260.8909 | 100.7756 | -0.59944 | -0.5913%
10 |  | POD — Demand > (17×SF) to ≤ (40×SF) MW | 1924 | 45248.4751 | 87.0581 | 1913 | 45248.4751 | 86.5603 | -0.49773 | -0.5717%
11 |  | POD — Demand > (40×SF) MW | 1185 | 45032.2263 | 53.3632 | 1178 | 45032.2263 | 53.048 | -0.31523 | -0.5907%
12 |  | Total Connection Charge | — | — | 2092.5558 | — | — | 2098.1395 | 5.5837 | 0.2668%
13 | Operating Reserve Charge — % of PP |  | 5.18% | 58383.4619 | 252.284 | 7.18% | 58383.4619 | 349.691 | 97.407 | 38.61%
14 | Transmission Constraint Rebalacing Charge — Usage |  | 0.017 | 58383.4619 | 0.99252 | 0.069 | 58383.4619 | 4.0285 | 3.0359 | 305.9%
15 | Voltage Control Charge — Usage |  | 0.09 | 58383.4619 | 5.2545 | 0.06 | 58383.4619 | 3.503 | -1.7515 | -33.33%
16 | OSS Service Charge — Demand |  | 24 | 123610.8777 | 2.9667 | 52 | 123610.8777 | 6.4278 | 3.4611 | 116.7%
17 | Total DTS Tariff |  |  |  | 2354.0535 |  |  | 2461.7898 | 107.7363 | 4.577%
18 | STS Tariff
19 | Losses Charge — % of PP |  | 2.91% | 58383.4619 | 141.7271 | 3.44% | 58383.4619 | 167.54 | 25.8128 | 18.21%
20 | RGU Connection Costs — Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
21 | Total STS Tariff |  |  |  | 141.7271 |  |  | 167.54 | 25.8128 | 18.21%
22 | Total DTS and STS Tariffs |  |  |  | 2495.7807 |  |  | 2629.3298 | 133.5491 | 5.351%
Notes: | 1. | “SF” refers to substation fraction; the tiers provided in lines 7 through 11 are within bounds defined by amounts multiplied by the substation fraction for each Rate DTS
market participant
| 2. | The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh
| 3. | 2023 rates (Column A) are final approved as per AUC Decision 27777-D01-2022, issued on December 21, 2022

## B-14 FTS Rate
Alberta Electric System Operator | [9 empty] | Table B-14
2024 ISO Tariff Update Application | [9 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Fort Nelson Demand Transmission Service Rate Calculation
|  |  |  | A | B |  | C | D |  | E
Line |  |  | Table B-8 | Rate |  |  | Billing Determinant |  |  | Revenue
| Description |  | Reference | Amount | Unit |  | Quantity | Unit |  | $ 000
1 | FTS Bulk System Charge
2 | Coincident Demand Charge |  | Line 2 | 10899 | /MW |  | 55.2078 | MW-months |  | 601.7103
3 | Flat Usage Charge |  | Line 3 | 1.22 | /MWh |  | 26.0851 | GWh |  | 31.8238
4 | FTS Regional System Charge
5 | Non-Coincident Demand Charge |  | Note 1 | 2841 | /MW |  | 415.8 | MW-months |  | 1181.2878
6 | Flat Usage charge |  | Note 1 | 0.92 | /MWh |  | 26.0851 | GWh |  | 23.9983
7 | FTS Operating Reserve Charge
8 | Varying Usage Charge |  | Line 14 | 7.18% | × Pool Price (Note 2) |  | 26.0851 | GWh |  | 156.2383
9 | FTS Transmission Constraint Rebalancing Charge
10 | Varying Usage Charge |  | Line 16 | 0.069 | /MWh |  | 26.0851 | GWh |  | 1.7999
11 | FTS Voltage Control (TMR) Charge
12 | Flat Usage Charge |  | Line 18 | 0.06 | /MWh |  | 26.0851 | GWh |  | 1.5651
13 | FTS Other System Support Services Charge
14 | Highest Metered Demand Charge |  | Line 20 | 52 | /MW |  | 182.6523 | MW-months |  | 9.4979
15 | Total FTS Cost Recovery | [8 empty] | 2007.9214
Notes: | 1. | Direction 7 of Decision 2005-096 established the Fort Nelson local system charge to be “the greater of the postage stamp rate for local wires
costs or the actual cost of the AE line providing service to Fort Nelson.” Based on the Rate DTS Regional System Charge from Table D-6:
|  | DTS Regional System Wires Demand Charge |  | 2633 | /MW | × | 415.8 | MW-months | = | 1094801.4
|  | DTS Regional System Wires Usage Charge |  | 0.86 | /MWh | × | 26.0851 | GWh | = | 22433.2044
|  | Total postage stamp rate for regional wires costs | [7 empty] | 1117234.6044
The actual cost of the AE line providing service to Fort Nelson, as provided in Information Response BCH.AESO-005 in the AESO’s 2005-2006
GTA, is $410,139 per year. Rate DTS therefore determines the Rate FTS Regional System Charge (in conjunction with non-wires costs from
Table 5-6):
|  |  |  | Wires | Non-Wires |  | Total | Units
|  | FTS Regional System Demand Charge |  | 2633 | 209 |  | 2841 | /MW
|  | FTS Regional System Usage Charge |  | 0.86 | 0.07 |  | 0.92 | /MWh
| 2. | The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh

## B-15 FTS Determinants
Alberta Electric System Operator |  |  | Table B-15
2024 ISO Tariff Update Application |  |  | November 16, 2023
Appendix B — 2024 Rate Calculations
2024 Fort Nelson Billing Determinants
|  | A | B
Line |  | Rate FTS
| Determinant | Quantity | Unit
1 | FTS Coincident Metered Demand | 55.2078 | MW-months
2 | FTS Billing Capacity | 415.8 | MW-months
3 | FTS Highest Metered Demand | 182.6523 | MW-months
4 | Metered Energy (All Hours) | 26.0851 | GWh
5 | Pool Price (Note) | 83.42 | /MWh
Note: | The 2024 ISO Tariff pool price is the 2024 BDP forecast pool price for 2024, $83.42/MWh

## B-16 Bill Estimator
Alberta Electric System Operator | [6 empty] | Table B-16
2024 ISO Tariff Update Application | [6 empty] | November 16, 2023
Appendix B — 2024 Rate Calculations
Bill Impact Estimator
Name: | Name |  |  |  |  | ID: | Account ID
2024 and 2023 BILL ESTIMATES (MONTHLY)
Description |  |  |  |  | DTS | Commodity | Total
(1) | Approved AESO 2023 Rates |  |  |  | 365887.4 | 791655.8 | 1157543.2
(2) | Proposed AESO 2024 Rates |  |  |  | 383392.2 | 791655.8 | 1175048
(3) | Increase (Decrease) |  |  |  | 17504.8 | 0 | 17504.8
(4) | Percentage Increase (Decrease) |  |  |  | 4.784% | 0% | 1.512%
INPUTS
Billing Determinants |  |  |  | Units | DTS
(a) | Contract Capacity |  |  | MW | 20
(b) | Highest Metered Demand in Billing Period |  |  | MW | 20
(c) | Coincidence Factor with 15-minute system peak |  |  | % | 75%
(d) | Coincident Metered Demand |  |  | MW | 15
(e) | Highest Metered Demand in previous 24 months |  |  | MW | 22
(f) | Billing Capacity (highest of 90% × (a), (b), or 90% × (e)) |  |  | MW | 20
(g) | Load Factor |  |  | % | 65%
(h) | Hours in Month |  |  | hours | 730
(i) | Metered Energy |  |  | MWh | 9490
(j) | Substation Fraction |  |  |  | 1
(k) | Pool Price |  |  | $/MWh | 83.42
Notes: | Billing determinant values should be entered above only in cells indicated with yellow shading and red text. All other values are calculated.
Coincidence Factor in (c) is the percentage of Highest Metered Demand in (b) which is on-line at the time of system peak.
Load Factor in (g) is average demand during the month as a percentage of Highest Metered Demand during the month.
Impacts of Primary Service Credit, Deferral Account Adjustment Rider C, and other credits and riders are not included.
For additional definitions see Demand Transmission Service Rate DTS in the tariff posted on the AESO web site.
This calculator provides estimates only. Actual AESO bills are based on hourly settlement information rather than monthly averages.
For confirmation of billing information or for questions relating to an actual AESO bill, please contact the AESO.
In the event of differences between this workbook and the AESO’s approved tariff, the approved tariff prevails.
DTS BILL PER PROPOSED AESO 2024 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System charge
(1)(a) | Coincident Metered Demand |  | 10899 | /MW | 15 | MW | 163485
(1)(b) | Metered Energy |  | 1.22 | /MWh | 9490 | MWh | 11577.8
(2) | Regional System Charge
(2)(a) | Billing Capacity |  | 2841 | /MW | 20 | MW | 56820
(2)(b) | Metered Energy |  | 0.92 | /MWh | 9490 | MWh | 8730.8
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 14641 | /month | 1 |  | 14641
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 4819 | /MW | 7.5 | MW | 36142.5
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2858 | /MWh | 9.5 | MWh | 27151
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1913 | /month | 3 | MW | 5739
(3)(e) | All Remaining MW of Billing Capacity | ≤ 5 MW | 1178 | /MW | 0 | MW | 0
Operating Reserve Charge
(4) | Metered Energy × Pool Price |  | 7.18% | × Pool Price | 9490 | MWh | 56840.89
Transmission Constraint Rebalancing Charge
(5) | Metered Energy |  | 0.069 | /MWh | 9490 | MWh | 654.81
Voltage Control Charge
(6) | Metered Energy |  | 0.06 | /MWh | 9490 | MWh | 569.4
Other System Support Services Charge
(7) | Highest Metered Demand |  | 52 | /MW | 20 | MW | 1040
Total DTS Bill Estimate | [5 empty] | Monthly: | 383392.2
[6 empty] | Annual: | 4600706.4
DTS BILL PER APPROVED 2023 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System Charge
(1)(a) | Coincident Metered Demand |  | 10840 | /MW | 15 | MW | 162600
(1)(b) | Metered Energy |  | 1.18 | /MWh | 9490 | MWh | 11198.2
(2) | Local System Charge
(2)(a) | Billing Capacity |  | 2844 | /MW | 20 | MW | 56880
(2)(b) | Metered Energy |  | 0.9 | /MWh | 9490 | MWh | 8541
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 14728 | /month | 1 |  | 14728
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 4847 | /MW | 7.5 | MW | 36352.5
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2875 | /MW | 9.5 | MW | 27312.5
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1924 | /MW | 3 | MW | 5772
(3)(e) | All Remaining MW of Billing Capacity |  | 1185 | /MW | 0 | MW | 0
Operating Reserve Charge
(3) | Metered Energy × Pool Price |  | 5.18% | × Pool Price | 9490 | MWh | 41007.77
Transmission Constraint Rebalancing Charge
(4) | Metered Energy |  | 0.017 | /MWh | 9490 | MWh | 161.33
Voltage Control Charge
(5) | Metered Energy |  | 0.09 | /MWh | 9490 | MWh | 854.1
Other System Support Services Charge
(6) | Highest Metered Demand |  | 24 | /MW | 20 | MW | 480
Total DTS Bill Estimate | [5 empty] | Monthly: | 365887.4
[6 empty] | Annual: | 4390648.8