## Contents
Alberta Electric System Operator
2022 ISO Tariff Update Application
November 15, 2021
Appendix B — 2022 Rate Calculations
Contents
Appendix B
Updated 2022 Rate Calculations
B-1 | AESO 2022 Forecast Revenue Requirement
B-2 | 2022 Forecast Transmission Facility Owner Wires Costs
B-3 | Revenue Requirement Allocation to Demand and Supply Transmission Service
B-4 | Tariff Revenue Offsets
B-5 | Demand Transmission Service Costs Classified to Demand, Usage, and Customers
B-6 | POD Cost Function and POD Cost Classification
B-7 | Demand Transmission Service Cost Recovery
B-8 | Demand Transmission Service Rate Calculation
B-9 | Supply Transmission Service Costs Classified to Demand and Usage
B-10 | Supply Transmission Service Rate Calculation
B-11 | Opportunity Service Rate Calculations
B-12 | 2022 Billing Determinants
B-13 | Rate Change Impact Compared to 2020 Interim Approved Rates
B-14 | Fort Nelson Demand Transmission Service Rate Calculation
B-15 | 2022 Fort Nelson Billing Determinants
B-16 | Bill Impact Estimator

## B-1 Rev Req
Alberta Electric System Operator | [8 empty] | Table B-1
2022 ISO Tariff Update Application | [8 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
AESO 2022 Forecast Revenue Requirement, $ 000 000
[6 empty] | A | B | C | D
[6 empty] | 2022 | 2021 | 2020 | 2019
[6 empty] | Forecast | Forecast | Recorded | Recorded
No. |  | Description |  |  |  | Costs | Costs | Costs | Costs
WIRES
TFO Wires-Related Costs
1 |  |  | AltaLink |  |  | 827.4882 | 887.7108 | 857.1322 | 859.3164
2 |  |  | ATCO Electric |  |  | 700.701 | 709.7562 | 713.609 | 686.4417
3 |  |  |  | Isolated Generation |  | -0.90103 | -0.70909 | -0.66784 | -2.0872
4 |  |  |  |  | Subtotal ATCO Costs | 699.8 | 709.0471 | 712.9411 | 684.3544
5 |  |  | ENMAX Power Corporation |  |  | 105.23 | 106.8654 | 96.5877 | 91.0587
6 |  |  | EPCOR Distribution & Transmission |  |  | 113.11 | 110.6341 | 108.44 | 102.6518
7 |  |  | City of Lethbridge |  |  | 9.2997 | 9.1096 | 9.1096 | 8.6512
8 |  |  | TransAlta Utilities Corporation |  |  | 8.1606 | 6.9458 | 6.9458 | 6.9458
9 |  |  | City of Red Deer |  |  | 5.275 | 5.275 | 5.275 | 5.1048
10 |  |  | PiikaniLink (PLP) |  |  | 4.9722 | 4.8444 | 4.822 | 4.771
11 |  |  | KainaiLink (KLP) |  |  | 3.1736 | 0 | 0 | 0.5173
12 |  |  | Fortis Alberta |  |  | 3.5135 | 0 | 0 | 0
13 |  |  | BC Hydro |  |  | 0 | 0 | 0 | 0
14 |  |  | Alberta PowerLine L.P. |  |  | 107.7935 | 107.1596 | 106.7368 | 83.4219
15 |  |  |  | Subtotal TFO Wires-Related Costs |  | 1887.8163 | 1947.5918 | 1907.9903 | 1846.7933
Non-Wires Costs
16 |  |  | Invitation to Bid on Credits (IBOC) |  |  | 0 | 2 | 2.0905 | 2.0671
17 |  |  | Location Based Credit Standing Offer (LBC SO) |  |  | 1.7 | 2 | 2.2553 | 2.4809
18 |  |  |  | Subtotal IBOC/LBC SO Costs |  | 1.7 | 4 | 4.3458 | 4.548
19 |  |  |  |  | TOTAL WIRES COSTS | 1889.5163 | 1951.5918 | 1912.3361 | 1851.3412
ANCILLARY SERVICES
Operating Reserves
Active
20 |  |  |  | Regulating |  | 33 | 34.7 | 35.4716 | 57.5724
21 |  |  |  | Spinning |  | 86.6 | 66 | 48.5987 | 63.4145
22 |  |  |  | Supplemental |  | 41.6 | 39.5 | 37.9199 | 51.3416
23 |  |  |  |  | Subtotal Active Reserves | 161.2 | 140.2 | 121.9902 | 172.3285
Standby
24 |  |  |  | Regulating |  | 3.2 | 4.2 | 2.6467 | 3.2535
25 |  |  |  | Spinning |  | 6.4 | 14.2 | 17.8874 | 12.2659
26 |  |  |  | Supplemental |  | 1.5 | 5.6 | 5.591 | 4.809
27 |  |  |  |  | Subtotal Standby Reserves | 11.1 | 24 | 26.1251 | 20.3285
28 |  |  | Trading Fees and Other Related Charges |  |  | -3 | -4.3 | -3.3373 | -5.4295
29 |  |  |  | Subtotal Operating Reserves |  | 169.3 | 159.9 | 144.778 | 187.2275
Other Ancillary Services
30 |  |  | Black Start |  |  | 2.5 | 2.4 | 2.273 | 2.2929
31 |  |  | Transmission Must Run (TMR) |  |  | 5 | 0.4 | 3.0285 | 3.2913
32 |  |  | Load Shed Service for Imports (LSSi) |  |  | 29.4 | 32.6 | 28.2953 | 16.1479
33 |  |  | Reliability Services from BC |  |  | 2.9 | 2.9 | 2.8571 | 2.8571
34 |  |  | Transmission Constraint Rebalancing (TCR) |  |  | 1 | 0.1 | 0.52171 | 0.2698
35 |  |  | Poplar Hill |  |  | 0 | 0 | 0 | 0.8691
36 |  |  | Interruptible Load Remedial Action Scheme (ILRAS) |  |  | 0 | 0 | 0 | 0
37 |  |  | Generator Remedial Action Scheme |  |  | 0 | 0 | 0 | 0
38 |  |  |  | Subtotal Other Ancilary Services |  | 40.8 | 38.4 | 36.9756 | 25.7282
39 |  |  |  |  | TOTAL ANCILLARY SERVICES | 210.1 | 198.3 | 181.7537 | 212.9557
LOSSES
40 |  |  | Pool Payment |  |  | 143.3 | 104.4 | 91.8 | 107.8
41 |  |  |  | TOTAL LOSSES COSTS |  | 143.3 | 104.4 | 91.8 | 107.8
OTHER INDUSTRY COSTS
42 |  |  | Regulatory Process Costs |  |  | 3.2 | 1.3 | 0.58255 | 1.67
43 |  |  | Western Electricity Coordination Council (WECC) |  |  | 2.5 | 2.2 | 2.5236 | 2.1481
44 |  |  | Share of Commission Costs |  |  | 10.3 | 17.9 | 10.8826 | 11.5339
45 |  |  |  | TOTAL OTHER INDUSTRY COSTS |  | 16 | 21.4 | 13.9887 | 15.352
GENERAL AND ADMINISTRATIVE COSTS
Administrative Costs
46 |  |  | Staff and Benefits |  |  | 52.7 | 44.8 | 49.013 | 54.9231
47 |  |  | Contract Services and Consultants |  |  | 3.6 | 3.5 | 2.9815 | 3.9362
48 |  |  | Administration |  |  | 4.2 | 3.5 | 2.209 | 2.8155
49 |  |  | Facilities |  |  | 3.5 | 2.8 | 3.0379 | 2.7358
50 |  |  | Computer and Telecom Services and Maintenance |  |  | 8.9 | 8.8 | 8.3447 | 8.681
51 |  |  |  | Subtotal Administrative Costs |  | 72.9 | 63.4 | 65.5861 | 73.0916
General Costs
52 |  |  | Market Systems Replacement |  |  | 0 | 0 | 0 | 0
53 |  |  | Interest |  |  | 1.3 | 3.5 | 2.2459 | 3.4578
54 |  |  | Amortization and Depreciation |  |  | 18.1 | 26.2 | 22.9541 | 20.5055
55 |  |  |  | Subtotal General Costs |  | 19.4 | 29.7 | 25.1999 | 23.9633
56 |  |  |  |  | TOTAL G&A COSTS | 92.3 | 93.1 | 90.786 | 97.0549
57 |  | TOTAL G&A AND OTHER INDUSTRY COSTS |  |  |  | 108.3 | 114.5 | 104.7748 | 112.4068
58 |  | TOTAL REVENUE REQUIREMENT |  |  |  | 2351.2163 | 2368.7918 | 2290.6645 | 2284.5037
Note: | 1 | Numbers may not add due to rounding.
| 2 | 2021 forecast in column B is what was filed in the 2021 ISO Tariff Rates Update in proceeding 26054.

## B-2 TFO Rev Req
Alberta Electric System Operator | [11 empty] | Table B-2
2022 ISO Tariff Update Application | [11 empty] | November 15, 2021
2022 Forecast Transmission Facility Owner Wires Costs
| A | B | C | D | E | F | G | H | I | J | K | L
|  | Last Approved Revenue Requirement |  |  | Latest TFO Application |  |  | 2022 TFO Revenue Requirement Forecast
Row No. | TFO | Type | Amount ($ millions) | Year | Type | Amount ($ millions) | Proceeding ID | Basis | Source | Increase / (Decrease) ($ millions) | 72% of Increase / (Decrease) ($ millions) | Forecast Revenue Requirement ($ millions)
1 | AltaLink | Final approval | 856.4049 | 2021 | Filed 2022 | 816.2429 | 26509 | 2022 Filed | X0003, Schd 3-1, Cells R29, U29 | -40.162 | -28.9166 | 827.4882
2 | ATCO Electric | Final Approval | 687.2649 | 2021 | Approved 2022 | 700.701 | 26477 | 2022 Final Approved | X0011, Sch 3-1, Cells H27, I27 and J27 | N/A | N/A | 700.701
3 | ENMAX | Final Approval | 102 | 2021 | Approved 2022 | 105.23 | 26732 | 2022 Final Approved | 26732-D01-2021, PDF page 7 | N/A | N/A | 105.23
4 | EPCOR | Final Approval | 110.63 | 2021 | Approved 2022 | 113.11 | 25664 | 2022 Final Approved | 25664-D01-2020, PDF page 8 | NA | NA | 113.11
5 | City of Lethbridge | Interim Approved | 9.1096 | 2021 | Filed 2022 | 9.3736 | 26554 | 2022 Filed | 26554-X0008, Tab 3-1, Cell J21 | 0.26399 | 0.19007 | 9.2997
6 | TransAlta Corporation | Final Approval | 8.1606 | 2021 | Interim Approved 2022 | 8.1606 | 26718 | 2022 Interim Approved | 26718-D01-2021, PDF page 7 | NA | NA | 8.1606
7 | City of Red Deer | Interim Approved | 5.275 | 2021 | Interim Approved 2021 | 5.275 | 25862 | 2021 Interim Approved | 25862-D01-2020, PDF page 5 | NA | NA | 5.275
8 | PiikaniLink (PLP) | Final Approval | 5.068 | 2021 | Filed 2022 | 4.9349 | 26509 | 2021 Filed | 26509_X0093, Table 1.1 | -0.13311 | -0.095841 | 4.9722
9 | KainaiLink (KLP) | Final Approval | 3.1949 | 2021 | Filed 2022 | 3.1653 | 26509 | 2021 Filed | 26509_X0089, Table 1.1 | -0.029622 | -0.021328 | 3.1736
10 | FortisAlberta | Final approval | 4.924 | 2021 | Filed 2022 | 2.965 | 26817 | 2022 Filed | X0018, Sheet: 2.1 Y Factor Amounts, Cell: L15 | -1.959 | -1.4105 | 3.5135
11 | Alberta PowerLine | NA | NA | NA | Filed All Years | 107.7935 | 23161 | Approved Payment Schedule as per Schedule 11 plus Adjustments | Decision 23161-D01-2018 | NA | NA | 107.7935
Notes: | A: 1. “NA” means not applicable
2. The 2021 wires forecast for AltaLink does not include the refund in AUC Decision 26248-D02-2021 in this table as including it would create an unrealistic 2022 forecast revenue requirement for AltaLink when taking into consideration the 72% increase/decrease methodology.
3. PiikaniLink (PLP) and KainaiLink (KLP) were included as part AltaLinks revenue requirement in 2021. They are shown in this table in 2021 only for the purpose of applying the 72% increase/decrease methodology for 2022. For 2022 PLP and KLP are
considered seperately from AltaLink's revenue requirement.

## B-3 Allocation
Alberta Electric System Operator | [8 empty] | Table B-3
2022 ISO Tariff Update Application | [8 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Revenue Requirement Allocation to Demand and Supply Transmission Service
|  |  | A | B |  | C | D | E | F
[6 empty] | Allocation to DTS |  | Allocation to STS
| Description |  | Functionalization Ratio1 | Forecast $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  | 51.69% | 976.7412 |  | 100% | 976.7412 | 0% | 0
3 | Regional System |  | 24.58% | 464.5219 |  | 100% | 464.5219 |  | 0
4 | Point of Delivery |  | 23.72% | 448.2532 |  | 100% | 448.2532 | 0% | 0
5 | Total Wires |  | 100% | 1889.5163 |  | 100% | 1889.5163 | 0% | 0
6 | Ancillary Services
7 | Operating Reserves |  |  | 169.3 |  | 100% | 169.3 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start |  | 2.5 |  | 100% | 2.5 | 0% | 0
10 |  | Transmission Must Run (TMR) |  | 5 |  | 100% | 5 | 0% | 0
11 |  | Load Shed Service for Imports (LSSi) |  | 29.4 |  | 100% | 29.4 | 0% | 0
12 |  | Reliability Services from BC |  | 2.9 |  | 100% | 2.9 | 0% | 0
13 |  | Transmission Constraint Rebalancing (TCR) |  | 1 |  | 100% | 1 | 0% | 0
14 |  | Poplar Hill |  | 0 |  | 100% | 0 | 0%
15 |  | Interruptible Load Remedial Action Scheme (ILRAS) |  | 0 |  | 100% | 0 | 0%
16 |  | Generator Remedial Action Scheme (RAS) |  | 0 |  | 100% | 0
17 | Total Ancillary Services |  |  | 210.1 |  | 100% | 210.1 | 0% | 0
18 | Losses |  |  | 143.3 |  | 0% | 0 | 100% | 143.3
19 | Other Industry |  |  | 16 |  | 100% | 16 | 0% | 0
20 | General and Administrative |  |  | 92.3 |  | 100% | 92.3 | 0% | 0
21 | Total Revenue Requirement |  |  | 2351.2163 |  | 93.91% | 2207.9163 | 6.095% | 143.3
22 | Tariff Revenue Offsets | [5 empty] | 36.8532 |  | -12.2289
23 | Regulated Generating Unit Connection Costs | [5 empty] | 0 |  | 0
24 | Net DTS and STS Revenue Requirement | [5 empty] | 2244.7695 |  | 131.0711
Note: | 1. 2020 Functionalization Ratios as described in Exhibit 22942.X0026, transmission System Cost Causation Study 2018 Update Workbook, Tab 'Guide', Cells E29 to E31
and approved in Decision 22942-D02-2019, Alberta Electric System Operator 2018 Independent System Operator Tariff, issued September 22, 2019, para 74.
103.2354

## B-4 Offsets
Alberta Electric System Operator | [8 empty] | Table B-4
2022 ISO Tariff Update Application | [8 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Tariff Revenue Offsets
|  |  | A | B | C | D | E | F | G
|  |  |  | Allocation to DTS |  | Allocation to STS |  | Forecasting Calculation |  | Updated | Variance
| Description |  | Forecast $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Volume | Rate | Forecast $ 000 000 | $ 000 000
1 | DTS Tariff Revenue Offsets
2 | Power Factor Deficiency Revenue |  | -0.52891 | 100% | -0.52891 |  |  | 1322.2763 | 400 | -0.52891 | 0
3 | Demand Opportunity Service Revenue |  |  |  | 0
|  | Rate | -0.059402 | 100% | -0.059402 |  |  | 11047.6929 | 5.3769 | -0.059402 | 0
|  | Transaction | -0.004 | 100% | -0.004 |  |  | 8 | 500 | -0.004 | 0
4 | Export Opportunity Service Revenue |  |  |  | 0
|  | Rate | -0.93674 | 100% | -0.93674 |  |  | 119069.2966 | 7.8672 | -0.93674 | 0
|  | Transaction | -0.047 | 100% | -0.047 |  |  | 94 | 500 | -0.047 | 0
5 | UFLS Credits |  | 2.8666 | 100% | 2.8666 |  |  | NA | NA | 2.8666 | 0
6 | Primary Service Credits |  |  |  | 0
|  | Customer Charge × SF | 2.6262 | 100% | 2.6262 |  |  | 231.2807 | 11355 | 2.6262 | 0
|  | Billing Capacity ≤ (7.5×SF) MW | 6.0082 | 100% | 6.0082 |  |  | 1607.761 | 3737 | 6.0082 | 0
|  | BC > (7.5×SF) to ≤ (17×SF) MW | 3.7509 | 100% | 3.7509 |  |  | 1692.6663 | 2216 | 3.7509 | 0
|  | BC > (17×SF) to ≤ (40×SF) MW | 4.9899 | 100% | 4.9899 |  |  | 3362.4378 | 1484 | 4.9899 | 0
|  | Billing Capacity > (40×SF) MW | 20.1749 | 100% | 20.1749 |  |  | 17452.3511 | 1156 | 20.1749 | 0
7 | RGU Connection Costs |  | 0 | 100% | 0 |  |  | 0 | 0 | 0 | 0
8 | Fort Nelson Service Revenue |  | -1.4631 | 100% | -1.4631 |  |  | NA | NA | -1.4631 | 0
9 | Duplication Avoidance Adjustments |  | -0.52436 | 100% | -0.52436 |  |  | NA | NA | -0.52436 | 0
10 | Total DTS Offsets |  | 36.8532 | 100% | 36.8532 | 0% | 0 |  |  | 36.8532
11 | STS Tariff Revenue Offsets
12 | Demand Opportunity Service Losses |  | -0.069826 |  |  | 100% | -0.069826 | 11047.6929 | 8.54% | -0.069826 | 0
13 | Export Opportunity Service Losses
|  | BC Losses | -0.043139 |  |  | 100% | -0.043139 | 66997.75 | 0.87% | -0.043139 | 0
|  | SK Losses | -0.012095 |  |  | 100% | -0.012095 | 7231 | 2.26% | -0.012095 | 0
14 | Import Opportunity Service Losses
|  | BC Losses | -5.6048 |  |  | 100% | -5.6048 | 2127237 | 3.56% | -5.6048 | 0
|  | MT Losses | -4.6511 |  |  | 100% | -4.6511 | 1138474.0543 | 5.52% | -4.6511 | 0
|  | SK Losses | -1.79 |  |  | 100% | -1.79 | 477035 | 5.07% | -1.79 | 0
|  | Transaction Revenue | -0.058 |  |  | 100% | -0.058 | 116 | 500 | -0.058 | 0
15 | Total STS Offsets |  | -12.2289 | 0 | 0 | 100% | -12.2289 |  |  | -12.2289
16 | Total Tariff Revenue Offsets |  | 24.6243 | 149.7% | 36.8532 | -49.66% | -12.2289

## B-5 DTS Classification
Alberta Electric System Operator | [13 empty] | Table B-5
2022 ISO Tariff Update Application | [13 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Demand Transmission Service Costs Classified to Demand, Usage, and Customer
|  |  | A | B | C |  | D | E | F | G | H | I | J | K
|  |  | DTS | Classification to Rate Component1
|  |  | Amount | Coincident Demand |  |  | Non-Coincident Dem’d |  | Flat Usage |  | Varying Usage |  | Customer
Line No. | Description |  | [Table B-3] $ 000 000 | Allocator % | Amount $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  | 976.7412 | 93.45% | 912.7286 |  | 0% | 0 | 6.554% | 64.0126 | 0% | 0 | 0% | 0
3 | Regional System |  | 464.5219 | 0% | 0 |  | 89.54% | 415.9497 | 10.46% | 48.5722 | 0% | 0 | 0% | 0
4 | Point of Delivery |  | 448.2532 | 0% | 0 |  | 84% | 376.5285 | 0% | 0 | 0% |  | 16% | 71.7247
5 | Total Wires |  | 1889.5163 | 48.3% | 912.7286 |  | 41.94% | 792.4782 | 5.958% | 112.5848 | 0% | 0 | 3.796% | 71.7247
6 | Ancillary Services
7 | Operating Reserves |  | 169.3 | 0% | 0 |  | 0% | 0 | 0% | 0 | 100% | 169.3 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start | 2.5 | 0% | 0 |  | 0% | 0 | 0% | 0 | 100% | 2.5 | 0% | 0
10 |  | Transmission Must Run (TMR) | 5 | 0% | 0 |  | 0% | 0 | 100% | 5 | 0% | 0 | 0% | 0
11 |  | Load Shed Service for Imports (LSSi) | 29.4 | 0% | 0 |  | 0% | 0 | 0% | 0 | 100% | 29.4 | 0% | 0
12 |  | Reliability Services from BC | 2.9 | 0% | 0 |  | 100% | 2.9 | 0% | 0 | 0% | 0 | 0% | 0
13 |  | Transmission Constraint Rebalancing (TCR) | 1 |  | 0 |  | 0% | 0 |  | 0 | 100% | 1 | 0% | 0
14 |  | Poplar Hill | 0 | 0% | 0 | 0 | 100% | 0 | 0% | 0 | 0% | 0 | 0% | 0
15 |  | Interruptible Load Remedial Action Scheme (ILRAS) | 0 | 93.45% | 0 |  |  | 0 | 6.554% | 0 | 0% | 0 | 0% | 0
16 |  | Generator Remedial Action Scheme (RAS) | 0 | [8 empty] | 0
17 | Total Ancillary Services |  | 210.1 | 0% | 0 |  | 1.38% | 2.9 | 2.38% | 5 | 96.24% | 202.2 | 0% | 0
18 | Losses |  | 0 | 0% | 0 |  | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0
19 | Other Industry |  | 16 | 48.3% | 7.7288 |  | 41.94% | 6.7105 | 5.958% | 0.95334 | 0% | 0 | 3.796% | 0.60735
20 | General and Administrative |  | 92.3 | 48.3% | 44.5854 |  | 41.94% | 38.7114 | 5.958% | 5.4996 | 0% | 0 | 3.796% | 3.5036
21 | Total Revenue Requirement |  | 2207.9163 | 43.71% | 965.0428 |  | 38.08% | 840.8001 | 5.618% | 124.0378 | 9.158% | 202.2 | 3.435% | 75.8357
22 | DTS Tariff Revenue Offsets |  | 36.8532 | 48.3% | 17.8019 |  | 41.94% | 15.4565 | 5.958% | 2.1959 | 0% | 0 | 3.796% | 1.3989
23 | Net DTS Revenue Requirement |  | 2244.7695 | 43.78% | 982.8447 |  | 38.14% | 856.2566 | 5.623% | 126.2336 | 9.008% | 202.2 | 3.441% | 77.2346
Note: | 1. 2020 Functionalization Ratios as described in Exhibit 22942.X0026, Appendix E - Transmission System Cost Causation Study 2018 Update Workbook, Tab 'Guide', Cells C34 to D35
and approved in Decision 22942-D02-2019, Alberta Electric System Operator 2018 Independent System Operator Tariff, issued September 22, 2019, para 74.

## B-6 POD Classification
Alberta Electric System Operator | [13 empty] | Table B-6
2022 ISO Tariff Update Application | [13 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
POD Cost Function and POD Cost Classification
|  |  |  | A |  |  | B |  | C |  | D |  | E | F
Line
No. | Description |  | Reference | Customer |  |  | Demand | [6 empty] | Total
1 | Power Function1 |  | 22942-D02-2019 | Costs ($ million) = |  |  | 2.9583 | x | MW ^ | 0.5235
2 | Data Points (MW) |  | 2007-106 | 1.5 |  |  | 7.5 |  | 17 |  | 40 |  | 122.8
3 | Calculated Values ($ 000 000) |  | Lines 1 and 2 | 3.6579 | 0 | 0 | 8.4945 | 0 | 13.0371 |  | 20.4042 | 0 | 36.706
Demand
|  |  |  | Customer |  |  |  |  | > (7.5×SF) MW |  | > (17×SF) MW
| POD Cost Classification |  |  | Fixed |  |  | ≤ (7.5×SF) MW |  | ≤ (17×SF) MW |  | ≤ (40×SF) MW |  | > (40×SF) MW | Total
4 | Intercept and Slopes ($ 000 000) |  | Lines 2 and 3 | 2.449 |  |  | 0.806 |  | 0.478 |  | 0.32 |  | 0.197
5 | Determinants (cust-months, MW-months) |  | Table C-10 | 5373.575 |  |  | 36477.4298 |  | 34641.9705 |  | 44168.7937 |  | 45639.312
6 | Total Cost Function Costs ($ 000 000) |  | Line 4 × Line 5 | 13159.8853 |  |  | 29400.8084 |  | 16558.8619 |  | 14134.014 |  | 8990.9445 | 82244.514
7 | Cost Classification (%) |  | Line 6 ÷ Col F | 16% |  |  | 35.75% |  | 20.13% |  | 17.19% |  | 10.93% | 100%
Note: | 1. | The Power Function as described in Exhibit 22942.X0018.03, Appendix G - Options for POD Cost Function Workbook, Tab 'Option 2 Investment Proposed', Cells C11 to G11
and approved in Decision 22942-D02-2019, Alberta Electric System Operator, 2018 Independent System Operator Tariff, para 201.
| 2. | The “Customer” billing determinant at Line 5 Col A is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS market participant
| 3. | The “Demand” billing determinants at Line 5 Cols B-E are the sums over all Rate DTS market participants of billing capacity within the bounds indicated as
(amounts × substation fraction) for each Rate DTS market participant

## B-7 DTS Costs
Alberta Electric System Operator | [18 empty] | Table B-7
2022 ISO Tariff Update Application | [18 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Demand Transmission Service Cost Recovery
|  |  |  | A |  |  | B |  |  | C |  |  | D |  |  | E |  |  | F
|  |  |  | Coincident |  |  | Non-Coincident |  |  | Flat |  |  | Varying
|  |  |  | Demand |  |  | Demand |  |  | Usage |  |  | Usage |  |  | Customer |  |  | Total
Line No. | Description |  | Table B-5 Reference | Amount [B-5 Col C] $ 000 000 |  |  | Amount [B-5 Col E] $ 000 000 |  |  | Amount [B-5 Col G] $ 000 000 |  |  | Amount [B-5 Col I] $ 000 000 |  |  | Amount [B-5 Col K] $ 000 000 |  |  | Amount [A+B+C+D+E] $ 000 000
1 | DTS Connection Charge
2 | Wires
3 |  | Bulk System | Line 2 | 912.7286 |  |  | 0 |  |  | 64.0126 |  |  | 0 |  |  | 0 |  |  | 976.7412
4 |  | Regional System | Line 3 | 0 |  |  | 415.9497 |  |  | 48.5722 |  |  | 0 |  |  | 0 |  |  | 464.5219
5 |  | Point of Delivery | Line 4 | 0 |  |  | 376.5285 |  |  | 0 |  |  | 0 |  |  | 71.7247 |  |  | 448.2532
6 | Non-Wires | [17 empty] | 0
7 |  | ILRAS | Line 15 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 |  | Other Industry | Line 19 | 7.7288 |  |  | 6.7105 |  |  | 0.95334 |  |  | 0 |  |  | 0.60735 |  |  | 16
9 |  | General and Administrative | Line 20 | 44.5854 |  |  | 38.7114 |  |  | 5.4996 |  |  | 0 |  |  | 3.5036 |  |  | 92.3
10 |  | DTS Tariff Revenue Offsets | Line 22 | 17.8019 |  |  | 15.4565 |  |  | 2.1959 |  |  | 0 |  |  | 1.3989 |  |  | 36.8532
11 | DTS Connection Charge |  |  | 982.8447 |  |  | 853.3566 |  |  | 121.2336 |  |  | 0 |  |  | 77.2346 |  |  | 2034.6695
12 | DTS Operating Reserve Charge
13 | Operating Reserves |  | Line 7 | 0 |  |  | 0 |  |  | 0 |  |  | 169.3 |  |  | 0 |  |  | 169.3
14 | Black Start |  | Line 9 | 0 |  |  | 0 |  |  | 0 |  |  | 2.5 |  |  | 0 |  |  | 2.5
15 | LSSi |  | Line 14 | 0 |  |  | 0 |  |  | 0 |  |  | 29.4 |  |  | 0 |  |  | 29.4
16 | DTS Operating Reserve Charge |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 201.2 |  |  | 0 |  |  | 201.2
17 | Transmission Constraint Rebalacing Charge |  | Line 16 | 0 |  |  | 0 |  |  | 0 |  |  | 1 | [5 empty] | 1
18 | Voltage Control (TMR) Charge |  | Line 10 | 0 |  |  | 0 |  |  | 5 |  |  | 0 |  |  | 0 |  |  | 5
19 | DTS Other System Support Services Charge
20 | Under Frequency Mitigation |  | Line 11 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | Poplar Hill |  | Line 12 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | Reliability Services from BC |  | Line 15 | 0 |  |  | 2.9 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2.9
23 | DTS OSS Services Charge |  |  | 0 |  |  | 2.9 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2.9
24 | Total DTS Tariff |  |  | 982.8447 | 0 | 0 | 856.2566 | 0 | 0 | 126.2336 | 0 | 0 | 202.2 | 0 | 0 | 77.2346 | 0 | 0 | 2244.7695

## B-8 DTS Rate
Alberta Electric System Operator | [11 empty] | Table B-8
2022 ISO Tariff Update Application | [11 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Demand Transmission Service Rate Calculation
|  |  |  | A | B | C | D | E | F | G | H | I
|  |  | Table B-7 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
No. | Description |  | Reference | Wires | Non-Wires | Total | Quantity | Unit | Wires | Non-Wires | Total | Unit
1 | DTS Bulk System Charge
2 | Coincident Demand Charge |  | Lines 3, 7-10 | 912.7286 | 70.1161 | 982.8447 | 93328.3535 | MW-months | 9780 | 751 | 10531 | /MW
3 | Flat Usage Charge |  | Lines 3, 7-10 | 64.0126 | 4.9175 | 68.9301 | 59966.4474 | GWh | 1.07 | 0.08 | 1.15 | /MWh
4 | DTS Regional System Charge
5 | Billing Capacity Charge |  | Lines 4, 7-10 | 415.9497 | 31.9534 | 447.903 | 160927.506 | MW-months | 2585 | 199 | 2783 | /MW
6 | Flat Usage Charge |  | Lines 4, 7-10 | 48.5722 | 3.7313 | 52.3036 | 59966.4474 | GWh | 0.81 | 0.06 | 0.87 | /MWh
7 | DTS POD Charge (Note 1) | [11 empty] | PSC
8 | Customer Charge × SF |  | Lines 5, 7-10 | 71.7247 | 5.5099 | 77.2346 | 5373.575 | customer-months | 13348 | 1025 | 14373 | /month | 11355
9 | Billing Capacity ≤ (7.5×SF) MW |  | Lines 5, 7-10 | 160.2418 | 12.3098 | 172.5516 | 36477.4298 | MW-months | 4393 | 337 | 4730 | /MW | 3737
10 | BC > (7.5×SF) to ≤ (17×SF) MW |  | Lines 5, 7-10 | 90.2499 | 6.933 | 97.183 | 34641.9705 | MW-months | 2605 | 200 | 2805 | /MW | 2216
11 | BC > (17×SF) to ≤ (40×SF) MW |  | Lines 5, 7-10 | 77.0339 | 5.9178 | 82.9517 | 44168.7937 | MW-months | 1744 | 134 | 1878 | /MW | 1484
12 | Billing Capacity > (40×SF) MW |  | Lines 5, 7-10 | 49.0029 | 3.7644 | 52.7673 | 45639.312 | MW-months | 1074 | 82 | 1156 | /MW | 1156
13 | DTS Operating Reserve Charge
14 | Varying Usage Charge (Note 2) |  | Line 16 | 201.2 | 0 | 201.2 | 59966.4474 | GWh | 4.53% | 0% | 4.53% | × Pool Price
15 | DTS Transmission Constraint Rebalancing Charge
16 | Varying Usage Charge |  | Line 17 | 1 | 0 | 1 | 59966.4474 | GWh | 0.017 | 0 | 0.017 | /MWh
17 | DTS Voltage Control (TMR) Charge
18 | Flat Usage Charge |  | Line 18 | 5 | 0 | 5 | 59966.4474 | GWh | 0.08 | 0 | 0.08 | /MWh
19 | DTS Other System Support Services Charge
20 | Highest Metered Demand Charge |  | Line 22 | 2.9 | 0 | 2.9 | 120841.6052 | MW-months | 24 | 0 | 24 | /MW
21 | Total DTS Cost Recovery |  |  | 2099.6163 | 145.1532 | 2244.7695
Notes: | 1. | “SF” refers to substation fraction; the charges provided in lines 8 to 12 are applied to billing capacity within the bounds defined as amounts multiplied by the substation fraction for
each Rate DTS customer
| 2. | The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh

## B-9 STS Classification
Alberta Electric System Operator | [14 empty] | Table B-9
2022 ISO Tariff Update Application | [14 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Supply Transmission Service Costs Classified to Demand and Usage
|  |  |  | A | B | C | D | E | F | G |  | H | I | J | K
|  |  |  | STS | Classification to Rate Component
|  |  |  | Amount | Coincident Demand |  | Non-Coincident Dem’d |  | Flat Usage |  |  | Varying Usage |  | Customer
Line No. | Description |  | [Table B-5] $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
3 | Regional System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
4 | Point of Delivery |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
5 | Total Wires |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
6 | Ancillary Services
7 | Operating Reserves |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
10 |  | Transmission Must Run (TMR) |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
11 |  | Under Frequency Mitigation |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
12 |  | Poplar Hill |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
13 |  | ILRAS |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
14 |  | LSSi |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0% | 0
15 | Total Ancillary Services |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
16 | Losses |  |  | 143.3 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 143.3 | 0% | 0
17 | Other Industry |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
18 | General and Administrative |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
19 | Total Revenue Requirement |  |  | 143.3 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 143.3 | 0% | 0
20 | STS Tariff Revenue Offsets |  |  | -12.2289 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | -12.2289 | 0% | 0
21 | RGU Connection Costs |  |  | 0 | 0% | 0 | 100% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
22 | Net DTS Revenue Requirement |  |  | 131.0711 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 131.0711 | 0% | 0

## B-10 STS Rate
Alberta Electric System Operator | [10 empty] | Table B-10
2022 ISO Tariff Update Application | [10 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Supply Transmission Service Rate Calculation
|  |  | A | B | C | D | E | F | G | H | I
Line |  | Table B-9 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
| Description | Reference | Losses | Other | Total | Quantity | Unit | Losses | Other | Total | Unit
1 | STS Losses Charge (Notes 1 and 2)
2 | Losses Charge | Lines 16, 20 | 143.3 | -12.2289 | 131.0711 | 59966.4474 | GWh | 3.23% | -0.28% | 2.95% | × Pool Price
3 | RGU Connection Costs (Note 3)
4 | RGU Connection Costs | Line 21 | 0 | 0 | 0 | 0 | MW-months | 0 | 0 | 0 | /MW
5 | Total STS Cost Recovery |  | 143.3 | -12.2289 | 131.0711
Notes: | 1. The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh
2. Facility loss factors are determined by the AESO for each Rate STS market participant, and the value calculated is an illustrative average only
3. RGU (Regulated Generating Unit) Connection Costs charge is applicable only to regulated generating units as listed in Appendix A to the ISO Tariff

## B-11 Other Rates
Alberta Electric System Operator | [12 empty] | Table B-11
2022 ISO Tariff Update Application | [12 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Opportunity Service Rate Calculations
|  | A | B | C | D | E | F | G | H | I | J | K | L
Line
| Component | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total
1 | DTS Revenue Requirement |  | 2022 DTS Costs, $ 000 000 |  | 2022 DTS Rates, $/MWh
2 | Connection – Bulk System | 982.8447 | 68.9301 | 1051.7747 | 16.3899 | 1.1495 | 17.5394
3 | Connection – Regional System | 447.903 | 52.3036 | 500.2066 | 7.4692 | 0.87221 | 8.3414
4 | Connection – POD | 405.4536 | 0 | 405.4536 | 6.7613 | 0 | 6.7613
5 | Operating Reserve | 0 | 201.2 | 201.2 | 0 | 3.3552 | 3.3552
6 | Voltage Control | 0 | 5 | 5 | 0 | 0.08338 | 0.08338
7 | Other System Support | 2.9 | 0 | 2.9 | 0.04836 | 0 | 0.04836
8 | Total DTS Costs | 1839.1013 | 327.4336 | 2166.5349 | 30.6688 | 5.4603 | 36.1291
9 | Demand Opportunity Service (DOS) Rates |  | 0 |  |  | DOS 7 Minutes, $/MWh |  |  | DOS 1 Hour, $/MWh |  |  | DOS Term, $/MWh
10 | Connection – Bulk System |  |  |  | 0 | 1.1495 | 1.1495 | 8.195 | 1.1495 | 9.3444 | 16.3899 | 1.1495 | 17.5394
11 | Connection – Regional System |  |  |  | 0 | 0.87221 | 0.87221 | 3.7346 | 0.87221 | 4.6068 | 89.6307 | 0.87221 | 90.5029
12 | Connection – POD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Operating Reserve |  |  |  | 0 | 3.3552 | 3.3552 | 0 | 3.3552 | 3.3552 | 0 | 3.3552 | 3.3552
14 | Voltage Control |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Other System Support |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Total DOS Costs |  |  |  | 0 | 5.3769 | 5.3769 | 11.9296 | 5.3769 | 17.3065 | 106.0206 | 5.3769 | 111.3975
17 | Export Opportunity Service (XOS/XOM) Rates |  |  |  |  | XOS/XOM, $/MWh
18 | Connection – Bulk System |  |  |  | 3.278 | 1.1495 | 4.4275
19 | Connection – Regional System |  |  |  | 1.4938 | 0.87221 | 2.3661
20 | Connection – POD |  |  |  | 0 | 0 | 0
21 | Operating Reserve |  |  |  | 0 | 1.0737 | 1.0737
22 | Voltage Control |  |  |  | 0 | 0 | 0
23 | Other System Support |  |  |  | 0 | 0 | 0
24 | Total XOS Costs |  |  |  | 4.7718 | 3.0954 | 7.8672

## B-12 Determinants
Alberta Electric System Operator | [5 empty] | Table B-12
2022 ISO Tariff Update Application | [5 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
2022 Billing Determinants
|  |  | A | B | C | D
Line |  |  | Rate DTS |  | Rate STS |  | 2021 ISO Tariff Rates Update |  | Increase
| Determinant |  | Quantity | Unit | Quantity | Unit | Quantity | Unit | (Decrease) | 2021 Revenue
1 | DTS Coincident Metered Demand |  | 93328.3535 | MW-months | — |  | 91617.1754 | MW-months | 1.868% | 982.8447
2 | DTS Billing Capacity (Total) |  | 160927.506 | MW-months | — |  | 159954.2432 | MW-months | 0.6085% | 447.903
3 | DTS Billing Capacity up to (7.5×SF) MW |  | 36477.4298 | MW-months | — |  | 36754.7838 | MW-months | -0.7546% | 172.5516
4 | DTS Billing Capacity Greater Than (7.5×SF) MW up to (17×SF) MW |  | 34641.9705 | MW-months | — |  | 34657.9492 | MW-months | -0.0461% | 97.183
5 | DTS Billing Capacity Greater Than (17×SF) MW up to (40×SF) MW |  | 44168.7937 | MW-months | — |  | 43642.4965 | MW-months | 1.206% | 82.9517
6 | DTS Billing Capacity in Excess of (40×SF) MW |  | 45639.312 | MW-months | — |  | 44899.0137 | MW-months | 1.649% | 52.7673
7 | DTS Highest Monthly Metered Demands |  | 120841.6052 | MW-months | — |  | 117932.0221 | MW-months | 2.467% | 2.9
8 | Metered Energy (All Hours) |  | 59966.4474 | GWh | 59966.4474 | GWh | 58398.9 | GWh | 2.684% | 328.4336
9 | DTS Market Participants (Equivalent) (Note 2) |  | 5373.575 | customer-months | — |  | 5387.029 | customer-months | -0.2497% | 77.2346
10 | Pool Price (Note 3) |  | 74.01 | /MWh | 74.01 | /MWh | Revenue Weighted Average |  |  | 1.35%
11 | RGU Maximum Continuous Rating (MCR) |  | — |  | 0 | MW-months
Note: | 1. | DTS Billing Capacity within each tier is the sum over all Rate DTS market participants of the Rate DTS billing capacity within the
bounds defined as amounts multiplied by the substation fraction for each Rate DTS market participant
| 2. | DTS Market Participants (Equivalent) is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS
market participant
| 3. | The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh

## B-13 Impact
Alberta Electric System Operator | [9 empty] | Table B-13
2022 ISO Tariff Update Application | [9 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Rate Change Impact Compared to 2021 Approved Rates
|  |  | A | B | C | D | E | F | G | H
|  |  | 2021 Approved Rates |  |  | 2022 Proposed Rates |  |  | Increase (Decrease)
| Description |  | 2021 Rate | 2022 Determinant | Amount $ 000 000 | 2022 Rate | 2022 Determinant | Amount $ 000 000 | Amount $ 000 000 | Percent %
1 | DTS Tariff
2 | Connection Charge
3 |  | Bulk System Charge — Demand | 11085 | 93328.3535 | 1034.5448 | 10531 | 93328.3535 | 982.8409 | -51.7039 | -4.998%
4 |  | Bulk System Charge — Usage | 1.22 | 59966.4474 | 73.1591 | 1.15 | 59966.4474 | 68.9614 | -4.1977 | -5.738%
5 |  | Regional System Charge — Demand | 2893 | 160927.506 | 465.5633 | 2783 | 160927.506 | 447.8612 | -17.702 | -3.802%
6 |  | Regional System Charge — Usage | 0.93 | 59966.4474 | 55.7688 | 0.87 | 59966.4474 | 52.1708 | -3.598 | -6.452%
7 |  | POD Charge — Customer × SF | 14860 | 5373.575 | 79.8513 | 14373 | 5373.575 | 77.2344 | -2.6169 | -3.277%
8 |  | POD — Demand ≤ (7.5×SF) MW | 4891 | 36477.4298 | 178.4111 | 4730 | 36477.4298 | 172.5382 | -5.8729 | -3.292%
9 |  | POD — Demand > (7.5×SF) to ≤ (17×SF) MW | 2900 | 34641.9705 | 100.4617 | 2805 | 34641.9705 | 97.1707 | -3.291 | -3.276%
10 |  | POD — Demand > (17×SF) to ≤ (40×SF) MW | 1942 | 44168.7937 | 85.7758 | 1878 | 44168.7937 | 82.949 | -2.8268 | -3.296%
11 |  | POD — Demand > (40×SF) MW | 1195 | 45639.312 | 54.539 | 1156 | 45639.312 | 52.759 | -1.7799 | -3.264%
12 |  | Total Connection Charge | — | — | 2128.0749 | — | — | 2034.4858 | -93.5891 | -4.398%
13 | Operating Reserve Charge — % of PP |  | 6.19% | 59966.4474 | 274.7194 | 4.53% | 59966.4474 | 201.0467 | -73.6727 | -26.82%
14 | Transmission Constraint Rebalacing Charge — Usage |  | 0.002 | 59966.4474 | 0.11993 | 0.017 | 59966.4474 | 1.0194 | 0.8995 | 750%
15 | Voltage Control Charge — Usage |  | 0.01 | 59966.4474 | 0.59966 | 0.08 | 59966.4474 | 4.7973 | 4.1977 | 700%
16 | OSS Service Charge — Demand |  | 25 | 120841.6052 | 3.021 | 24 | 120841.6052 | 2.9002 | -0.12084 | -4%
17 | Total DTS Tariff |  |  |  | 2406.5349 |  |  | 2244.2494 | -162.2855 | -6.744%
18 | STS Tariff
19 | Losses Charge — % of PP |  | 2.98% | 59966.4474 | 132.2559 | 2.95% | 59966.4474 | 130.9244 | -1.3314 | -1.007%
20 | RGU Connection Costs — Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
21 | Total STS Tariff |  |  |  | 132.2559 |  |  | 130.9244 | -1.3314 | -1.007%
22 | Total DTS and STS Tariffs |  |  |  | 2538.7908 |  |  | 2375.1738 | -163.617 | -6.445%
Notes: | 1. | “SF” refers to substation fraction; the tiers provided in lines 7 through 11 are within bounds defined by amounts multiplied by the substation fraction for each Rate DTS
market participant
| 2. | The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh
| 3. | 2021 rates (Column A) are final approved as per AUC Decision 26054-D01-2020, issued on December 18, 2020

## B-14 FTS Rate
Alberta Electric System Operator | [9 empty] | Table B-14
2022 ISO Tariff Update Application | [9 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Fort Nelson Demand Transmission Service Rate Calculation
|  |  |  | A | B |  | C | D |  | E
Line |  |  | Table B-8 | Rate |  |  | Billing Determinant |  |  | Revenue
| Description |  | Reference | Amount | Unit |  | Quantity | Unit |  | $ 000
1 | FTS Bulk System Charge
2 | Coincident Demand Charge |  | Line 2 | 10531 | /MW |  | 19.3 | MW-months |  | 203.2483
3 | Flat Usage Charge |  | Line 3 | 1.15 | /MWh |  | 18.2 | GWh |  | 20.93
4 | FTS Regional System Charge
5 | Non-Coincident Demand Charge |  | Note 1 | 2783 | /MW |  | 415.8 | MW-months |  | 1157.1714
6 | Flat Usage charge |  | Note 1 | 0.87 | /MWh |  | 18.2 | GWh |  | 15.834
7 | FTS Operating Reserve Charge
8 | Varying Usage Charge |  | Line 14 | 4.53% | × Pool Price (Note 2) |  | 18.2 | GWh |  | 61.0183
9 | FTS Transmission Constraint Rebalancing Charge
10 | Varying Usage Charge |  | Line 16 | 0.017 | /MWh |  | 18.2 | GWh |  | 0.3094
11 | FTS Voltage Control (TMR) Charge
12 | Flat Usage Charge |  | Line 18 | 0.08 | /MWh |  | 18.2 | GWh |  | 1.456
13 | FTS Other System Support Services Charge
14 | Highest Metered Demand Charge |  | Line 20 | 24 | /MW |  | 130.1 | MW-months |  | 3.1224
15 | Total FTS Cost Recovery | [8 empty] | 1463.0898
Notes: | 1. | Direction 7 of Decision 2005-096 established the Fort Nelson local system charge to be “the greater of the postage stamp rate for local wires
costs or the actual cost of the AE line providing service to Fort Nelson.” Based on the Rate DTS Regional System Charge from Table D-6:
|  | DTS Regional System Wires Demand Charge |  | 2585 | /MW | × | 415.8 | MW-months | = | 1074843
|  | DTS Regional System Wires Usage Charge |  | 0.81 | /MWh | × | 18.2 | GWh | = | 14742
|  | Total postage stamp rate for regional wires costs | [7 empty] | 1089585
The actual cost of the AE line providing service to Fort Nelson, as provided in Information Response BCH.AESO-005 in the AESO’s 2005-2006
GTA, is $410,139 per year. Rate DTS therefore determines the Rate FTS Regional System Charge (in conjunction with non-wires costs from
Table 5-6):
|  |  |  | Wires | Non-Wires |  | Total | Units
|  | FTS Regional System Demand Charge |  | 2585 | 199 |  | 2783 | /MW
|  | FTS Regional System Usage Charge |  | 0.81 | 0.06 |  | 0.87 | /MWh
| 2. | The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh

## B-15 FTS Determinants
Alberta Electric System Operator |  |  | Table B-15
2022 ISO Tariff Update Application |  |  | November 15, 2021
Appendix B — 2022 Rate Calculations
2021 Fort Nelson Billing Determinants
|  | A | B
Line |  | Rate FTS
| Determinant | Quantity | Unit
1 | FTS Coincident Metered Demand | 19.3 | MW-months
2 | FTS Billing Capacity | 415.8 | MW-months
3 | FTS Highest Metered Demand | 130.1 | MW-months
4 | Metered Energy (All Hours) | 18.2 | GWh
5 | Pool Price (Note) | 74.01 | /MWh
Note: | The 2022 ISO Tariff pool price is the 2022 BRP forecast pool price for 2022, $74.01/MWh

## B-16 Bill Estimator
Alberta Electric System Operator | [6 empty] | Table B-16
2022 ISO Tariff Update Application | [6 empty] | November 15, 2021
Appendix B — 2022 Rate Calculations
Bill Impact Estimator
Name: | Name |  |  |  |  | ID: | Account ID
2020 and 2021 BILL ESTIMATES (MONTHLY)
Description |  |  |  |  | DTS | Commodity | Total
(1) | Approved AESO 2021 Rates |  |  |  | 373546.65 | 702354.9 | 1075901.55
(2) | Proposed AESO 2022 Rates |  |  |  | 348141.51 | 702354.9 | 1050496.41
(3) | Increase (Decrease) |  |  |  | -25405.14 | 0 | -25405.14
(4) | Percentage Increase (Decrease) |  |  |  | -6.801% | 0% | -2.361%
INPUTS
Billing Determinants |  |  |  | Units | DTS
(a) | Contract Capacity |  |  | MW | 20
(b) | Highest Metered Demand in Billing Period |  |  | MW | 20
(c) | Coincidence Factor with 15-minute system peak |  |  | % | 75%
(d) | Coincident Metered Demand |  |  | MW | 15
(e) | Highest Metered Demand in previous 24 months |  |  | MW | 22
(f) | Billing Capacity (highest of 90% × (a), (b), or 90% × (e)) |  |  | MW | 20
(g) | Load Factor |  |  | % | 65%
(h) | Hours in Month |  |  | hours | 730
(i) | Metered Energy |  |  | MWh | 9490
(j) | Substation Fraction |  |  |  | 1
(k) | Pool Price |  |  | $/MWh | 74.01
Notes: | Billing determinant values should be entered above only in cells indicated with yellow shading and red text. All other values are calculated.
Coincidence Factor in (c) is the percentage of Highest Metered Demand in (b) which is on-line at the time of system peak.
Load Factor in (g) is average demand during the month as a percentage of Highest Metered Demand during the month.
Impacts of Primary Service Credit, Deferral Account Adjustment Rider C, and other credits and riders are not included.
For additional definitions see Demand Transmission Service Rate DTS in the tariff posted on the AESO web site.
This calculator provides estimates only. Actual AESO bills are based on hourly settlement information rather than monthly averages.
For confirmation of billing information or for questions relating to an actual AESO bill, please contact the AESO.
In the event of differences between this workbook and the AESO’s approved tariff, the approved tariff prevails.
DTS BILL PER PROPOSED AESO 2022 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System charge
(1)(a) | Coincident Metered Demand |  | 10531 | /MW | 15 | MW | 157965
(1)(b) | Metered Energy |  | 1.15 | /MWh | 9490 | MWh | 10913.5
(2) | Regional System Charge
(2)(a) | Billing Capacity |  | 2783 | /MW | 20 | MW | 55660
(2)(b) | Metered Energy |  | 0.87 | /MWh | 9490 | MWh | 8256.3
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 14373 | /month | 1 |  | 14373
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 4730 | /MW | 7.5 | MW | 35475
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2805 | /MWh | 9.5 | MWh | 26647.5
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1878 | /month | 3 | MW | 5634
(3)(e) | All Remaining MW of Billing Capacity | ≤ 5 MW | 1156 | /MW | 0 | MW | 0
Operating Reserve Charge
(4) | Metered Energy × Pool Price |  | 4.53% | × Pool Price | 9490 | MWh | 31816.68
Transmission Constraint Rebalancing Charge
(5) | Metered Energy |  | 0.017 | /MWh | 9490 | MWh | 161.33
Voltage Control Charge
(6) | Metered Energy |  | 0.08 | /MWh | 9490 | MWh | 759.2
Other System Support Services Charge
(7) | Highest Metered Demand |  | 24 | /MW | 20 | MW | 480
Total DTS Bill Estimate | [5 empty] | Monthly: | 348141.51
[6 empty] | Annual: | 4177698.12
DTS BILL PER INTERIM APPROVED 2021 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System Charge
(1)(a) | Coincident Metered Demand |  | 11085 | /MW | 15 | MW | 166275
(1)(b) | Metered Energy |  | 1.22 | /MWh | 9490 | MWh | 11577.8
(2) | Local System Charge
(2)(a) | Billing Capacity |  | 2893 | /MW | 20 | MW | 57860
(2)(b) | Metered Energy |  | 0.93 | /MWh | 9490 | MWh | 8825.7
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 14860 | /month | 1 |  | 14860
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 4891 | /MW | 7.5 | MW | 36682.5
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2900 | /MW | 9.5 | MW | 27550
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1942 | /MW | 3 | MW | 5826
(3)(e) | All Remaining MW of Billing Capacity |  | 1195 | /MW | 0 | MW | 0
Operating Reserve Charge
(3) | Metered Energy × Pool Price |  | 6.19% | × Pool Price | 9490 | MWh | 43475.77
Transmission Constraint Rebalancing Charge
(4) | Metered Energy |  | 0.002 | /MWh | 9490 | MWh | 18.98
Voltage Control Charge
(5) | Metered Energy |  | 0.01 | /MWh | 9490 | MWh | 94.9
Other System Support Services Charge
(6) | Highest Metered Demand |  | 25 | /MW | 20 | MW | 500
Total DTS Bill Estimate | [5 empty] | Monthly: | 373546.65
[6 empty] | Annual: | 4482559.8