## ARS Core Audit Requirements
Alberta Reliability Standards Compliance Monitoring
Core Audit Requirements
Updated: Sept 3, 2020
Reliability Standard Number | Reliability Standard Name | Requirement Number1,2
CIP-002 | Cyber Security - BES Cyber System Categorization | All requirements
CIP-003 | Cyber Security - Security Management Controls | All requirements
CIP-004 | Cyber Security – Personnel & Training | All requirements
CIP-005 | Cyber Security – Electronic Security Perimeter(s) | All requirements
CIP-006 | Cyber Security – Physical Security of BES Cyber Systems | All requirements
CIP-007 | Cyber Security - System Security Management | All requirements
CIP-008 | Cyber Security – Incident Reporting and Response Planning | All requirements
CIP-009 | Cyber Security – Recovery Plans for BES Cyber Systems | All requirements
CIP-010 | Cyber Security - Configuration Change Management and Vulnerability Assessments | All requirements
CIP-011 | Cyber Security – Information Protection | All requirements
CIP-014 | Physical Security | R3
R4
R5
R6
EOP-003 | Load Shedding Plans | R1 (AB1)
EOP-005 | System Restoration from Blackstart Resources | R1
R2
R3
R4
R5
R7
R8
R10
R11
R12
R14
R15
R16
R17
R18
EOP-008 | Loss of Control Centre Functionality | R1
R2
R4
R5
R6
R7
R8
FAC-003 | Transmission Vegetation Management Program | R1 (AB1)
R2 (AB1)
FAC-008 | Facility Ratings | All requirements
PER-003 | Operations Personnel Credentials | R2
PER-005 | Operations Personnel Training | R1
R3
R5
PRC-001 | Protection System Coordination | All requirements (AB3-1.1ii)
PRC-002 | Disturbance Monitoring and Reporting Requirements | R1
R2
R3
R4
R6
R7
R8
R9
R10
R11
R12
PRC-004 | Analysis and Mitigation of Transmission and Generation Protection System Misoperation | R1 (AB1 and AB2)
R2 (AB1 and AB2)
PRC-005 | Protection System, Automatic Reclosing, and Sudden Pressure Relaying Maintenance | All requirements
PRC-019 | Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection | All requirements
PRC-004-WECC | Protection System and Remedial Action Scheme Misoperation | R2 (AB1)
PRC-023 | Transmission Relay Loadability | R1
R2
R3
PRC-025 | Generator Load Reliability | R1
VAR-002 | Generator Operation for Maintaining Network Voltages | R1 (AB3)
R2 (AB3)
1 Note: If no version of the reliability standard is specified, the requirement number pertains to every version of the standard.
2 Note: If a requirement contains sub-requirements, the requirement number pertains to all sub-requirements.