## Connection Project List
Status | Project Name | Planning Area | Cluster | Project Type | MW Type | Stage | CA Modelled | Inclusion | Applied On | EN1 STS MW | EN1 DTS MW | EN1 ISD | EN2 STS MW | EN2 DTS MW | EN2 ISD | EN3 STS MW | EN3 DTS MW | EN3 ISD
Active | P1828 hep Energy Alderson MPC Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2016-07-29 10:00 | 0 | 0 | 2025-04-10 | 0 | 0.5 | 2025-11-15 | 100 | 0 | 2026-03-05
Active | P2034 Cold Lake Energy (Lindbergh Cogeneration) | 28-Cold Lake |  | Connection | Cogen | 5 | Yes | Yes | 2018-01-02 10:00 | 0 | 3 | 2029-08-01 | 72 | 0 | 2029-10-01
Active | P2091 Arenosum Solar | 48-Empress |  | Connection | Solar | 4 | Yes | No | 2018-05-22 10:00 | 150 | 1 | 2028-05-26
Active | P2192 ENMAX FMC Change | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2019-01-02 10:00 | 4.99 | 0 | 2026-10-04
Active | P2195 FortisAlberta Bassano 435S DER Solar | 47-Brooks |  | BTF | Solar | 5 | Yes | Yes | 2019-01-07 10:00 | 0 | 0 | 2024-03-25 | 4.65 | 0 | 2027-06-01
Active | P2256 ATCO Poplar Hill Load | 20-Grande Prairie |  | Connection | Distribution Load | 4 | Yes | Yes | 2019-07-11 10:00 | 0 | 34.5 | 2027-05-25
Active | P2259 FortisAlberta Metiskow 648S DER Solar | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2019-07-17 10:00 | 22 | 0 | 2026-11-30
Active | P2334 TCE Saddlebrook Solar Storage | 46-High River |  | Connection | Solar + Storage | 5 | Yes | Yes | 2020-03-20 10:00 | 81 | 0.2 | 2023-10-25 | 6.5 | 0 | 2027-11-01
Active | P2337 Dunmore Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2020-03-16 10:00 | 0 | 0.5 | 2028-03-31 | 216 | 0 | 2028-05-31
Active | P2354 ENMAX FMC DER Cogen | 06-Calgary |  | BTF | Cogen | 5 | Yes | Yes | 2020-05-21 10:00 | 0 | 0 | 2026-04-30 | 4.99 | 0 | 2026-10-04
Active | P2356 Oyen Wind | 42-Hanna |  | Connection | Wind | 5 | Yes | Yes | 2020-06-18 10:00 | 0 | 1 | 2027-09-01 | 250 | 0 | 2027-09-01
Active | P2369 ATCO Anderson 801S DER Solar | 43-Sheerness |  | BTF | Solar | 5 | Yes | Yes | 2020-08-04 10:00 | 0 | 0 | 2027-11-03 | 12.3 | 0 | 2027-11-03
Active | P2378 RESC Nova MPC Solar | 45-Strathmore/Blackie |  | Connection | Solar | 5 | Yes | Yes | 2020-09-08 10:00 | 150 | 1 | 2027-08-01
Active | P2396 Georgetown Solar | 45-Strathmore/Blackie |  | Connection | Solar | 5 | Yes | Yes | 2020-11-12 10:00 | 230 | 1 | 2026-11-16
Active | P2411 Northland Power Jurassic MPC Solar Battery | 48-Empress |  | Connection | Solar + Storage | 5 | Yes | Yes | 2021-01-04 10:00 | 0 | 0 | 2026-04-01 | 80 | 2 | 2028-01-15 | 220 | 1.5 | 2028-01-15
Active | P2418 Greencells Estuary Solar | 48-Empress |  | Connection | Solar | 5 | Yes | Yes | 2021-01-28 10:00 | 200 | 1.5 | 2028-01-31
Active | P2445 Kiwetinohk Homestead MPC Solar | 53-Fort Macleod |  | Connection | Solar | 5 | Yes | Yes | 2021-05-03 10:00 | 400 | 1.5 | 2027-03-01
Active | P2446 Fortis Tilley 498S DER Solar | 47-Brooks |  | BTF | Solar | 6 | Yes | Yes | 2021-05-07 10:00 | 19.6 | 0 | 2027-01-01
Active | P2451 Georgetown Battery Addition | 45-Strathmore/Blackie |  | BTF | Battery Storage | 5 | Yes | Yes | 2021-06-10 10:00 | 0 | 1 | 2027-04-21
Active | P2453 EDTI Edmonton 3 H2 Plant Cogen | 60-Edmonton |  | Connection | Cogen | 5 | Yes | Yes | 2021-06-16 10:00 | 0 | 50 | 2026-06-01 | 20 | 0 | 2027-05-01
Active | P2454 Flipi MPC Gas | 30-Drayton Valley |  | Connection | Gas | 4 | Yes | No | 2021-06-15 10:00 | 466 | 2.5 | 2029-08-31
Active | P2456 Opal Gas | 24-Fox Creek |  | Connection | Gas | 5 | Yes | Yes | 2021-06-21 10:00 | 98.5 | 0.4 | 2027-07-30
Active | P2457 Fortis Moon Lake DER Solar | 30-Drayton Valley |  | BTF | Solar | 5 | Yes | Yes | 2021-06-23 10:00 | 16.75 | 0 | 2026-09-04
Active | P2460 ABO Fox Meadows Wind | 37-Provost |  | Connection | Wind + Storage | 4 | Yes | No | 2021-06-30 10:00 | 150 | 1 | 2028-09-01
Active | P2461 Aira Solar | 04-Medicine Hat |  | Connection | Solar | 5 | Yes | Yes | 2021-07-07 10:00 | 450 | 1 | 2027-12-15
Active | P2462 Fortis Stony Plain 434S DER Solar | 40-Wabamun |  | BTF | Solar | 5 | Yes | Yes | 2021-07-14 10:00 | 12.2 | 0 | 2026-09-04
Active | P2464 Sunnynook Solar Battery | 43-Sheerness |  | Connection | Solar + Storage | 5 | Yes | Yes | 2021-07-21 10:00 | 280 | 2 | 2027-05-01
Active | P2465 Enerfin Winnifred Wind + Solar Modification | 04-Medicine Hat |  | BTF | Wind + Solar | 5 | Yes | Yes | 2021-07-22 10:00 | 60 | 0 | 2024-11-27 | 0 | 0 | 2026-11-30
Active | P2467 Pteragen Peace Butte Wind | 04-Medicine Hat |  | Connection | Wind | 5 | Yes | Yes | 2021-08-03 10:00 | 120 | 2 | 2028-05-01
Active | P2471 Fortis Buford 538S DER Solar | 31-Wetaskiwin |  | BTF | Solar | 5 | Yes | Yes | 2021-08-11 10:00 | 12.9 | 0 | 2026-09-04
Active | P2488 Kâpîsimotêt Solar | 31-Wetaskiwin |  | Connection | Solar | 3 | Yes | No | 2021-09-07 10:00 | 80 | 0.5 | 2028-01-12 | 0 | 0 | 2028-01-12
Active | P2503 Willow Ridge Wind Battery | 53-Fort Macleod |  | Connection | Wind + Storage | 3 | Yes | No | 2021-10-15 10:00 | 0 | 1.5 | 2027-09-01 | 246 | 0 | 2027-10-01
Active | P2513 Shell Scotford Substation Reliability | 33-Fort Saskatchewan |  | Connection | Other | 5 | Yes | Yes | 2021-11-17 10:00 | 0 | 0 | 2027-11-25
Active | P2517 Hutchison MPC Battery | 04-Medicine Hat |  | Connection | Battery Storage | 3 | Yes | No | 2022-01-20 10:00 | 100 | 50 | 2029-11-22
Active | P2520 Laramide MPC Battery | 46-High River |  | Connection | Battery Storage | 4 | Yes | No | 2022-01-20 10:00 | 100 | 50 | 2027-01-01
Active | P2524 Shell SR Scotford Solar | 33-Fort Saskatchewan |  | BTF | Solar | 5 | Yes | Yes | 2021-11-29 10:00 | 0 | 0 | 2024-06-20 | 0 | 0 | 2028-03-17
Active | P2533 Greenlight Gas | 33-Fort Saskatchewan |  | Connection | Gas | 3 | Yes | No | 2022-01-14 | 466 | 20 | 2028-06-01
Active | P2540 Rising Sun Solar | 37-Provost |  | Connection | Solar | 3 | Yes | No | 2022-02-04 10:00 | 125 | 1 | 2027-03-30
Active | P2552 Lone Butte Solar | 39-Didsbury |  | Connection | Solar | 4 | Yes | No | 2022-03-04 10:00 | 0 | 2 | 2027-11-01 | 450 | 0 | 2027-11-01
Active | P2553 Dolcy MPC Solar and Storage | 37-Provost |  | Connection | Solar + Storage | 5 | Yes | Yes | 2022-03-04 10:00 | 300 | 1 | 2028-09-01
Active | P2566 Eastervale Solar | 37-Provost |  | Connection | Solar | 4 | Yes | No | 2022-04-08 10:00 | 300 | 1 | 2027-10-01
Active | P2582 Woodcroft Reliability | 60-Edmonton |  | Connection | Equipment Change | 5 | Yes | Yes | 2022-06-16 10:00 | 0 | 0 | 2026-10-30 | 0 | 0 | 2027-07-31 | 0 | 0 | 2028-04-30
Active | P2592 Big Rock Solar Battery | 46-High River |  | Connection | Solar + Storage | 4 | Yes | No | 2022-07-25 10:22 | 90 | 1 | 2028-06-30
Active | P2602 Collisard MPC Gas | 35-Red Deer |  | Connection | Gas | 4 | Yes | No | 2022-08-31 16:30 | 120 | 3 | 2029-01-31
Active | P2611 UK Solar East | 42-Hanna |  | Connection | Solar | 4 | Yes | No | 2022-09-22 15:29 | 268 | 1 | 2028-08-01
Active | P2614 Dow Fort Sask. Load | 33-Fort Saskatchewan |  | Connection | Industrial Load | 4 | Yes | Yes | 2022-09-28 14:50 | 0 | 231 | 2027-09-01
Active | P2616 Jumbo Battery | 53-Fort Macleod |  | Connection | Battery Storage | 3 | Yes | No | 2022-10-11 13:43 | 218 | 1 | 2028-04-01
Active | P2619 Sweetgrass MPC Solar Battery | 53-Fort Macleod |  | Connection | Solar + Storage | 3 | Yes | No | 2022-10-19 08:39 | 315 | 2 | 2028-06-01
Active | P2627 Sundre 575S DER Solar | 38-Caroline |  | BTF | Solar | 5 | Yes | Yes | 2022-11-07 13:23 | 12.6 | 0 | 2027-11-09
Active | P2628 Foster Creek Load | 28-Cold Lake |  | BTF | Industrial Load | 5 | Yes | Yes | 2022-11-07 15:41 | 0 | 41 | 2027-05-01
Active | P2630 Berland River Load | 24-Fox Creek |  | Connection | Industrial Load | 5 | Yes | Yes | 2022-11-14 14:09 | 0 | 37 | 2026-05-06
Active | P2656 Edmonton CCUS Gas | 60-Edmonton |  | Connection | Gas | 4 | Yes | No | 2023-01-04 11:02 | 0 | 3 | 2029-03-31 | 94 | 0 | 2029-06-30
Active | P2678 SS-37 DER Gas | 06-Calgary |  | BTF | Gas | 5 | Yes | Yes | 2023-02-24 11:55 | 0 | 0 | 2027-06-01 | 1.1 | 0 | 2027-09-01
Active | P2707 Sounding Creek Solar Battery | 42-Hanna | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-05-12 13:26 | 0 | 50 | 2028-05-01 | 250 | 0 | 2028-06-01
Active | P2713 Little Smoky 1 Solar | 23-Valleyview | NW-01 | Connection | Solar | 3 | Yes | No | 2023-06-01 12:01 | 0 | 1 | 2028-07-15 | 448 | 0 | 2028-07-15
Active | P2716 Wapiti 823S Load | 20-Grande Prairie |  | Connection | Distribution Load | 3 | No | No | 2023-06-07 13:22 | 0 | 21.3 | 2028-04-01
Active | P2722 Sturgeon 734S DER Solar | 23-Valleyview | NW-01 | BTF | Solar | 3 | Yes | Yes | 2023-06-16 11:38 | 0 | 0 | 2027-02-15 | 24 | 0 | 2027-02-15
Active | P2728 Kersey Solar | 57-Airdrie | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-07-14 13:43 | 0 | 2 | 2027-06-01 | 200 | 0 | 2027-06-01
Active | P2729 Coaldale 254S DER Solar & Wind | 54-Lethbridge | SE-01 | BTF | Wind | 3 | Yes | Yes | 2023-07-14 12:44 | 0 | 0 | 2028-08-31 | 12.3 | 0 | 2028-08-31
Active | P2738 Little Smoky 4 Solar | 23-Valleyview | NW-01 | Connection | Solar | 3 | Yes | No | 2023-07-20 15:11 | 0 | 1 | 2028-02-15 | 79 | 0 | 2028-02-15
Active | P2741 Great Plains Load | 25-Fort McMurray |  | Connection | Industrial Load | 5 | Yes | Yes | 2023-07-21 15:37 | 0 | 5 | 2026-11-01 | 0 | 46 | 2027-05-01
Active | P2747 Vegreville 709S DER Battery | 56-Vegreville | CNTL-01 | BTF | Battery Storage | 5 | Yes | Yes | 2023-07-31 15:44 | 0 | 1 | 2027-03-01 | 10 | 0 | 2027-04-01
Active | P2751 Hussar 431S Battery | 45-Strathmore/Blackie | SW-CAL-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-08-04 10:21 | 0 | 0 | 2027-04-01 | 20 | 0 | 2027-04-01
Active | P2753 Jarrow 252S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-10 09:37 | 0 | 0 | 2027-11-30 | 5.5 | 0 | 2027-11-30 | 0 | 0 | 2027-11-30
Active | P2754 Tucuman 478S DER Solar Battery | 32-Wainwright | CNTL-01 | BTF | Solar + Storage | 3 | Yes | Yes | 2023-08-10 10:00 | 0 | 0 | 2027-11-30 | 14.8 | 0 | 2026-11-30 | 0 | 0 | 2027-11-30
Active | P2757 Sturgeon 734S DER Battery | 23-Valleyview | NW-01 | BTF | Battery Storage | 3 | Yes | Yes | 2023-08-11 12:03 | 0 | 0 | 2027-07-01 | 22 | 0 | 2027-07-01
Active | P2758 UK Solar West | 42-Hanna | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-08-10 12:11 | 0 | 1 | 2028-08-31 | 162 | 0 | 2028-08-31
Active | P2774 Castor North Solar Battery | 42-Hanna | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 19:47 | 0 | 0.75 | 2027-12-01 | 250 | 0 | 2027-12-01
Active | P2789 Red Willow Solar Battery | 36-Alliance/Battle River | CNTL-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-22 16:07 | 0 | 100 | 2028-08-31 | 225 | 0 | 2028-08-31
Active | P2796 Greenlight U2 Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 3 | Yes | No | 2023-08-25 11:02 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
Active | P2797 Greenlight U3 Gas | 33-Fort Saskatchewan | NE-01 | Connection | Gas | 3 | Yes | No | 2023-08-25 11:07 | 0 | 20 | 2028-06-01 | 466 | 0 | 2028-06-01
Active | P2805 High River 65S DER Gas | 46-High River | SW-CAL-01 | BTF | Gas | 5 | Yes | Yes | 2023-08-25 14:40 | 0 | 0 | 2026-11-01 | 16.1 | 0 | 2026-11-01
Active | P2806 Piikani Wind | 53-Fort Macleod | SW-CAL-01 | Connection | Wind | 3 | Yes | No | 2023-08-25 09:59 | 153 | 2 | 2028-02-28
Active | P2818 Travers Battery | 49-Stavely |  | BTF | Battery Storage | 3 | No | No | 2023-08-29 14:27 | 0 | 0 | 2026-03-30
Active | P2826 Paul Band Solar | 40-Wabamun | EDM-01 | Connection | Solar | 3 | Yes | No | 2023-08-29 15:57 | 0 | 0.5 | 2026-06-01 | 18.5 | 0 | 2026-06-01 | 18.5 | 0 | 2026-06-01
Active | P2827 Vilna 777S DER Solar | 56-Vegreville | CNTL-01 | BTF | Solar | 3 | Yes | Yes | 2023-08-29 17:11 | 0 | 0 | 2027-02-15 | 27.3 | 0 | 2027-02-15
Active | P2829 Coronation 773S DER Solar | 42-Hanna | CNTL-01 | BTF | Solar | 3 | Yes | Yes | 2023-08-29 14:29 | 0 | 0 | 2027-02-15 | 17 | 0 | 2027-02-15
Active | P2843 Prairie Lights Power Gas | 20-Grande Prairie | NW-01 | Connection | Gas | 3 | Yes | No | 2023-08-31 16:16 | 0 | 5 | 2028-06-01 | 310 | 0 | 2028-06-01
Active | P2845 Marguerite Lake CAE Storage | 28-Cold Lake | CNTL-01 | Connection | Compressed Air Energy Storage | 3 | Yes | No | 2023-08-31 16:27 | 0 | 125 | 2028-03-31 | 320 | 0 | 2027-09-01
Active | P2869 Provost 545S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-09-22 15:39 | 1.26 | 0 | 2026-12-18
Active | P2879 Hayter 277S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-10-27 10:33 | 2.92 | 0 | 2026-08-20
Active | P2880 Warner 344S DER Gas | 55-Glenwood |  | BTF | Gas | 3 | No | No | 2023-10-27 10:23 | 0 | 0 | 2027-03-08 | 3.52 | 0 | 2027-03-11
Active | P2881 South Mayerthorpe 443S DER Gas | 40-Wabamun |  | BTF | Gas | 3 | No | No | 2023-10-27 09:45 | 3.8 | 0 | 2027-01-27
Active | P2882 Hughenden 213S DER Gas | 37-Provost |  | BTF | Gas | 3 | No | No | 2023-10-27 09:38 | 3.82 | 0 | 2026-06-15
Active | P2921 SS-54 Area Load | 06-Calgary |  | Connection | Distribution Load | 3 | No | No | 2024-03-27 11:53 | 0 | 60 | 2028-12-05
Active | P2924 Three Hills 770S DER Battery | 42-Hanna |  | BTF | Battery Storage | 5 | Yes | Yes | 2024-04-08 15:01 | 0 | 0 | 2027-09-30
Active | P2925 Michichi Creek 802S DER Battery | 42-Hanna |  | BTF | Battery Storage | 5 | Yes | Yes | 2024-04-04 15:25 | 0 | 0 | 2027-09-30
Active | P2936 GLDC Load Phase 1.1 | 33-Fort Saskatchewan |  | Connection | Data Load | 2 | Yes | Yes | 2024-05-14 15:33 | 0 | 60 | 2027-05-01 | 0 | 910 | 2030-09-01
Active | P2940 Grassland 282S Modification | 27-Athabasca/Lac La Biche |  | BTF | Equipment Change | 5 | Yes | Yes | 2024-06-10 09:01 | 0 | 0 | 2026-05-05
Active | P2941 WFS Cogen | 33-Fort Saskatchewan | NE-02 | Connection | Cogen | 3 | Yes | No | 2024-06-12 09:00 | 0 | 30 | 2027-12-10 | 35 | 0 | 2028-02-01
Active | P2943 Conklin 762S Modification | 25-Fort McMurray |  | BTF | Equipment Change | 5 | Yes | Yes | 2024-07-09 08:40 | 0 | 0 | 2025-07-21 | 0 | 0 | 2026-03-31
Active | P2944 Mowat 2033S DER Gas | 20-Grande Prairie | NW-02 | BTF | Gas | 3 | Yes | Yes | 2024-07-24 | 0 | 0 | 2027-05-18 | 19 | 0 | 2027-04-01
Active | P2952 North Calgary One Data Centre MPC Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2024-09-11 07:58 | 0 | 74.9 | 2027-03-26
Active | P2953 North Calgary Two Data Centre MPC Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2024-09-11 07:58 | 0 | 74.9 | 2027-03-26
Active | P2966 Veteran Solar Battery | 42-Hanna | CNTL-02 | Connection | Solar + Storage | 3 | Yes | No | 2024-09-27 | 100 | 1 | 2028-10-18 | 0 | 0 | 2028-10-18
Active | P2967 Clearwater Facility Cogen | 39-Didsbury | CNTL-02 | Connection | Cogen | 3 | Yes | No | 2024-09-30 | 0 | 35 | 2027-12-20 | 15 | 0 | 2029-07-01
Active | P2969 Cadomin Area Load | 29-Hinton/Edson |  | Connection | Distribution Load | 3 | No | No | 2024-10-07 14:18 | 0 | 1 | 2026-01-01 | 0 | 0.5 | 2027-01-01 | 0 | 0.5 | 2028-01-01
Active | P2972 SW Edmonton Area Load Meadowlark Upgrade | 60-Edmonton |  | Connection | Distribution Load | 4 | No | No | 2024-10-08 09:39 | 0 | 0 | 2026-12-02 | 0 | 0 | 2028-12-02 | 0 | 0 | 2030-12-02
Active | P2975 Genesee MPC Gas | 40-Wabamun | EDM-02 | Connection | Gas | 3 | Yes | No | 2024-10-07 | 0 | 24 | 2029-04-01 | 1463 | 0 | 2029-03-01
Active | P2983 Moraine MPC Gas | 26-Swan Hills | NW-02 | Connection | Gas | 3 | Yes | No | 2024-10-15 07:45 | 0 | 7.45 | 2027-12-07 | 465 | 0 | 2028-02-01
Active | P2997 Three Hills 770S DER Solar | 42-Hanna | CNTL-02 | BTF | Solar | 3 | Yes | Yes | 2024-10-16 | 0 | 0 | 2027-04-02 | 18 | 0 | 2027-10-01
Active | P3001 Midnight MPC Battery | 04-Medicine Hat | SE-02 | Connection | Battery Storage | 3 | Yes | No | 2024-10-17 21:44 | 0 | 2 | 2029-10-18 | 0 | 0 | 2029-10-18 | 0 | 0 | 2029-10-18
Active | P3006 Clairmont Energy MPC Gas | 20-Grande Prairie | NW-02 | Connection | Gas | 3 | Yes | No | 2024-10-17 08:35 | 0 | 3 | 2029-05-01 | 178 | 17 | 2029-06-01
Active | P3013 Raymond Reservoir Battery | 55-Glenwood | SW-CAL-02 | BTF | Battery Storage | 3 | Yes | Yes | 2024-10-18 | 0 | 0 | 2028-02-25 | 8.1 | 0 | 2028-02-25
Active | P3014 Meadowview Solar Battery | 60-Edmonton | EDM-02 | Connection | Solar + Storage | 3 | Yes | No | 2024-10-18 | 0 | 66 | 2027-12-20 | 135 | 0 | 2027-12-01 | 0 | 0 | 2027-12-01
Active | P3015 Spruce Grove North Solar Battery | 60-Edmonton | EDM-02 | Connection | Solar + Storage | 3 | Yes | No | 2024-10-18 | 0 | 66 | 2027-12-20 | 100 | 0 | 2028-12-01 | 0 | 0 | 2028-12-01
Active | P3026 Pigeon Lake 964S DER Solar | 31-Wetaskiwin | EDM-02 | BTF | Solar | 3 | Yes | Yes | 2024-10-18 | 0 | 0 | 2026-09-01 | 15.2 | 0 | 2026-07-01
Active | P3029 Irrican Chin Battery | 54-Lethbridge | SE-02 | BTF | Battery Storage | 3 | Yes | Yes | 2024-10-18 13:20 | 0 | 1 | 2028-02-25 | 6.5 | 0 | 2028-02-25
Active | P3031 Oyen Wind Ph 2 | 42-Hanna | CNTL-02 | BTF | Wind | 3 | Yes | Yes | 2024-10-18 13:54 | 216 | 0 | 2029-10-15
Active | P3034 Valley Edge Battery | 35-Red Deer | CNTL-02 | Connection | Battery Storage | 3 | Yes | No | 2024-10-18 | 250 | 200 | 2027-12-22 | 0 | 0 | 2028-10-01
Active | P3039 Evolve Battery | 26-Swan Hills | NW-02 | BTF | Battery Storage | 3 | Yes | Yes | 2024-10-18 14:47 | 0 | 25 | 2027-03-30 | 25 | 0 | 2026-10-01
Active | P3040 AHI Prairie Eagle MPC Cogen | 35-Red Deer | CNTL-02 | Connection | Cogen + Solar + Storage | 3 | Yes | No | 2024-10-18 15:00 | 70 | 1 | 2027-01-01 | 80 | 0 | 2028-09-01 | 0 | 9 | 2029-01-01
Active | P3046 Marguerite Lake Compressed Air Phase 2 | 28-Cold Lake | CNTL-02 | Connection | Compressed Air Energy Storage | 3 | Yes | No | 2024-10-18 12:00 | 0 | 0 | 2027-12-22 | 320 | 125 | 2029-09-01
Active | P3056 Onoway 352S DER Gas Battery | 40-Wabamun | EDM-02 | BTF | Gas + Storage | 3 | Yes | Yes | 2024-10-18 08:59 | 20 | 0 | 2027-09-01 | 0 | 0 | 2027-10-01
Active | P3065 UK LS2 & LS6 Solar Battery | 23-Valleyview | NW-02 | Connection | Solar + Storage | 3 | Yes | No | 2024-10-18 15:45 | 0 | 51 | 2027-12-20 | 169 | 0 | 2028-07-01 | 0 | 0 | 2028-07-01
Active | P3069 Prairie Lights Power Unit 2 MPC Gas | 20-Grande Prairie | NW-02 | Connection | Gas | 3 | Yes | No | 2024-10-18 10:08 | 0 | 0 | 2028-02-15 | 466 | 0 | 2029-06-01
Active | P3072 Greenview Area Load | 22-Grande Cache |  | Connection | Distribution Load | 3 | No | No | 2024-12-15 08:56 | 0 | 40.1 | 2026-03-13 | 0 | 33.75 | 2028-03-01
Active | P3075 Balzac Area Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2024-12-18 11:22 | 0 | 15 | 2026-12-01 | 0 | 15 | 2027-12-01 | 0 | 15 | 2028-12-01
Active | P3076 Thornton Area Load | 22-Grande Cache |  | Connection | Distribution Load | 3 | No | No | 2024-12-20 10:25 | 0 | 26.5 | 2027-09-01
Active | P3079 Captus Load | 55-Glenwood |  | Connection | Data Load | 2 | No | No | 2025-01-17 14:04 | 0 | 50 | 2027-09-01
Active | P3082 Fort Nelson Generating Station Gas | 17-Rainbow Lake |  | BTF | Gas | 3 | No | No | 2025-01-07 09:11 | 0 | 0 | 2026-06-22
Active | P3083 Keephills Data Centre Phase 1.1 | 40-Wabamun |  | Connection | Data Load | 2 | Yes | Yes | 2025-01-28 09:30 | 0 | 115 | 2027-01-01 | 0 | 115 | 2027-07-01
Active | P3084 SW Edmonton Area Load and Reliability | 60-Edmonton |  | Connection | Distribution Load | 2 | No | No | 2025-01-31 08:11 | 0 | 28 | 2030-04-12
Active | P3094 HEFF Load | 33-Fort Saskatchewan |  | Connection | Industrial Load | 2 | No | No | 2025-02-12 11:12 | 0 | 68 | 2028-06-30
Active | P3099 Sollair BESS | 57-Airdrie |  | BTF | Battery Storage | 1 | No | No | 2025-03-13 10:58 | 0 | 0.5 | 2027-12-10
Active | P3100 Pembina Redwater Modification | 33-Fort Saskatchewan |  | BTF | Equipment Change | 3 | No | No | 2025-03-14 11:24 | 0 | 0 | 2027-12-15
Active | P3126 Sollair Load | 57-Airdrie |  | BTF | Data Load | 1 | No | No | 2025-06-17 10:52 | 0 | 4.9 | 2027-12-10 | 0 | 69.5 | 2028-01-01
Active | P3133 Bernese 293S Contract Change | 60-Edmonton |  | Contract | Industrial Load | 3 | No | No | 2025-08-05 09:57 | 0 | 29 | 2028-04-01
Active | P3134 Baseline 317S & Knightsbridge 216S Contract Change | 60-Edmonton |  | Contract | Industrial Load | 1 | No | No | 2025-08-05 10:04 | 0 | 2 | 2027-04-01 | 0 | 4 | 2028-04-01
Active | P3135 Battlesands 594S, Clipper 656S & Rosyth 296S Contract Change | 32-Wainwright |  | Contract | Industrial Load | 1 | No | No | 2025-08-05 10:10 | 0 | 2.7 | 2028-04-01 | 0 | 9 | 2028-04-01
Active | P3138 Balzac Area Distribution Load | 06-Calgary |  | Connection | Distribution Load | 1 | No | No | 2025-08-19 09:18 | 0 | 45 | 2029-12-01
Active | P3140 Chevron Kaybob 551S Contract Change | 24-Fox Creek |  | Contract | Salvage/Decommission | 1 | No | No | 2025-08-20 15:17 | 0 | 0 | 2026-05-12
Active | P3141 Opal Data Load | 24-Fox Creek |  | BTF | Data Load | 1 | No | No | 2025-08-28 16:30 | 0 | 0 | 2027-02-11
Active | P3143 Judy Creek 638S Contract Change | 26-Swan Hills |  | Contract | Distribution Load | 3 | No | No | 2025-09-08 08:51 | 0 | -1.464 | 2026-07-01
Active | P3144 Westlock-WST1 Modification | 27-Athabasca/Lac La Biche |  | BTF | Equipment Change | 2 | No | No | 2025-09-04 10:58 | 0 | 0 | 2026-06-01
Active | P3145 Mobil Oil Carson Creek 887S Contract Change | 26-Swan Hills |  | Contract | Distribution Load | 3 | No | No | 2025-09-08 10:00 | 0 | -1.9 | 2026-08-01
Active | P3147 Banff Area Distribution Load | 44-Seebe |  | Connection | Distribution Load | 1 | No | No | 2025-09-24 14:29 | 0 | 0 | 2027-12-01
Active | P3148 Updike 886S DER Gas | 20-Grande Prairie |  | BTF | Gas | 1 | No | No | 2025-09-24 09:27 | 2 | 0 | 2027-10-01
Active | P3149 Imperial Oil Carson Lake 996S Contract Change | 26-Swan Hills |  | Contract | Distribution Load | 3 | No | No | 2025-10-22 10:20 | 0 | -0.4 | 2026-08-01
Active | P3157 Clearwater Technology Park Data Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2025-11-04 | 0 | 74.9 | 2027-10-01
Active | P3160 Kearl Oil Sands Mine Cogen | 25-Fort McMurray |  | BTF | Cogen | 1 | No | No | 2025-11-20 14:43 | 0 | 0 | 2029-06-29
Active | P3163 South Edmonton Area Load Reliability | 60-Edmonton |  | Connection | Distribution Load | 1 | No | No | 2025-12-11 10:00 | 0 | 51 | 2030-07-01
Active | P3167 West Edmonton Area Load Reliability | 60-Edmonton |  | Connection | Distribution Load | 1 | No | No | 2025-12-23 10:00 | 0 | 30.58 | 2031-06-01
Active | P3174 Sovereign Cloud Data Load | 60-Edmonton |  | Connection | Data Load | 1 | No | No | 2026-01-19 12:42 | 0 | 74.9 | 2029-12-31
Active | P3180 Flatbush 500S Contract Change | 27-Athabasca/Lac La Biche |  | Contract | Distribution Load | 1 | No | No | 2026-03-09 14:40 | 0 | 2.181 | 2026-05-25
ISD Under Review | P2292 FortisAlberta Killarney Lake 267S DER Solar | 37-Provost |  | BTF | Solar | 5 | Yes | Yes | 2019-10-28 10:00 | 18 | 0 | Under Review
ISD Under Review | P2658 Rimbey 297S DER Gas | 35-Red Deer |  | BTF | Gas | 6 | Yes | Yes | 2023-01-04 15:25 | 15.5 | 0 | Under Review
ISD Under Review | P2926 Beacon Foothills A.I. Hub Load | 46-High River |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:34 | 0 | 400 | Under Review
ISD Under Review | P2927 Beacon Harry Smith A.I. Hub Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:21 | 0 | 400 | Under Review
ISD Under Review | P2928 Beacon Langdon A.I. Hub Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2024-04-08 16:09 | 0 | 400 | Under Review
ISD Under Review | P2934 Beacon Heartland A.I. Hub Load | 33-Fort Saskatchewan |  | Connection | Data Load | 2 | No | No | 2024-05-10 16:22 | 0 | 400 | Under Review
ISD Under Review | P2935 Beacon Saunders Lake A.I. Hub Load | 60-Edmonton |  | Connection | Data Load | 2 | No | No | 2024-05-10 16:16 | 0 | 400 | Under Review
ISD Under Review | P2942 Genesee Data Center 1 MPC Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-06-26 08:12 | 0 | 1000 | Under Review
ISD Under Review | P2946 Genesee Data Center 2 MPC Load | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2024-08-08 11:42 | 0 | 500 | Under Review
ISD Under Review | P2956 High River 65S Gas DER | 46-High River |  | BTF | Gas | 2 | No | No | 2024-09-18 13:50 | 1.5 | 0 | Under Review
ISD Under Review | P2958 Hydrogen Canada MPC Load | 33-Fort Saskatchewan |  | Connection | Industrial Load | 2 | No | No | 2024-09-27 14:16 | 0 | 320 | Under Review
ISD Under Review | P2970 Beacon Langdon A.I. Hub 2 Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-10-04 14:35 | 0 | 1400 | Under Review
ISD Under Review | P2979 Alsike Energy Park MPC Gas | 30-Drayton Valley |  | Connection | Gas | 2 | No | No | 2024-10-11 | 178 | 3 | Under Review
ISD Under Review | P2980 Lone Pine Energy Park MPC Gas | 57-Airdrie |  | Connection | Gas | 2 | No | No | 2024-10-11 | 178 | 3 | Under Review
ISD Under Review | P2981 Myers Energy Park MPC Gas | 35-Red Deer |  | Connection | Gas | 2 | No | No | 2024-10-11 | 178 | 3 | Under Review
ISD Under Review | P2982 Gilby Power Park MPC Gas | 35-Red Deer |  | Connection | Gas | 2 | No | No | 2024-10-11 | 0 | 3 | Under Review | 178 | 0 | Under Review
ISD Under Review | P3066 Leedale Data Load | 38-Caroline |  | Connection | Data Load | 2 | No | No | 2024-11-11 13:42 | 0 | 1864 | Under Review
ISD Under Review | P3074 Genesee 330P Modification | 40-Wabamun |  | BTF | Gas | 2 | No | No | 2024-12-17 10:34 | 200 | 0 | Under Review
ISD Under Review | P3077 Calgary Enterprise A.I. Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-12-19 14:01 | 0 | 200 | Under Review
ISD Under Review | P3078 Calgary A.I. Centre Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2024-12-19 14:16 | 0 | 150 | Under Review
ISD Under Review | P3085 Dow Fort Sask. Load Phase 2 | 33-Fort Saskatchewan |  | Contract | Industrial Load | 2 | No | No | 2025-02-06 11:24 | 0 | 95 | Under Review
ISD Under Review | P3095 Keephills Data Centre Phase 2 | 40-Wabamun |  | BTF | Data Load | 2 | No | No | 2025-02-13 11:19 | 0 | 466 | Under Review
ISD Under Review | P3101 Carstairs Technology Park MPC Load | 39-Didsbury |  | Connection | Data Load | 2 | No | No | 2025-03-17 12:53 | 0 | 950 | Under Review
ISD Under Review | P3102 Goldfinch Technology Park MPC Load | 45-Strathmore/Blackie |  | Connection | Data Load | 2 | No | No | 2025-03-19 13:02 | 0 | 950 | Under Review
ISD Under Review | P3106 Alberta South A.I. Load | 54-Lethbridge |  | Connection | Data Load | 1 | No | No | 2025-02-26 08:41 | 0 | 400 | Under Review
ISD Under Review | P3107 Chestermere Enterprise A.I. Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2025-02-26 08:53 | 0 | 400 | Under Review
ISD Under Review | P3108 Wild Rose Power Hub Load | 06-Calgary |  | Connection | Data Load | 2 | No | No | 2025-04-04 09:46 | 0 | 1300 | Under Review
ISD Under Review | P3109 Newell Data Center MPC Load | 47-Brooks |  | Connection | Data Load | 2 | No | No | 2025-04-17 08:58 | 0 | 1200 | Under Review
ISD Under Review | P3110 Mihta Askiy Data Load | 19-Peace River |  | Connection | Data Load | 1 | No | No | 2025-04-17 11:28 | 0 | 300 | Under Review
ISD Under Review | P3112 North Calgary Three Data Centre MPC Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2025-04-22 14:18 | 0 | 450 | Under Review
ISD Under Review | P3114 Banshee Data Load | 29-Hinton/Edson |  | Connection | Data Load | 2 | No | No | 2025-05-21 12:30 | 0 | 150 | Under Review
ISD Under Review | P3116 Rocky View Data Center MPC Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2025-05-21 12:55 | 0 | 800 | Under Review
ISD Under Review | P3131 Sollair 1055S Solar Modification | 57-Airdrie |  | BTF | Solar | 1 | No | No | 2025-07-24 15:27 | 4.99 | 0 | Under Review
ISD Under Review | P3136 Sundance Data Load | 40-Wabamun |  | Connection | Data Load | 1 | No | No | 2025-08-07 14:49 | 0 | 401 | Under Review
ISD Under Review | P3137 Sheerness Data Load | 43-Sheerness |  | Connection | Data Load | 1 | No | No | 2025-08-07 15:02 | 0 | 800 | Under Review
ISD Under Review | P3151 GLDC Load Phase 1.2 | 33-Fort Saskatchewan |  | Connection | Data Load | 2 | No | No | 2024-05-14 15:33 | 0 | 830 | Under Review
ISD Under Review | P3152 Keephills Data Centre Phase 1.2 | 40-Wabamun |  | Connection | Data Load | 2 | No | No | 2025-01-28 09:30 | 0 | 165 | Under Review
ISD Under Review | P3153 Alsike Energy Park MPC Data Load | 30-Drayton Valley |  | Connection | Data Load | 2 | No | No | 2024-10-11 | 0 | 280 | Under Review
ISD Under Review | P3154 Lone Pine Energy Park MPC Data Load | 57-Airdrie |  | Connection | Data Load | 2 | No | No | 2024-10-11 | 0 | 280 | Under Review
ISD Under Review | P3155 Myers Energy Park MPC Data Load | 35-Red Deer |  | Connection | Data Load | 2 | No | No | 2024-10-11 | 0 | 280 | Under Review
ISD Under Review | P3156 High Plains East BT Data Load | 06-Calgary |  | Connection | Data Load | 1 | No | No | 2025-11-05 | 0 | 300 | Under Review
Recently Cancelled | P2300 Enterprise MPC Solar | 49-Stavely |  | Connection | Solar | 5 | Yes | Yes | 2019-11-21 10:00 | 0 | 0 | Cancelled | 65 | 1 | Cancelled
Recently Cancelled | P2347 Forty Mile Granlea Solar Phase 2 | 04-Medicine Hat |  | BTF | Solar | 5 | Yes | Yes | 2020-04-24 10:00 | 220 | 0.5 | Cancelled
Recently Cancelled | P2447 Luna MPC Solar Battery | 47-Brooks |  | Connection | Solar + Storage | 4 | Yes | No | 2021-05-13 10:00 | 465 | 1.5 | Cancelled
Recently Cancelled | P2490 Tempest MPC Wind | 54-Lethbridge |  | Connection | Wind | 5 | Yes | Yes | 2021-09-20 10:00 | 100 | 1 | Cancelled
Recently Cancelled | P2538 EDTI Inland Cement Load and Reliability | 60-Edmonton |  | Connection | Distribution Load | 2 | No | No | 2022-02-01 10:00 | 0 | 7.5 | Cancelled
Recently Cancelled | P2669 Mannix Solar Battery | 36-Alliance/Battle River |  | Connection | Solar + Storage | 3 | Yes | No | 2023-02-10 13:46 | 59 | 0 | Cancelled | 0 | 34 | Cancelled
Recently Cancelled | P2776 Legal Solar Battery | 27-Athabasca/Lac La Biche | EDM-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 20:02 | 0 | 0.5 | Cancelled | 125 | 0 | Cancelled
Recently Cancelled | P2777 St. Albert Villeneuve Solar | 60-Edmonton | EDM-01 | Connection | Solar | 3 | Yes | No | 2023-08-17 07:46 | 0 | 0.8 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2778 Rich Valley Solar Battery | 40-Wabamun | EDM-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-17 08:04 | 0 | 0.8 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2781 Lamoureux Ruby Solar Battery | 33-Fort Saskatchewan | NE-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-18 08:29 | 0 | 0.8 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2804 East Nevis Solar Energy Centre | 42-Hanna | CNTL-01 | Connection | Solar | 3 | Yes | No | 2023-08-25 14:10 | 0 | 2 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P2816 Sol Aurora Solar Battery | 33-Fort Saskatchewan | NE-01 | Connection | Solar + Storage | 3 | Yes | No | 2023-08-29 14:16 | 0 | 50 | Cancelled | 50 | 0 | Cancelled
Recently Cancelled | P2839 Alba Lake Wind | 37-Provost | CNTL-01 | Connection | Wind | 3 | Yes | No | 2023-08-30 15:43 | 0 | 2 | Cancelled | 110 | 0 | Cancelled
Recently Cancelled | P2929 RealPart Calgary Area Solar | 06-Calgary | SW-CAL-02 | Connection | Solar | 2 | No | No | 2024-04-16 12:06 | 0 | 0.3 | Cancelled | 150 | 0 | Cancelled
Recently Cancelled | P2939 Ervick 542S DER Solar Battery | 31-Wetaskiwin | EDM-02 | BTF | DC-Coupled Solar-BESS + Storage | 2 | No | No | 2024-05-30 | 0 | 0 | Cancelled | 20.5 | 0 | Cancelled
Recently Cancelled | P2954 Blue Heron MPC Solar Battery | 36-Alliance/Battle River | CNTL-02 | Connection | Solar + Storage | 2 | No | No | 2024-09-06 | 0 | 1 | Cancelled | 200 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P2974 Kâpîsimotêt Solar Battery | 31-Wetaskiwin | EDM-02 | BTF | Solar + Storage | 2 | No | No | 2024-10-09 09:52 | 32 | 0 | Cancelled | 0 | 30.3 | Cancelled
Recently Cancelled | P2976 Brooks Battery | 47-Brooks | SE-02 | Connection | Battery Storage | 2 | No | No | 2024-10-10 15:10 | 0 | 10 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2977 Prosperity MPC Wind | 45-Strathmore/Blackie | CNTL-02 | Connection | Wind | 2 | No | No | 2024-10-10 15:27 | 0 | 2 | Cancelled | 465 | 0 | Cancelled
Recently Cancelled | P2984 Nighthawk Solar | 54-Lethbridge | SE-02 | Connection | Solar | 2 | No | No | 2024-10-11 | 0 | 0.35 | Cancelled | 155 | 0 | Cancelled
Recently Cancelled | P2990 Warbler Battery | 35-Red Deer | CNTL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2991 Merganser Battery | 38-Caroline | CNTL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2992 Vereo Battery | 53-Fort Macleod | SW-CAL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2993 Kinglet Battery | 48-Empress | SE-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2994 Siskin Battery | 35-Red Deer | CNTL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2995 Cowbird Battery | 47-Brooks | SE-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P2996 Osprey Battery | 32-Wainwright | CNTL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-16 | 0 | 100 | Cancelled | 100 | 0 | Cancelled
Recently Cancelled | P3000 Artemis Luna 2 MPC Solar Battery | 47-Brooks | SE-02 | Connection | Solar + Storage | 2 | No | No | 2024-10-17 21:41 | 0 | 1.5 | Cancelled | 466 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3004 Captus MPC Cogen | 55-Glenwood | SW-CAL-02 | Connection | Cogen | 2 | No | No | 2024-10-17 21:59 | 0 | 10.4 | Cancelled | 150 | 0 | Cancelled
Recently Cancelled | P3005 Stettler 769S DER Solar Battery | 42-Hanna | CNTL-02 | BTF | Solar + Storage | 2 | No | No | 2024-10-17 22:06 | 0 | 0 | Cancelled | 23.1 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3007 Amelia 108S DER Waste To Energy | 33-Fort Saskatchewan | NE-02 | BTF | Biomass | 2 | No | No | 2024-10-17 08:51 | 0 | 0 | Cancelled | 7.7 | 0 | Cancelled
Recently Cancelled | P3010 Lone Pine MPC Wind | 42-Hanna | CNTL-02 | Connection | Wind | 2 | No | No | 2024-10-18 | 0 | 2 | Cancelled | 466 | 0 | Cancelled
Recently Cancelled | P3011 Togo Lake Solar Battery | 42-Hanna | CNTL-02 | Connection | Solar + Storage | 2 | No | No | 2024-10-18 | 0 | 2 | Cancelled | 400 | 0 | Cancelled | 0 | 198 | Cancelled
Recently Cancelled | P3012 Kainai EDF Pe-na-koyim Wind Battery | 54-Lethbridge | SE-02 | Connection | Wind + Storage | 2 | No | No | 2024-10-18 | 0 | 5.82 | Cancelled | 300 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3022 Pinnacle Battery | 35-Red Deer | CNTL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-18 11:32 | 0 | 2 | Cancelled | 300 | 0 | Cancelled
Recently Cancelled | P3023 Pachamama Battery | 31-Wetaskiwin | EDM-02 | Connection | Battery Storage | 2 | No | No | 2024-10-18 11:39 | 0 | 2 | Cancelled | 466 | 0 | Cancelled
Recently Cancelled | P3030 Blackfalds 198S DER Solar | 35-Red Deer | CNTL-02 | BTF | Solar | 2 | No | No | 2024-10-18 13:24 | 25.909 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3035 Aira Battery | 04-Medicine Hat |  | BTF | Battery Storage | 2 | No | No | 2024-11-18 13:48 | 0 | 0 | Cancelled
Recently Cancelled | P3037 Fort Saskatchewan Peaking Power Plant 1 DER Gas | 33-Fort Saskatchewan | NE-02 | BTF | Gas | 2 | No | No | 2024-10-18 | 0 | 0 | Cancelled | 10.34 | 0 | Cancelled
Recently Cancelled | P3038 Fort Saskatchewan Peaking Power Plant 2 DER Gas | 33-Fort Saskatchewan | NE-02 | BTF | Gas | 2 | No | No | 2024-10-18 14:37 | 0 | 0 | Cancelled | 9.14 | 0 | Cancelled
Recently Cancelled | P3042 Eagle Butte Wind | 04-Medicine Hat | SE-02 | Connection | Wind | 2 | No | No | 2024-10-18 09:48 | 0 | 1 | Cancelled | 200 | 0 | Cancelled
Recently Cancelled | P3043 Buffalo Atlee Battery | 48-Empress | SE-02 | Connection | Battery Storage | 2 | No | No | 2024-10-18 10:04 | 0 | 0.5 | Cancelled | 150 | 150 | Cancelled
Recently Cancelled | P3047 Lowland Heights MPC Battery | 53-Fort Macleod | SW-CAL-02 | Connection | Battery Storage | 2 | No | No | 2024-10-18 13:29 | 0 | 0.5 | Cancelled | 175 | 175 | Cancelled
Recently Cancelled | P3049 Carseland DER Solar | 45-Strathmore/Blackie | SW-CAL-02 | BTF | Solar | 2 | No | No | 2024-10-18 13:59 | 0 | 0 | Cancelled | 20.8 | 0 | Cancelled
Recently Cancelled | P3050 Pembina Redwater Battery | 33-Fort Saskatchewan | NE-02 | BTF | Battery Storage | 2 | No | No | 2024-10-18 14:09 | 23.1 | 0 | Cancelled
Recently Cancelled | P3052 Warner 344S DER Solar | 55-Glenwood | SW-CAL-02 | BTF | Solar | 2 | No | No | 2024-10-18 20:06 | 0 | 0 | Cancelled | 14 | 0 | Cancelled
Recently Cancelled | P3057 Sedgewick 137S DER Solar Battery | 32-Wainwright | CNTL-02 | Connection | Solar + Storage | 2 | No | No | 2024-10-18 09:07 | 19.8 | 0 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3061 Buffalo Trail South MPC Wind Battery A | 04-Medicine Hat | SE-02 | Connection | Wind + Storage | 2 | No | No | 2024-10-18 13:08 | 0 | 2 | Cancelled | 266 | 0 | Cancelled
Recently Cancelled | P3063 Duchess Solar | 47-Brooks | SE-02 | Connection | Solar | 2 | No | No | 2024-10-18 13:21 | 0 | 0.11 | Cancelled | 90 | 0 | Cancelled
Recently Cancelled | P3067 Indus Solar Battery | 06-Calgary | SW-CAL-02 | Connection | Solar + Storage | 2 | No | No | 2024-10-18 09:47 | 0 | 2 | Cancelled | 230 | 0 | Cancelled
Recently Cancelled | P3068 Alderson MPC Wind Solar | 04-Medicine Hat | SE-02 | Connection | Wind + Solar | 2 | No | No | 2024-10-18 09:59 | 0 | 1 | Cancelled | 450 | 0 | Cancelled
Recently Cancelled | P3146 Hanna MPC Data Load | 42-Hanna |  | Connection | Data Load | 1 | No | No | 2025-09-23 20:17 | 0 | 800 | Cancelled | 0 | 0 | Cancelled
Recently Cancelled | P3164 Fort McMurray MPC Data Load | 25-Fort McMurray |  | Connection | Data Load | 1 | No | No | 2025-12-18 | 0 | 400 | Cancelled | 0 | 400 | Cancelled
Recently Energized | P2537 Fortis Duchess 339S DER Solar | 47-Brooks |  | BTF | Solar | 6 | Yes | Yes | 2022-01-25 10:00 | 0 | 0 | 2026-01-15 | 18.6 | 0 | 2026-02-10
Recently Energized | P2674 Foster Creek Modification | 28-Cold Lake |  | BTF | Equipment Change | 6 | Yes | Yes | 2023-02-15 12:02 | 0 | 0 | 2026-03-02
Recently Energized | P2676 Kaybob South 3 Cogen | 24-Fox Creek |  | Connection | Cogen | 6 | Yes | Yes | 2023-02-22 09:38 | 0 | 0 | 2026-01-15 | 25 | 0 | 2026-01-15
Recently Energized | P3071 Michichi Creek 802S Contract Change | 42-Hanna |  | Contract | Distribution Load | 6 | Yes | Yes | 2024-12-12 13:49 | 0 | 42 | 2026-02-12
Recently Energized | P3080 Jumping Pound 271S Contract Change | 44-Seebe |  | Contract | Distribution Load | 6 | Yes | Yes | 2025-01-16 14:34 | 0 | -1.8 | 2026-02-01
Recently Energized | P3111 Medicine Hat Cogen | 04-Medicine Hat |  | BTF | Cogen | 6 | Yes | Yes | 2025-04-22 13:56 | 0 | 0 | 2026-02-09
Recently Energized | P3162 ATCO Fieldgate 824S Contract Change | 26-Swan Hills |  | Contract | Distribution Load | 6 | Yes | Yes | 2025-12-12 10:00 | 0 | -2.124 | 2026-04-01
Recently Energized | P3171 ATCO Judy Creek 785S Contract Change | 26-Swan Hills |  | Contract | Industrial Load | 6 | Yes | Yes | 2026-01-05 14:37 | 0 | -1.8 | 2026-04-01