# Contingency Reserve for Recovery from a Balancing Contingency Event

# BAL-002-AB-3

# Standard Effective Date: July 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X1 |  |  |  |  |  |  |  |  |  |
| R2 |  | X1 |  |  |  |  |  |  |  |  |  |
| R3 |  | X1 |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The ISO, only in periods during which the ISO is not in active status under a reserve sharing group agreement or governing rules for a reserve sharing group.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO, when it is experiencing a reportable balancing contingency event must:

R1.1 within the contingency event recovery period, demonstrate recovery by returning its reporting area control error to at least the recovery value of:

(a) zero (if its pre-reporting contingency event area control error value was positive or equal to zero); or

(b) its pre-reporting contingency event area control error value (if its pre-reporting contingency event area control error value was negative);

however, any balancing contingency event that occurs during the contingency event recovery period must reduce the required recovery: (i) beginning at the time of, and (ii) by the magnitude of, such individual balancing contingency event;

R1.2 document all reportable balancing contingency events using the form the NERC designates; and

R1.3 deploy contingency reserve, within system constraints, to respond to all reportable balancing contingency events; however, the ISO is not subject to compliance with requirement R1.1 if the ISO:

R1.3.1 (a) is experiencing an ISO declared energy emergency alert level;

(b) is using its contingency reserve to mitigate an operating emergency in accordance with its emergency operating plan;

(c) has depleted its contingency reserve to a level below its most severe single contingency; and

(d) intentionally left blank; or

R1.3.2 (a) experiences multiple contingencies where the combined MW loss exceeds its most severe single contingency and that are defined as a single balancing contingency event; or

(b) experiences multiple balancing contingency events within the sum of the time periods defined by the contingency event recovery period and contingency reserve restoration period whose combined magnitude exceeds the ISO's most severe single contingency.

M1.	M1.1 Evidence of demonstrating the recovery of the reporting area control error as required in requirement R1.1 exists. Evidence may include documented reportable balancing contingency events using the designated form, or other equivalent evidence.

M1.2 Evidence of documenting all reportable balancing contingency events as required by requirement R1.2 exists. Evidence may include documented reportable balancing contingency events using the designated NERC form, or other equivalent evidence.

M1.3 Evidence of deploying contingency reserve, within system constraints, to respond to all reportable balancing contingency events, as required in requirement R1.3 exists. Evidence may include directive logs, phone calls, designated forms, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO experience a reportable balancing contingency event during the audit period, during which the ISO was not in active status under a reserve sharing group agreement or governing rules for a reserve sharing group? ☐ Yes ☐ No If Yes, proceed to the Compliance Narrative section below. If No, explain how the ISO made this determination.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-002-AB-3, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1.1) Review the NERC designated form for each reportable balancing contingency event to validate the ISO recovered within the contingency event recovery period. If the ISO did not recover, verify that the exception was appropriate per requirement R1.3. |
| --- | --- |
|  | (R1.2) Review the list of reportable balancing contingency events and verify each is documented on the NERC designated form. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must develop, review, and maintain annually, and implement an operating process as part of its operating plan to determine its most severe single contingency and make preparations to have contingency reserve equal to, or greater than the ISO’s most severe single contingency available for maintaining system reliability.

M2.	Evidence of developing, reviewing, maintaining and implementing an operating process to determine the most severe single contingency and to have contingency reserves as required in requirement R2 exists. Evidence may include a dated operating process with a revision history, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-002-AB-3, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO developed an operating process as part of its operating plan to determine its most severe single contingency that was: |
| --- | --- |
|  | (R2) Reviewed and; |
|  | (R2) Maintained annually. |
|  | (R2) Verify the ISO determined its most severe single contingency through implementation of the operating process. |
|  | (R2) Verify the ISO made preparations to have contingency reserve equal to, or greater than the ISO’s most severe single contingency available for maintaining system reliability. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO, following a reportable balancing contingency event, must restore its contingency reserve to at least its most severe single contingency, before the end of the contingency reserve restoration period, but any balancing contingency event that occurs before the end of a contingency reserve restoration period resets the beginning of the contingency event recovery period.

M3.	Evidence of restoring contingency reserve as required in requirement R3 exists. Evidence may include historical data, computer logs, operator logs, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO experience a reportable balancing contingency event during which the ISO was not in active status under a reserve sharing group agreement or governing rules for a reserve sharing group? ☐ Yes ☐ No If No, provide a statement including how it was determined no such event occurred. If Yes, provide evidence that the ISO’s contingency reserves were restored within the contingency reserve restoration period for each event. If the recovery period was extended because a balancing contingency event occurred before the end of the restoration period, describe and provide evidence for resetting of the beginning of the recovery period.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-002-AB-3, R3

(This section to be completed by the Compliance Monitoring Entity):

| (R3) Verify the ISO, following a reportable balancing contingency event: |  |
| --- | --- |
|  | (R3) Restored its contingency reserve to at least its most severe single contingency, |
|  | (R3) Before the end of the contingency reserve restoration period. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |