# Automatic Time Error Correction

# BAL-004-WECC-AB-2

# Standard Effective Date: December 19, 2016

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |
| R7 |  | X |  |  |  |  |  |  |  |  |  |
| R8 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |
| R7 |  |  |  |
| R8 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Following the conclusion of each month, the ISO must verify that the absolute value of its accumulated primary inadvertent interchange for both the monthly on peak period and the monthly off peak period are each individually less than or equal to 150% of the previous calendar year’s peak demand, where peak demand is the highest hourly integrated net energy for load.

M1.	Evidence of verifying the absolute value of the ISO’s accumulated primary inadvertent interchange as required in requirement R1 exists. Evidence may include, but is not limited to, data, screen shots from the WECC Interchange Tool, production of data from any other databases, spreadsheets, displays, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify that the ISO, following the conclusion of each month: |
| --- | --- |
|  | (R1) Verified that the absolute value of its accumulated primary inadvertent interchange for the monthly on peak period is less than or equal to 150% of the previous calendar year’s peak demand, where peak demand is the highest hourly integrated net energy for load. |
|  | (R1) Verified that the absolute value of its accumulated primary inadvertent interchange for the monthly off peak period is less than or equal to 150% of the previous calendar year’s peak demand, where peak demand is the highest hourly integrated net energy for load. |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must, within ninety (90) days of discovery of an error in the calculation of hourly primary inadvertent interchange, recalculate the value of hourly primary inadvertent interchange and adjust the accumulated primary inadvertent interchange from the time of the error.

M2.	Evidence of recalculating the value of hourly primary inadvertent interchange and adjusting the accumulated primary inadvertent interchange from the time of the error as required in requirement R2 exists. Evidence may include, but is not limited to, data, screen shots from the WECC Interchange Tool, production data from any other databases, spreadsheets, displays, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO discover an error in the calculation of hourly primary inadvertent interchange? ☐ Yes ☐ No If Yes, complete the remaining sections of this RSAW for requirement R2. If No, how was this determination ascertained to demonstrate that the requirement is not applicable.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Did the ISO discover an error in the calculation of hourly primary inadvertent interchange? |
| --- | --- |
|  | (R2) If so, verify the ISO, within ninety (90) days of discovery of an error in the calculation of hourly primary inadvertent interchange, recalculated the value of hourly primary inadvertent interchange and adjusted the accumulated primary inadvertent interchange from the time of the error. |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must, while synchronously connected to the western interconnection, keep its automatic time error correction in service, with an allowable exception period of less than or equal to an accumulated twenty-four (24) hours per calendar quarter for automatic time error correction to be out of service.

R3.1 Notwithstanding requirement R3, the ISO may disable automatic time error correction if there is a reliability concern on the interconnected electric system while executing an automatic time error correction, and this time will not be included as part of the allowable exception period.

M3.	Evidence of keeping the automatic time error correction in service as required in requirement R3 exists. Evidence may include, but is not limited to, dated archived files, historical data, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the ISO, while synchronously connected to the western interconnection, kept its automatic time error correction in service, with an allowable exception period of less than or equal to an accumulated twenty-four (24) hours per calendar quarter (excluding time periods when the automatic time error correction was disabled for reliability reasons) for automatic time error correction to be out of service. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must compute the following by fifty (50) minutes after each hour:

R4.1 the hourly primary inadvertent interchange;

R4.2 the accumulated primary inadvertent interchange; and

R4.3 the automatic time error correction term.

M4.	Evidence of computing the hourly primary inadvertent interchange, accumulated primary inadvertent interchange and automatic time error correction as required in requirement R4 exists. Evidence may include, but is not limited to, data, screen shots from the WECC Interchange Tool, data from any other databases, spreadsheets, displays, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the ISO computed the following by fifty (50) minutes after each hour: |
| --- | --- |
|  | (R4.1) the hourly primary inadvertent interchange; |
|  | (R4.2) the accumulated primary inadvertent interchange; |
|  | (R4.3) the automatic time error correction term. |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must be able to change its automatic generation control operating mode between flat frequency, flat tie line, tie line bias, and tie line bias plus time error control, to correspond to current operating conditions.

M5.	Evidence of having the ability to change the automatic generation control operating mode as required in requirement R5 exists. Evidence may include, but is not limited to, snapshots of the operating interface provided in the energy management system for changing its automatic generation control operating mode, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Verify the ISO is able to change its automatic generation control between the following operating modes: |
| --- | --- |
|  | (R5) flat frequency |
|  | (R5) flat tie line |
|  | (R5) tie line bias |
|  | (R5) tie line bias plus time error control |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must recalculate the hourly primary inadvertent interchange and accumulated primary inadvertent interchange for the on peak and off peak periods whenever adjustments are made to hourly inadvertent interchange or the hourly change in system time error, as distributed by the Interconnection time monitor.

M6.	Evidence of recalculating hourly primary inadvertent interchange and accumulated primary inadvertent interchange as required in requirement R6 exists. Evidence may include, but is not limited to, data, screen shots from the WECC Interchange Tool, data from any other databases, spreadsheets, displays, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Did the ISO make adjustments to hourly inadvertent interchange or the hourly change in system time error, as distributed by the Interconnection time monitor? |
| --- | --- |
|  | (R6) If yes, verify the ISO recalculated the hourly primary inadvertent interchange and accumulated primary inadvertent interchange for the on peak and off peak periods. |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

## R7 Supporting Evidence and Documentation

R7.	The ISO must make the same adjustment to the accumulated primary inadvertent interchange as it did for any month-end meter reading adjustments to inadvertent interchange.

M7.	Evidence of making the adjustments to accumulated primary inadvertent interchange as required in requirement R7 exists. Evidence may include, but is not limited to, data, screen shots of the WECC Interchange Tool, data from any other databases, spreadsheets, displays, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R7

(This section to be completed by the Compliance Monitoring Entity):

|  | (R7) Verify the ISO made the same adjustment to the accumulated primary inadvertent interchange as it did for any month-end meter reading adjustments to inadvertent interchange. |
| --- | --- |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

## R8 Supporting Evidence and Documentation

R8.	The ISO must payback inadvertent interchange using automatic time error correction rather than bilateral and unilateral payback.

M8.	Evidence of paying back the inadvertent interchange as required in requirement R8 exists. Evidence may include, but is not limited to, historical inadvertent interchange data, data from the WECC Interchange Tool, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-004-WECC-AB-2, R8

(This section to be completed by the Compliance Monitoring Entity):

|  | (R8) Verify the ISO used automatic time error correction to payback inadvertent interchange; and, did not use bilateral and unilateral payback. |
| --- | --- |
| Note to Auditor: In BAL-004 -WECC-4 adjustments included addition of the term “Interchange Software” to replace “WECC Interchange Tool” usage. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |