# Cyber Security – BES Cyber System Categorization

# CIP-002-AB-5.1

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X | X | X | X | X | X | X2 |  |  |
| R2 |  | X | X | X | X | X | X | X | X2 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of entities marked in the table above will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by one or more of the entities in subsection (a) above, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started; - Responsible Entities marked in the table above other than a legal owner of an electric distribution system are responsible for: - each transmission facility that is part of the bulk electric system except each transmission facility that: - is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource; - radially connects only to load; - radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or - radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; - a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use; - a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex; - within a power plant which: - is not part of an aggregated generating facility; - is directly connected to the bulk electric system; and - has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; - an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; and - control centres and backup control centres. - The following are exempt from this reliability standard: - [Intentionally left blank.] - cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. 2 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the legal owner of an electric distribution system, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall implement a process that considers each of the following assets for purposes of parts 1.1 through 1.3:

- control centres and backup control centres;

- transmission stations and substations;

- generating units and aggregated generating facilities;

- systems and facilities critical to system restoration, including contracted blackstart resources and cranking paths and initial switching requirements;

- remedial action schemes that support the reliable operation of the bulk electric system; and

- for the legal owner of an electric distribution system or legal owner of a transmission facility, protection systems specified in Applicability footnote 1 subsection (a) above (corresponding to subsection 4.2.1 of standard).

1.1. Identify each of the high impact BES cyber systems according to Attachment 1, Section 1, if any, at each asset;

1.2. Identify each of the medium impact BES cyber systems according to Attachment 1, Section 2, if any, at each asset; and

1.3. Identify each asset that contains a low impact BES cyber system according to Attachment 1, Section 3, if any (a discrete list of low impact BES cyber systems is not required).

M1.	Acceptable evidence includes, but is not limited to, dated electronic or physical lists required by requirement R1, and Parts 1.1 and 1.2.

### Entity Response (Required):

Question: Do you share compliance responsibility for this requirement with another Responsible Entity? ☐ Yes ☐ No For example, is any BES cyber system located at a shared facility? If “Yes,” list the following for each asset for which compliance responsibility is shared: 1. Asset name or designation. 2. Formal agreement or other document describing the shared compliance responsibility, if any. 3. Other information regarding the shared compliance responsibility which may be useful to the audit team in determining the appropriate audit scope and approach for the asset. Note: A separate spreadsheet or other document may be used to provide all or part of this information. If so, provide the document reference below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-002-AB-5.1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the Responsible Entity has a process to identify each high impact BES cyber system, each medium impact BES cyber system, and each asset that contains a low impact BES cyber system. |
| --- | --- |
|  | (R1) Verify the above process considers all of the following: - control centres and backup control centres; - transmission stations and substations; - generating units and aggregated generating facilities; - systems and facilities critical to system restoration, including contracted blackstart resources and cranking paths and initial switching requirements; - remedial action schemes that support the reliable operation of the bulk electric system; and - for the legal owner of an electric distribution system or legal owner of a transmission facility, protection systems specified in Applicability footnote 1 subsection (a) above (corresponding to subsection 4.2.1 of standard). |
|  | (Part 1.1) Verify the Responsible Entity has identified each of the high impact BES cyber system according to Attachment 1, Section 1, if any, at each asset. |
|  | (Part 1.2) Verify the Responsible Entity has identified each of the medium impact BES cyber system according to Attachment 1, Section 2, if any, at each asset. |
|  | (Part 1.3) Verify the Responsible Entity has identified each asset that contains a low impact BES cyber system according to Attachment 1, Section 3, if any. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The Responsible Entity shall:

2.1. review the identifications in requirement R1 and its parts (and update them if there are changes identified) at least once every 15 months, even if it has no identified items in requirement R1, and

2.2. have its CIP senior manager or delegate approve the identifications required by requirement R1 at least once every 15 months, even if it has no identified items in requirement R1.

M2.	Acceptable evidence includes, but is not limited to, electronic or physical dated records to demonstrate that the Responsible Entity has reviewed and updated, where necessary, the identifications required in requirement R1 and its parts, and has had its CIP senior manager or delegate approve the identifications required in requirement R1 and its parts at least once every 15 months, even if it has none identified in requirement R1 and its parts, as required by requirement R2.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-002-AB-5.1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the reviews of the identifications in requirement R1 have occurred at least once every 15 months. |
| --- | --- |
|  | (Part 2.2) Verify the approvals by the CIP senior manager or delegate of the identifications in requirement R1 have occurred at least once every 15 months. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |