# Cyber Security – Personnel & Training

# CIP-004-AB-5.1

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X | X | X | X | X | X | X2 |  |  |
| R2 |  | X | X | X | X | X | X | X | X2 |  |  |
| R3 |  | X | X | X | X | X | X | X | X2 |  |  |
| R4 |  | X | X | X | X | X | X | X | X2 |  |  |
| R5 |  | X | X | X | X | X | X | X | X2 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of entities marked in the table above will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by one or more of the entities in subsection (a) above, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started; - Responsible Entities marked in the table above other than a legal owner of an electric distribution system are responsible for: - each transmission facility that is part of the bulk electric system except each transmission facility that: - is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource; - radially connects only to load; - radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or - radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; - a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use; - a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex; - within a power plant which: - is not part of an aggregated generating facility; - is directly connected to the bulk electric system; and - has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; - an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; and - control centres and backup control centres. - The following are exempt from this reliability standard: - [Intentionally left blank.] - cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes. 2 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the legal owner of an electric distribution system, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| Part 2.2 |  |  |  |
| Part 2.3 |  |  |  |
| R3 |  |  |  |
| Part 3.1 |  |  |  |
| Part 3.2 |  |  |  |
| Part 3.3 |  |  |  |
| Part 3.4 |  |  |  |
| Part 3.5 |  |  |  |
| R4 |  |  |  |
| Part 4.1 |  |  |  |
| Part 4.2 |  |  |  |
| Part 4.3 |  |  |  |
| Part 4.4 |  |  |  |
| R5 |  |  |  |
| Part 5.1 |  |  |  |
| Part 5.2 |  |  |  |
| Part 5.3 |  |  |  |
| Part 5.4 |  |  |  |
| Part 5.5 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall implement one or more documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R1 – Security Awareness Program.

M1.	Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R1 – Security Awareness Program and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R1 Part 1.1

| CIP-004-AB-5.1 Table R1 – Security Awareness Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | High Impact BES cyber systems Medium Impact BES cyber systems | Security awareness that, at least once each calendar quarter, reinforces cyber security practices (which may include associated physical security practices) for the Responsible Entity’s personnel who have authorized electronic or authorized unescorted physical access to BES cyber systems. | An example of evidence may include, but is not limited to, documentation that the quarterly reinforcement has been provided. Examples of evidence of reinforcement may include, but are not limited to, dated copies of information used to reinforce security awareness, as well as evidence of distribution, such as: direct communications (for example, e‐mails, memos, computer‐based training); or indirect communications (for example, posters, intranet, or brochures); or management support and reinforcement (for example, presentations or meetings). |

### Entity Response (Required):

Question: Is Part 1.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity is not responsible for compliance for any of the systems listed in the “Applicable Systems” column of the Table for this Part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify the Responsible Entity has documented one or more processes which include security awareness that, at least once each calendar quarter, reinforces cyber security practices (which may include associated physical security practices) for the Responsible Entity’s personnel who have authorized electronic or authorized unescorted physical access to BES cyber systems. |
| --- | --- |
|  | (Part 1.1) Verify the Responsible Entity has reinforced security awareness practices at least once each calendar quarter. |
|  | (Part 1.1) Verify the security awareness reinforcement included: - reinforcement of cyber security practices, and may but does not have to include - reinforcement of physical security practices associated with cyber security. |
|  | (Part 1.1) Verify that security awareness was reinforced for the Responsible Entity’s personnel who have authorized electronic or authorized unescorted physical access to BES cyber systems. |
| Note to Auditor: The Responsible Entity is not required to document that each quarter’s reinforcement was received by each of its authorized personnel. Rather, the Responsible Entity is required to demonstrate that the security awareness reinforcement was communicated to its authorized personnel as a whole, not necessarily individually. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, a cyber security training program(s) appropriate to individual roles, functions, or responsibilities that collectively includes each of the applicable requirement parts in CIP‐004-AB-5.1 Table R2 – Cyber Security Training Program.

M2.	Evidence must include the training program that includes each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R2 – Cyber Security Training Program and additional evidence to demonstrate implementation of the program(s).

## R2 Part 2.1

| CIP-004-AB-5.1 Table R2 – Cyber Security Training Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Training content on: 2.1.1. cyber security policies; 2.1.2. physical access controls; 2.1.3. electronic access controls; 2.1.4. the visitor control program; 2.1.5. handling of BES cyber system information and its storage; 2.1.6. identification of a cyber security incident and initial notifications in accordance with the entity’s incident response plan; 2.1.7. recovery plans for BES cyber systems; 2.1.8. response to cyber security incidents; and 2.1.9. cyber security risks associated with a BES cyber system’s electronic interconnectivity and interoperability with other cyber assets. | Examples of evidence may include, but are not limited to, training material such as power point presentations, instructor notes, student notes, handouts, or other training materials. |

### Entity Response (Required):

Question: Is Part 2.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity’s cyber security training program(s) collectively included content on the following: - cyber security policies; - physical access controls; - electronic access controls; - the visitor control program; - handling of BES cyber system information and its storage; - identification of a cyber security incident and initial notifications in accordance with the entity’s incident response plan; - recovery plans for BES cyber systems; - response to cyber security incidents; and - cyber security risks associated with a BES cyber system’s electronic interconnectivity and interoperability with other cyber assets. |
| --- | --- |
|  | (Part 2.1) Verify the Responsible Entity’s training program’s content is appropriate to individual roles, functions, or responsibilities. |
| Note to Auditor: - The training program(s) must collectively include all nine training elements. - It is not necessary that all nine training elements be included for the training of each role, function or responsibility. - Each role, function or responsibility must receive training on all appropriate training elements. |  |

### Auditor Notes:

## R2 Part 2.2

| CIP-004-AB-5.1 Table R2 – Cyber Security Training Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.2 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Require completion of the training specified in part 2.1 prior to granting authorized electronic access and authorized unescorted physical access to applicable cyber assets, except during CIP exceptional circumstances. | Examples of evidence may include, but are not limited to, training records and documentation of when CIP exceptional circumstances were invoked. |

### Entity Response (Required):

Question: Is Part 2.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R2, Part 2.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.2) Verify all identified personnel completed the training specified in part 2.1 prior to being granted authorized electronic access and authorized unescorted physical access to applicable cyber assets, except during CIP exceptional circumstances. |
| --- | --- |
|  | (Part 2.2) If the Responsible Entity has declared and responded to CIP exceptional circumstances, verify the Responsible Entity has adhered to the applicable cyber security policies. |
| Note to Auditor: The Responsible Entity may reference a separate set of documents to demonstrate its response to any requirements impacted by CIP exceptional circumstances. |  |

### Auditor Notes:

## R2 Part 2.3

| CIP-004-AB-5.1 Table R2 – Cyber Security Training Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.3 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Require completion of the training specified in part 2.1 at least once every 15 months. | Examples of evidence may include, but are not limited to, dated individual training records. |

### Entity Response (Required):

Question: Is Part 2.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R2, Part 2.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.3) Verify all personnel with authorized electronic access or authorized unescorted physical access to applicable BES cyber systems completed the training as specified in part 2.1 at least once every 15 months. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented personnel risk assessment programs to attain and retain authorized electronic or authorized unescorted physical access to BES Cyber Systems that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R3 – Personnel Risk Assessment Program.

M3.	Evidence must include the documented personnel risk assessment programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R3 – Personnel Risk Assessment Program and additional evidence to demonstrate implementation of the program(s).

## R3 Part 3.1

| CIP-004-AB-5.1 Table R3 – Personnel Risk Assessment Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.1 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Process to confirm identity. | An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to confirm identity. |

### Entity Response (Required):

Question: Is Part 3.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R3, Part 3.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.1) Verify that the Responsible Entity has documented one or more personnel risk assessment program(s) to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include a process to confirm identity. |
| --- | --- |
|  | (Part 3.1) Verify the Responsible Entity has a process to confirm identity was implemented for personnel with authorized electronic access and/or authorized unescorted physical access to applicable systems. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.2

| CIP-004-AB-5.1 Table R3 – Personnel Risk Assessment Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.2 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Process to perform a seven year criminal history records check as part of each personnel risk assessment that includes: 3.2.1. current residence, regardless of duration; and 3.2.2. other locations where, during the seven years immediately prior to the date of the criminal history records check, the subject has resided for six consecutive months or more. If it is not possible to perform a full seven year criminal history records check, conduct as much of the seven year criminal history records check as possible and document the reason the full seven year criminal history records check could not be performed. | An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to perform a seven year criminal history records check. |

### Entity Response (Required):

Question: Is Part 3.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R3, Part 3.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.2) Verify that the Responsible Entity has documented one or more personnel risk assessment program(s) to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include(s) a process to perform a seven year criminal history records check that includes: 1. current residence, regardless of duration; 2. other locations where, during the seven years immediately prior to the date of the criminal history records check, the subject has resided for six consecutive months or more; and 3. a process to perform as much of the full seven year criminal history records check as possible, if it is not possible to perform, the full seven year criminal history records check. |
| --- | --- |
|  | (Part 3.2) Verify a process to perform a seven year criminal history records check was implemented for personnel with authorized electronic access and/or authorized unescorted physical access to applicable BES cyber systems and: - Review a full seven year criminal history records check was completed; or - If a full seven year criminal history records check was not completed, review the Responsible Entity completed as much of the seven year criminal history records checks as possible, and documented the reason the full seven year criminal history records check was not completed. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.3

| CIP-004-AB-5.1 Table R3 – Personnel Risk Assessment Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.3 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Criteria or process to evaluate criminal history records checks for authorizing access. | An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process to evaluate criminal history records checks. |

### Entity Response (Required):

Question: Is Part 3.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R3, Part 3.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.3) Verify that the Responsible Entity has documented one or more personnel risk assessment program(s) to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems, that include(s) criteria or a process to evaluate criminal history records checks for authorizing access. |
| --- | --- |
|  | (Part 3.3) Verify the applicable criteria or process to evaluate criminal history records checks for authorizing access was implemented for personnel with authorized electronic access and/or authorized unescorted physical access to applicable systems. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.4

| CIP-004-AB-5.1 Table R3 – Personnel Risk Assessment Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.4 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Criteria or process for verifying that personnel risk assessments performed for contractors or service vendors are conducted according to parts 3.1 through 3.3. | An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s criteria or process for verifying contractors or service vendors personnel risk assessments. |

### Entity Response (Required):

Question: Is Part 3.4 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R3, Part 3.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.4) Verify that the Responsible Entity has documented one or more personnel risk assessment program(s) to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include(s) criteria or a process for verifying that personnel risk assessments performed for contractors or service vendors are conducted according to Parts 3.1 through 3.3. |
| --- | --- |
|  | (Part 3.4) Verify the criteria or process for verifying that personnel risk assessments performed for contractors or service vendors were conducted according to Parts 3.1 through 3.3 were implemented. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.5

| CIP-004-AB-5.1 Table R3 – Personnel Risk Assessment Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.5 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Process to ensure that individuals with authorized electronic or authorized unescorted physical access have had a personnel risk assessment completed according to parts 3.1 to 3.4 within the last seven years. | An example of evidence may include, but is not limited to, documentation of the Responsible Entity’s process for ensuring that individuals with authorized electronic or authorized unescorted physical access have had a personnel risk assessment completed within the last seven years. |

### Entity Response (Required):

Question: Is Part 3.5 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R3, Part 3.5

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.5) Verify that the Responsible Entity has documented one or more personnel risk assessment program(s) to attain and retain authorized electronic or authorized unescorted physical access to BES cyber systems that include(s) a process to ensure that individuals with authorized electronic or authorized unescorted physical access have had a personnel risk assessment completed according to Parts 3.1 to 3.4 within the last seven years. |
| --- | --- |
|  | (Part 3.5) For personnel with authorized electronic access and/or authorized unescorted physical access to applicable BES cyber systems, verify the applicable personnel risk assessment program(s) were completed at least once every seven years. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented access management programs that collectively include each of the applicable requirement parts in CIP‐004-AB-5.1 Table R4 – Access Management Program.

M4.	Evidence must include the documented processes that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R4 – Access Management Program and additional evidence to demonstrate that the access management program was implemented as described in the Measures column of the table.

## R4 Part 4.1

| CIP-004-AB-5.1 Table R4 – Access Management Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 4.1 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Process to authorize based on need, as determined by the Responsible Entity, except for CIP exceptional circumstances: 4.1.1. electronic access; 4.1.2. unescorted physical access into a physical security perimeter; and 4.1.3. access to designated storage locations, whether physical or electronic, for BES cyber system information. | An example of evidence may include, but is not limited to, dated documentation of the process to authorize electronic access, unescorted physical access in a physical security perimeter, and access to designated storage locations, whether physical or electronic, for BES cyber system information. |

### Entity Response (Required):

Question: Is Part 4.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R4, Part 4.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 4.1) Verify the Responsible Entity has documented one or more access management program(s) which includes a process to authorize based on need, as determined by the Responsible Entity, except for CIP exceptional circumstances: 1. electronic access; 2. unescorted physical access into a physical security perimeter; and 3. access to designated storage locations, whether physical or electronic, for BES cyber system information. |
| --- | --- |
|  | (Part 4.1) If the Responsible Entity declared and responded to CIP exceptional circumstances, verify the Responsible Entity adhered to the applicable cyber security policies. |
|  | (Part 4.1) Verify access was authorized, based on need, for: 1. electronic access; 2. unescorted physical access into a physical security perimeter; and 3. access to designated storage locations, whether physical or electronic, for BES cyber system information. |
| Note to Auditor: The Responsible Entity may reference a separate set of documents to demonstrate its response to any requirements impacted by CIP exceptional circumstances. |  |

### Auditor Notes:

## R4 Part 4.2

| CIP-004-AB-5.1 Table R4 – Access Management Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 4.2 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Verify at least once each calendar quarter that individuals with active electronic access or unescorted physical access have authorization records. | Examples of evidence may include, but are not limited to: dated documentation of the verification between the system generated list of individuals who have been authorized for access (i.e., workflow database) and a system generated list of personnel who have access (i.e., user account listing), or dated documentation of the verification between a list of individuals who have been authorized for access (i.e., authorization forms) and a list of individuals provisioned for access (i.e., provisioning forms or shared account listing). |

### Entity Response (Required):

Question: Is Part 4.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R4, Part 4.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 4.2) Verify the Responsible Entity has documented one or more access management program(s) which include(s) a process to verify at least once each calendar quarter that individuals with active electronic access or unescorted physical access have authorization records. |
| --- | --- |
|  | (Part 4.2) Verify the Responsible Entity has verified at least once each calendar quarter that individuals with active electronic access or unescorted physical access have authorization records. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Part 4.3

| CIP-004-AB-5.1 Table R4 – Access Management Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 4.3 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | For electronic access, verify at least once every 15 months that all user accounts, user account groups, or user role categories, and their specific, associated privileges are correct and are those that the Responsible Entity determines are necessary. | An example of evidence may include, but is not limited to, documentation of the review that includes all of the following: 1. a dated listing of all accounts/account groups or roles within the system; 2. a summary description of privileges associated with each group or role; 3. accounts assigned to the group or role; and 4. dated evidence showing verification of the privileges for the group are authorized and appropriate to the work function performed by people assigned to each account. |

### Entity Response (Required):

Question: Is Part 4.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R4, Part 4.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 4.3) Verify the Responsible Entity has documented one or more access management program(s) that, for electronic access, verify at least once every 15 months that all user accounts, user account groups, or user role categories, and their specific, associated privileges are correct and are those that the Responsible Entity determines are necessary. |
| --- | --- |
|  | (Part 4.3) Verify the Responsible Entity has verified, at least once every 15 months, that user accounts, user account groups, or user role categories, and their specific, associated privileges are correct. |
|  | (Part 4.3) Verify the Responsible Entity has verified, at least once every 15 months, that user accounts, user account groups, or user role categories, and their specific, associated privileges are those that the Responsible Entity determines are necessary. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Part 4.4

| CIP-004-AB-5.1 Table R4 – Access Management Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 4.4 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | Verify at least once every 15 months that access to the designated storage locations for BES cyber system information, whether physical or electronic, are correct and are those that the Responsible Entity determines are necessary for performing assigned work functions. | An example of evidence may include, but is not limited to, the documentation of the review that includes all of the following: 1. a dated listing of authorizations for BES cyber system information; 2. any privileges associated with the authorizations; and 3. dated evidence showing a verification of the authorizations and any privileges were confirmed correct and the minimum necessary for performing assigned work functions. |

### Entity Response (Required):

Question: Is Part 4.4 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R4, Part 4.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 4.4) Verify the Responsible Entity has documented one or more access management program(s) that verify at least once every 15 months that access to the designated storage locations for BES cyber system information, whether physical or electronic, are correct and are those that the Responsible Entity determines are necessary for performing assigned work functions. |
| --- | --- |
|  | (Part 4.4) Verify the Responsible Entity has verified, at least once every 15 months, that access to the designated storage locations for BES cyber system information, whether physical or electronic, are correct. |
|  | (Part 4.4) Verify the Responsible Entity has verified, at least once every 15 months, that access to the designated storage locations for BES cyber system information, whether physical or electronic, are those that the Responsible Entity determines are necessary for performing assigned work functions. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented access revocation programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R5 – Access Revocation.

M5.	Evidence must include each of the applicable documented programs that collectively include each of the applicable requirement parts in CIP‐004-AB‐5.1 Table R5 – Access Revocation and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R5 Part 5.1

| CIP-004-AB-5.1 Table R5 – Access Revocation |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 5.1 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | A process to initiate removal of an individual’s ability for unescorted physical access and interactive remote access upon a termination action, and complete the removals within 24 hours of the termination action (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access rights). | An example of evidence may include, but is not limited to, documentation of all of the following: 1. dated workflow or sign‐off form verifying access removal associated with the termination action; and 2. logs or other demonstration showing such persons no longer have access. |

### Entity Response (Required):

Question: Is Part 5.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R5, Part 5.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 5.1) Verify the Responsible Entity has documented one or more access revocation program(s) that include(s) a process to initiate removal of an individual’s ability for unescorted physical access and interactive remote access upon a termination action, and complete the removals within 24 hours of the termination action (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access rights). |
| --- | --- |
|  | (Part 5.1) Verify if the Responsible Entity has: 1. initiated removal of an individual’s ability for unescorted physical access and interactive remote access upon a termination action; and 2. completed the removals within 24 hours of the termination action (Removal of the ability for access may be different than deletion, disabling, revocation, or removal of all access rights). |
| Note to Auditor: Removal of the ability for access does not necessarily require removal or disabling of the individual’s accounts. The ability for access may be removed by disabling the individual’s network access, confiscation of a badge, or other suitable means. Removal of interactive remote access may be accomplished, for example, by disabling the individual’s multi-factor authentication. |  |

### Auditor Notes:

## R5 Part 5.2

| CIP-004-AB-5.1 Table R5 – Access Revocation |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 5.2 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | For reassignments or transfers, revoke the individual’s authorized electronic access to individual accounts and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end of the next day following the date that the Responsible Entity determines that the individual no longer requires retention of that access. | An example of evidence may include, but is not limited to, documentation of all of the following: 1. dated workflow or sign‐off form showing a review of logical and physical access; and 2. logs or other demonstration showing such persons no longer have access that the Responsible Entity determines is not necessary. |

### Entity Response (Required):

Question: Is Part 5.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R5, Part 5.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 5.2) Verify the Responsible Entity has documented one or more access revocation program(s) for reassignments or transfers to revoke the individuals’ authorized electronic access to individual accounts and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end of the next day following the date that the Responsible Entity determines that the individual no longer requires retention of that access. |
| --- | --- |
|  | (Part 5.2) Verify if the Responsible Entity has, for reassignments or transfers, revoked the individuals’ authorized electronic access to individual accounts and authorized unescorted physical access that the Responsible Entity determines are not necessary by the end of the next day following the date that the Responsible Entity determines that the individual no longer requires retention of that access. |
| Note to Auditor: Revocation of access does not necessarily require removal of the individual’s accounts. The account may be disabled in lieu of removal. |  |

### Auditor Notes:

## R5 Part 5.3

| CIP-004-AB-5.1 Table R5 – Access Revocation |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 5.3 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control and monitoring systems; and 2. physical access control systems. | For termination actions, revoke the individual’s access to the designated storage locations for BES cyber system information, whether physical or electronic (unless already revoked according to requirement R5.1), by the end of the next day following the effective date of the termination action. | An example of evidence may include, but is not limited to, workflow or signoff form verifying access removal to designated physical areas or cyber systems containing BES cyber system information associated with the terminations and dated within the next day of the termination action. |

### Entity Response (Required):

Question: Is Part 5.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R5, Part 5.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 5.3) Verify the Responsible Entity has documented one or more access revocation program(s) for termination actions to revoke an individual’s access to the designated storage locations for BES cyber system information, whether physical or electronic (unless already revoked according to requirement R5.1), by the end of the next day following the effective date of the termination action. |
| --- | --- |
|  | (Part 5.3) Verify if the Responsible Entity has, for termination actions, revoked individuals’ access to the designated storage locations for BES cyber system information, whether physical or electronic (unless already revoked according to Requirement R5.1), by the end of the next day following the effective date of the termination action. |
| Note to Auditor: 1. If the access was already revoked under the actions taken for Requirement R5, Part 5.1, no further action is needed. 2. Revocation of access does not necessarily require removal or disabling of the individual’s accounts. The ability for access may be removed by disabling the individual’s network access, confiscation of a badge, or other suitable means. 3. Removal of interactive remote access may be accomplished, for example, by disabling the individual’s multi-factor authentication. |  |

### Auditor Notes:

## R5 Part 5.4

| CIP-004-AB-5.1 Table R5 – Access Revocation |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 5.4 | High Impact BES cyber systems and their associated: electronic access control and monitoring systems. | For termination actions, revoke the individual’s non‐shared user accounts (unless already revoked according to parts 5.1 or 5.3) within 30 days of the effective date of the termination action. | An example of evidence may include, but is not limited to, workflow or signoff form showing access removal for any individual BES cyber assets and software applications as determined necessary to completing the revocation of access and dated within thirty calendar days of the termination actions. |

### Entity Response (Required):

Question: Is Part 5.4 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R5, Part 5.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 5.4) Verify if the Responsible Entity has documented one or more access revocation program(s) for termination actions to revoke the individual’s non-shared user accounts (unless already revoked according to Parts 5.1 or 5.3) within 30 days of the effective date of the termination action. |
| --- | --- |
|  | (Part 5.4) Verify the Responsible Entity, for termination actions, has revoked the individual’s non-shared user accounts (unless already revoked according to Parts 5.1 or 5.3) within 30 days of the effective date of the termination action. |
| Note to Auditor: Revocation of access does not necessarily require removal of the individual’s accounts. The account may be disabled in lieu of removal. |  |

### Auditor Notes:

## R5 Part 5.5

| CIP-004-AB-5.1 Table R5 – Access Revocation |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 5.5 | High Impact BES cyber systems and their associated: electronic access control and monitoring systems. | For termination actions, change passwords for shared account(s) known to the user within 30 days of the termination action. For reassignments or transfers, change passwords for shared account(s) known to the user within 30 days following the date that the Responsible Entity determines that the individual no longer requires retention of that access. If the Responsible Entity determines and documents that extenuating operating circumstances require a longer time period, change the password(s) within 10 days following the end of the operating circumstances. | Examples of evidence may include, but are not limited to: workflow or sign‐off form showing password reset within 30 days of the termination; workflow or sign‐off form showing password reset within 30 days of the reassignments or transfers; or documentation of the extenuating operating circumstance and workflow or sign‐off form showing password reset within 10 days following the end of the operating circumstance. |

### Entity Response (Required):

Question: Is Part 5.5 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-004-AB-5.1, R5, Part 5.5

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 5.5) Verify the Responsible Entity has documented one or more access revocation program(s) for termination actions to change passwords for shared account(s) known to the user within 30 days of the termination action. For reassignments or transfers, the program identified that passwords for shared account(s) known to the user would be changed within 30 days following the date that the Responsible Entity determines that an individual no longer required retention of that access. The documented process(es) may include provisions for the Responsible Entity to determine and document that extenuating operating circumstances require a longer time period, and may change the password(s) within 10 days following the end of the operating circumstances. |
| --- | --- |
|  | (Part 5.5) Verify that if extenuating operating circumstances were invoked, the circumstances were documented and included a specific end date. |
|  | (Part 5.5) Verify that for termination actions that did not invoke extenuating operating circumstances, the passwords to shared accounts known to the user were changed within 30 days of the termination action. |
|  | (Part 5.5) Verify that for termination actions that invoked extenuating operating circumstances, the passwords to shared accounts known to the user were changed within 10 days following the end of the extenuating operating circumstances. |
|  | (Part 5.5) Verify that for reassignments or transfers that did not invoke extenuating operating circumstances, the passwords to shared accounts known to the user were changed within 30 days of the date that the Responsible Entity determines the individual no longer required retention of the access. |
|  | (Part 5.5) Verify that for reassignments or transfers that invoked extenuating operating circumstances, the passwords to shared accounts known to the user were changed within 10 days following the end of the extenuating operating circumstances. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |