# Cyber Security – Physical Security of BES Cyber Systems

# CIP-006-AB-5

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X | X | X | X | X | X | X2 |  |  |
| R2 |  | X | X | X | X | X | X | X | X2 |  |  |
| R3 |  | X | X | X | X | X | X | X | X2 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of entities marked in the table above will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by one or more of the entities in subsection (a) above, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started; - Responsible Entities marked in the table above other than a legal owner of an electric distribution system are responsible for: - each transmission facility that is part of the bulk electric system except each transmission facility that: - is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource; - radially connects only to load; - radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or - radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; - a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use; - a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex; - within a power plant which: - is not part of an aggregated generating facility; - is directly connected to the bulk electric system; and - has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; - an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; and - control centres and backup control centres. - The following are exempt from this reliability standard: - [Intentionally left blank.] - cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes. 2 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the legal owner of an electric distribution system, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| Part 1.2 |  |  |  |
| Part 1.3 |  |  |  |
| Part 1.4 |  |  |  |
| Part 1.5 |  |  |  |
| Part 1.6 |  |  |  |
| Part 1.7 |  |  |  |
| Part 1.8 |  |  |  |
| Part 1.9 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| Part 2.2 |  |  |  |
| Part 2.3 |  |  |  |
| R3 |  |  |  |
| Part 3.1 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented physical security plans that collectively include all of the applicable requirement parts in CIP‐006-AB‐5 Table R1 – Physical Security Plan.

M1.	Evidence must include each of the documented physical security plans that collectively include all of the applicable requirement parts in CIP‐006-AB‐5 Table R1 – Physical Security Plan and additional evidence to demonstrate implementation of the plan or plans as described in the Measures column of the table.

## R1 Part 1.1

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | Medium Impact BES cyber systems without external routable connectivity Physical access control systems associated with: - High Impact BES cyber systems, or - Medium Impact BES cyber systems with external routable connectivity | Define operational or procedural controls to restrict physical access. | An example of evidence may include, but is not limited to, documentation that operational or procedural controls exist. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify the Responsible Entity has documented one or more physical security plans that define operational or procedural controls to restrict physical access. |
| --- | --- |
|  | (Part 1.1) Verify the Responsible Entity has implemented the defined operational or procedural controls to restrict physical access to Applicable Systems. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.2

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.2 | Medium Impact BES cyber systems with external routable connectivity and their associated: 1. electronic access control or monitoring systems; and 2. protected cyber assets | Utilize at least one physical access control to allow unescorted physical access into each applicable physical security perimeter to only those individuals who have authorized unescorted physical access. | An example of evidence may include, but is not limited to, language in the physical security plan that describes each physical security perimeter and how unescorted physical access is controlled by one or more different methods and proof that unescorted physical access is restricted to only authorized individuals, such as a list of authorized individuals accompanied by access logs. |

### Entity Response (Required):

Question: Is Part 1.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.2) Verify the Responsible Entity has documented one or more physical security plans that utilize at least one physical access control to allow unescorted physical access into each applicable physical security perimeter to only those individuals who have authorized unescorted physical access. |
| --- | --- |
|  | (Part 1.2) Verify that each physical security perimeter has at least one physical access control. |
|  | (Part 1.2) Verify that only those individuals with authorized unescorted physical access are allowed unescorted physical access into each applicable physical security perimeter. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.3

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.3 | High Impact BES cyber systems and their associated: 1. electronic access control and monitoring systems; and 2. protected cyber assets | Where technically feasible, utilize two or more different physical access controls (this does not require two completely independent physical access control systems) to collectively allow unescorted physical access into physical security perimeters to only those individuals who have authorized unescorted physical access. | An example of evidence may include, but is not limited to, language in the physical security plan that describes the physical security perimeters and how unescorted physical access is controlled by two or more different methods and proof that unescorted physical access is restricted to only authorized individuals, such as a list of authorized individuals accompanied by access logs. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.3) Verify the Responsible Entity has documented one or more physical security plans that utilize two or more different physical access controls (this does not require two completely independent physical access control systems) to collectively allow unescorted physical access into physical security perimeters to only those individuals who have authorized unescorted physical access, where technically feasible. |
| --- | --- |
|  | (Part 1.3) Verify that each physical security perimeter has at least two physical access controls, where technically feasible, or that an Alberta technical feasibility exception covers the BES cyber systems. |
|  | (Part 1.3) Verify that only those individuals with authorized unescorted physical access are allowed authorized unescorted physical access into each applicable physical security perimeter. |
|  | (Part 1.3) If an approved Alberta technical feasibility exception is applicable to this Part, verify the compensating measures identified by the technical feasibility exception have been implemented. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.4

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.4 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Monitor for unauthorized access through a physical access point into a physical security perimeter. | An example of evidence may include, but is not limited to, documentation of controls that monitor for unauthorized access through a physical access point into a physical security perimeter. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.4) Verify the Responsible Entity has documented one or more physical security plans that monitor for unauthorized access through a physical access point into a physical security perimeter. |
| --- | --- |
|  | (Part 1.4) Verify that the Responsible Entity monitors for unauthorized access through a physical access point into a physical security perimeter. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.5

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.5 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Issue an alarm or alert in response to detected unauthorized access through a physical access point into a physical security perimeter to the personnel identified in the bulk electric system cyber security incident response plan within 15 minutes of detection. | An example of evidence may include, but is not limited to, language in the physical security plan that describes the issuance of an alarm or alert in response to unauthorized access through a physical access control into a physical security perimeter and additional evidence that the alarm or alert was issued and communicated as identified in the bulk electric system cyber security incident response plan, such as manual or electronic alarm or alert logs, cell phone or pager logs, or other evidence that documents that the alarm or alert was generated and communicated. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.5

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.5) Verify the Responsible Entity has documented one or more physical security plans that will issue an alarm or alert in response to detected unauthorized access through a physical access point into a physical security perimeter to the personnel identified in the bulk electric system cyber security incident response plan, within 15 minutes of detection. |
| --- | --- |
|  | (Part 1.5) Verify that an alarm or alert was issued in response to detected unauthorized access through a physical access point into a physical security perimeter to the personnel identified in the bulk electric system cyber security incident response plan within 15 minutes of detection. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.6

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.6 | Physical access control systems associated with: - High Impact BES cyber systems, or - Medium Impact BES cyber systems with external routable connectivity | Monitor each physical access control system for unauthorized physical access to a physical access control system. | An example of evidence may include, but is not limited to, documentation of controls that monitor for unauthorized physical access to a physical access control system. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.6

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.6) Verify the Responsible Entity has documented one or more physical security plans to monitor each physical access control system for unauthorized physical access to a physical access control system. |
| --- | --- |
|  | (Part 1.6) Verify that each physical access control system was monitored for unauthorized physical access to a physical access control system. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.7

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.7 | Physical access control systems associated with: - High Impact BES cyber systems, or - Medium Impact BES cyber systems with external routable connectivity | Issue an alarm or alert in response to detected unauthorized physical access to a physical access control system to the personnel identified in the bulk electric system cyber security incident response plan within 15 minutes of the detection. | An example of evidence may include, but is not limited to, language in the physical security plan that describes the issuance of an alarm or alert in response to unauthorized physical access to physical access control systems and additional evidence that the alarm or alerts was issued and communicated as identified in the bulk electric system cyber security incident response plan, such as alarm or alert logs, cell phone or pager logs, or other evidence that the alarm or alert was generated and communicated. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.7

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.7) Verify the Responsible Entity has documented one or more physical security plans to issue an alarm or alert in response to detected unauthorized physical access to a physical access control systems to the personnel identified in the bulk electric system cyber security incident response plan, within 15 minutes of the detection. |
| --- | --- |
|  | (Part 1.7) Verify that an alarm or alert was issued in response to detected unauthorized physical access to a physical access control systems to the personnel identified in the bulk electric system cyber security incident response plan, within 15 minutes of detection. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.8

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.8 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Log (through automated means or by personnel who control entry) entry of each individual with authorized unescorted physical access into each physical security perimeter, with information to identify the individual and date and time of entry. | An example of evidence may include, but is not limited to, language in the physical security plan that describes logging and recording of physical entry into each physical security perimeter and additional evidence to demonstrate that this logging has been implemented, such as logs of physical access into physical security perimeters that show the individual and the date and time of entry into physical security perimeter. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.8

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.8) Verify the Responsible Entity has documented one or more physical security plans to log (through automated means or by personnel who control entry) entry of each individual with authorized unescorted physical access into each physical security perimeter, with information to identify the individual and date and time of entry. |
| --- | --- |
|  | (Part 1.8) Verify that logs of entry for each individual with authorized unescorted physical access into each physical security perimeter contain information to identify the individual and date and time of entry. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.9

| CIP-006-AB-5 Table R1 – Physical Security Plan |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.9 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Retain physical access logs of entry of individuals with authorized unescorted physical access into each physical security perimeter for at least ninety days. | An example of evidence may include, but is not limited to, dated documentation such as logs of physical access into physical security perimeters that show the date and time of entry into physical security perimeter. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R1, Part 1.9

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.9) Verify the Responsible Entity has documented one or more physical security plans to retain physical access logs of entry of individuals with authorized unescorted physical access into each physical security perimeter for at least ninety days. |
| --- | --- |
|  | (Part 1.9) Verify that physical access logs of entry of individuals with authorized unescorted physical access into each physical security perimeter were retained for at least ninety days. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, one or more documented visitor control programs that include each of the applicable requirement parts in CIP‐006-AB‐5 Table R2 – Visitor Control Program.

M2.	Evidence must include one or more documented visitor control programs that collectively include each of the applicable requirement parts in CIP‐006-AB‐5 Table R2 – Visitor Control Program and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R2 Part 2.1

| CIP-006-AB-5 Table R2 – Visitor Control Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Require continuous escorted access of visitors (individuals who are provided access but are not authorized for unescorted physical access) within each physical security perimeter, except during CIP exceptional circumstances. | An example of evidence may include, but is not limited to, language in a visitor control program that requires continuous escorted access of visitors within physical security perimeters and additional evidence to demonstrate that the process was implemented, such as visitor logs. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity has documented one or more visitor control programs to require continuous escorted access of visitors (individuals who are provided access but are not authorized for unescorted physical access) within each physical security perimeter, except during CIP exceptional circumstances. |
| --- | --- |
|  | (Part 2.1) Verify that the Responsible Entity has implemented a program for continuous escorted access of individuals who are provided access but are not authorized for unescorted physical access within each physical security perimeter, except during CIP exceptional circumstances. |
|  | (Part 2.1) If the Responsible Entity has experienced an exception for CIP exceptional circumstances, verify the ISO has adhered to any applicable cyber security policies. |
| Note to Auditor: The Responsible Entity may reference a separate set of documents to demonstrate its response to any requirements impacted by CIP exceptional circumstances. |  |

### Auditor Notes:

## R2 Part 2.2

| CIP-006-AB-5 Table R2 – Visitor Control Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.2 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Require manual or automated logging of visitor entry into and exit from the physical security perimeter that includes date and time of the initial entry and last exit, the visitor’s name, and the name of an individual point of contact responsible for the visitor, except during CIP exceptional circumstances. | An example of evidence may include, but is not limited to, language in a visitor control program that requires continuous escorted access of visitors within physical security perimeters and additional evidence to demonstrate that the process was implemented, such as dated visitor logs that include the required information. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R2, Part 2.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.2) Verify the Responsible Entity has documented one or more visitor control programs to require manual or automated logging of visitor entry into and exit from the physical security perimeter that includes date and time of the initial entry and last exit, the visitor’s name, and the name of an individual point of contact responsible for the visitor, except during CIP exceptional circumstances. |
| --- | --- |
|  | (Part 2.2) Verify that the Responsible Entity performed manual or automated logging of visitor entry into and exit from the physical security perimeter that includes date and time of the initial entry and last exit, the visitor’s name, and the name of an individual point of contact responsible for the visitor, except during CIP exceptional circumstances. |
|  | (Part 2.2) If the Responsible Entity has experienced an exception for CIP exceptional circumstances, verify the ISO has adhered to any applicable cyber security policies. |
| Note to Auditor: The Responsible Entity may reference a separate set of documents to demonstrate its response to any requirements impacted by CIP exceptional circumstances. |  |

### Auditor Notes:

## R2 Part 2.3

| CIP-006-AB-5 Table R2 – Visitor Control Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.3 | High Impact BES cyber systems and their associated: - electronic access control and monitoring systems; and - protected cyber assets Medium Impact BES cyber systems with external routable connectivity and their associated: - electronic access control and monitoring systems; and - protected cyber assets | Retain visitor logs for at least ninety days. | An example of evidence may include, but is not limited to, documentation showing logs have been retained for at least ninety days. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R2, Part 2.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.3) Verify the Responsible Entity has documented one or more visitor control programs to retain visitor logs for at least ninety days. |
| --- | --- |
|  | (Part 2.3) Verify that visitor logs are retained for at least ninety days. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall implement one or more documented physical access control system maintenance and testing programs that collectively include each of the applicable requirement parts in CIP‐006-AB‐5 Table R3 – Maintenance and Testing Program.

M3.	Evidence must include each of the documented physical access control system maintenance and testing programs that collectively include each of the applicable requirement parts in CIP‐ 006-AB‐5 Table R3 – Maintenance and Testing Program and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R3 Part 3.1

| CIP-006-AB-5 Table R3 – Maintenance and Testing Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.1 | Physical access control systems associated with: - High Impact BES cyber systems, or - Medium Impact BES cyber systems with external routable connectivity Locally mounted hardware or devices at the physical security perimeter associated with: - High Impact BES cyber systems, or - Medium Impact BES cyber systems with external routable connectivity | Maintenance and testing of each physical access control system and locally mounted hardware or devices at the physical security perimeter at least once every 24 months to ensure they function properly. | An example of evidence may include, but is not limited to, a maintenance and testing program that provides for testing each physical access control system and locally mounted hardware or devices associated with each applicable physical security perimeter at least once every 24 months and additional evidence to demonstrate that this testing was done, such as dated maintenance records, or other documentation showing testing and maintenance has been performed on each applicable device or system at least once every 24 months. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-006-AB-5, R3, Part 3.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.1) Verify the Responsible Entity has documented one or more physical access control system maintenance and testing programs for maintenance and testing of each physical access control system and locally mounted hardware or devices at the physical security perimeter at least once every 24 months to ensure they function properly. |
| --- | --- |
|  | (Part 3.1) Verify that maintenance and testing of each physical access control system and locally mounted hardware or devices at the physical security perimeter was conducted at least once every 24 months to ensure they function properly. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |