# Cyber Security – Incident Reporting and Response Planning

# CIP-008-AB-5

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X | X | X | X | X | X | X2 |  |  |
| R2 |  | X | X | X | X | X | X | X | X2 |  |  |
| R3 |  | X | X | X | X | X | X | X | X2 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of entities marked in the table above will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by one or more of the entities in subsection (a) above, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started; - Responsible Entities marked in the table above other than a legal owner of an electric distribution system are responsible for: - each transmission facility that is part of the bulk electric system except each transmission facility that: - is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource; - radially connects only to load; - radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or - radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; - a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use; - a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex; - within a power plant which: - is not part of an aggregated generating facility; - is directly connected to the bulk electric system; and - has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; - an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; and - control centres and backup control centres. - The following are exempt from this reliability standard: - [Intentionally left blank.] - cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes. 2 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the legal owner of an electric distribution system, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| Part 1.2 |  |  |  |
| Part 1.3 |  |  |  |
| Part 1.4 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| Part 2.2 |  |  |  |
| Part 2.3 |  |  |  |
| R3 |  |  |  |
| Part 3.1 |  |  |  |
| Part 3.2 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall document one or more cyber security incident response plan(s) that collectively include each of the applicable requirement parts in CIP‐008-AB‐5 Table R1 – Cyber Security Incident Response Plan Specifications.

M1.	Evidence must include each of the documented plan(s) that collectively include each of the applicable requirement parts in CIP‐008-AB‐5 Table R1 – Cyber Security Incident Response Plan Specifications.

## R1 Part 1.1

| CIP-008-AB-5 Table R1 – Cyber Security Incident Response Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | High Impact BES cyber systems Medium Impact BES cyber systems | One or more processes to identify, classify, and respond to cyber security incidents. | An example of evidence may include, but is not limited to, dated documentation of cyber security incidents response plan(s) that include the process to identify, classify, and respond to cyber security incidents. |

### Entity Response (Required):

Question: Is Part 1.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify the Responsible Entity has documented one or more cyber security incident response plans which include one or more processes to identify, classify, and respond to cyber security incidents. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.2

| CIP-008-AB-5 Table R1 – Cyber Security Incident Response Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.2 | High Impact BES cyber systems Medium Impact BES cyber systems | One or more processes to determine if an identified cyber security incident is a reportable cyber security incident and notify the Electricity Sector Information Sharing and Analysis Center (ES-ISAC), unless prohibited by law. Initial notification to the ES-ISAC, which may be only a preliminary notice, shall not exceed one hour from the determination of a reportable cyber security incident. | Examples of evidence may include, but are not limited to, dated documentation of cyber security incident response plan(s) that provide guidance or thresholds for determining which cyber security incidents are also reportable cyber security incidents and documentation of initial notices to the Electricity Sector Information Sharing and Analysis Center (ES-ISAC). |

### Entity Response (Required):

Question: Is Part 1.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R1, Part 1.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.2) Verify the Responsible Entity has documented one or more cyber security incident response plans which include one or more processes to require initial notification to the Electricity Sector Information Sharing and Analysis Center (ES-ISAC), which may be only a preliminary notice, within one hour from the determination of a reportable cyber security incident unless prohibited by law. |
| --- | --- |
| Note to Auditor: If the Responsible Entity is prohibited by law from reporting to the ES-ISAC, then the process need not include a provision for reporting to the ES-ISAC. If this provision is invoked, the audit team should verify that the Responsible Entity is prohibited by law from reporting to the ES-ISAC. |  |

### Auditor Notes:

## R1 Part 1.3

| CIP-008-AB-5 Table R1 – Cyber Security Incident Response Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.3 | High Impact BES cyber systems Medium Impact BES cyber systems | The roles and responsibilities of cyber security incident response groups or individuals. | An example of evidence may include, but is not limited to, dated cyber security incident response process(es) or procedure(s) that define roles and responsibilities (e.g., monitoring, reporting, initiating, documenting, etc.) of cyber security incident response groups or individuals. |

### Entity Response (Required):

Question: Is Part 1.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R1, Part 1.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.3) Verify the Responsible Entity has documented one or more cyber security incident response plans which define the roles and responsibilities of cyber security incident response groups or individuals. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.4

| CIP-008-AB-5 Table R1 – Cyber Security Incident Response Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.4 | High Impact BES cyber systems Medium Impact BES cyber systems | Incident handling procedures for cyber security incidents. | An example of evidence may include, but is not limited to, dated cyber security incident response process(es) or procedure(s) that address incident handling (e.g., containment, eradication, recovery/incident resolution). |

### Entity Response (Required):

Question: Is Part 1.4 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R1, Part 1.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.4) Verify the Responsible Entity has documented one or more cyber security incident response plans which include incident handling procedures for cyber security incidents. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement each of its documented cyber security incident response plans to collectively include each of the applicable requirement parts in CIP‐008-AB‐5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing.

M2.	Evidence must include, but is not limited to, documentation that collectively demonstrates implementation of each of the applicable requirement parts in CIP‐008-AB‐5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing.

## R2 Part 2.1

| CIP-008-AB-5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems Medium Impact BES cyber systems | Test each cyber security incident response plan(s) at least once every 15 months: - by responding to an actual reportable cyber security incident; - with a paper drill or tabletop exercise of a reportable cyber security incident; or - with an operational exercise of a reportable cyber security incident. | Examples of evidence may include, but are not limited to, dated evidence of a lessons‐learned report that includes a summary of the test or a compilation of notes, logs, and communication resulting from the test. Types of exercises may include discussion or operations based exercises. |

### Entity Response (Required):

Question: Is Part 2.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity has tested each cyber security incident response plan(s) at least once every 15 months: • by responding to an actual reportable cyber security incident; • with a paper drill or tabletop exercise of a reportable cyber security incident; or • with an operational exercise of a reportable cyber security incident. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Part 2.2

| CIP-008-AB-5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.2 | High Impact BES cyber systems Medium Impact BES cyber systems | Use the cyber security incident response plan(s) under Requirement R1 when responding to a reportable cyber security incident or performing an exercise of a reportable cyber security incident. Document deviations from the plan(s) taken during the response to the incident or exercise. | Examples of evidence may include, but are not limited to, incident reports, logs, and notes that were kept during the incident response process, and follow-up documentation that describes deviations taken from the plan during the incident or exercise. |

### Entity Response (Required):

Question: Is Part 2.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R2, Part 2.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.2) Verify the Responsible Entity used the cyber security incident response plan(s) under Requirement R1 when responding to a reportable cyber security incident or performing an exercise of a reportable cyber security incident. |
| --- | --- |
|  | (Part 2.2) Verify the Responsible Entity has documented deviations from the plan(s), if any, taken during the response to the reportable cyber security incident or the performance of an exercise of a reportable cyber security incident. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Part 2.3

| CIP-008-AB-5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.3 | High Impact BES cyber systems Medium Impact BES cyber systems | Retain records related to reportable cyber security incidents. | An example of evidence may include, but is not limited to, dated documentation, such as security logs, police reports, emails, response forms or checklists, forensic analysis results, restoration records, and post-incident review notes related to reportable cyber security incidents. |

### Entity Response (Required):

Question: Is Part 2.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R2, Part 2.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.3) Verify the Responsible Entity has retained records related to reportable cyber security incidents. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall maintain each of its cyber security incident response plans according to each of the applicable requirement parts in CIP‐008-AB‐5 Table R3 – Cyber Security Incident Response Plan Review, Update, and Communication.

M3.	Evidence must include, but is not limited to, documentation that collectively demonstrates maintenance of each cyber security incident response plan according to the applicable requirement parts in CIP‐008-AB‐5 Table R3 – Cyber Security Incident Response Plan Review, Update, and Communication.

## R3 Part 3.1

| CIP-008-AB-5 Table R3 – Cyber Security Incident Response Plan Review, Update, and Communication |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.1 | High Impact BES cyber systems Medium Impact BES cyber systems | No later than 90 days after completion of a cyber security incident response plan(s) test or actual reportable cyber security incident response: 3.1.1. document any lessons learned or document the absence of any lessons learned; 3.1.2. update the cyber security incident response plan based on any documented lessons learned associated with the plan; and 3.1.3. notify each person or group with a defined role in the cyber security incident response plan of the updates to the cyber security incident response plan based on any documented lessons learned. | An example of evidence may include, but is not limited to, all of the following: 1. dated documentation of post incident(s) review meeting notes or follow‐up report showing lessons learned associated with the cyber security incident response plan(s) test or actual reportable cyber security incident response or dated documentation stating there were no lessons learned; 2. dated and revised cyber security incident response plan showing any changes based on the lessons learned; and 3. evidence of plan update distribution including, but not limited to: - emails; - USPS or other mail service; - electronic distribution system; or - training sign-in sheets. |

### Entity Response (Required):

Question: Is Part 3.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R3, Part 3.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.1) Verify that no later than 90 days after completion of a cyber security incident response plan(s) test or actual reportable cyber security incident response, the Responsible Entity has: - Documented any lessons learned or documented the absence of any lessons learned; - Updated the cyber security incident response plan based on any documented lessons learned associated with the plan; and - Notified each person or group with a defined role in the cyber security incident response plan of the updates to the cyber security incident response plan based on any documented lessons learned. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.2

| CIP-008-AB-5 Table R3 – Cyber Security Incident Response Plan Review, Update, and Communication |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.2 | High Impact BES cyber systems Medium Impact BES cyber systems | No later than 60 days after a change to the roles or responsibilities, cyber security incident response groups or individuals, or technology that the Responsible Entity determines would impact the ability to execute the plan: 3.2.1. update the cyber security incident response plan(s); and 3.2.2. notify each person or group with a defined role in the cyber security incident response plan of the updates. | An example of evidence may include, but is not limited to: 1. dated and revised cyber security incident response plan with changes to the roles or responsibilities, responders or technology; and 2. evidence of plan update distribution including, but not limited to: - emails; - USPS or other mail service; - electronic distribution system; or - training sign-in sheets. |

### Entity Response (Required):

Question: Is Part 3.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any high impact or medium impact BES cyber systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-008-AB-5, R3, Part 3.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.2) Verify that no later than 60 days after a change to the roles or responsibilities, cyber security incident response groups or individuals, or technology that the Responsible Entity determines would impact the ability to execute the plan, the Responsible Entity has: - Updated the cyber security incident response plan(s); and - Notified each person or group with a defined role in the cyber security incident response plan of the updates. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |