# Cyber Security – Recovery Plans for BES Cyber Systems

# CIP-009-AB-5

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X | X | X | X | X | X | X2 |  |  |
| R2 |  | X | X | X | X | X | X | X | X2 |  |  |
| R3 |  | X | X | X | X | X | X | X | X2 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of entities marked in the table above will be collectively referred to as “Responsible Entities”. For requirements in this reliability standard where a specific entity or subset of entities are the applicable entity or entities, the entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by one or more of the entities in subsection (a) above, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started; - Responsible Entities marked in the table above other than a legal owner of an electric distribution system are responsible for: - each transmission facility that is part of the bulk electric system except each transmission facility that: - is a transformer with fewer than 2 windings at 100 kV or higher and does not connect a contracted blackstart resource; - radially connects only to load; - radially connects only to one or more generating units or aggregated generating facilities with a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; or - radially connects to load and one or more generating units or aggregated generating facilities that have a combined maximum authorized real power of less than or equal to 67.5 MW and does not connect a contracted blackstart resource; - a reactive power resource that is dedicated to supplying or absorbing reactive power that is connected at 100 kV or higher, or through a dedicated transformer with a high-side voltage of 100 kV or higher, except those reactive power resources operated by an end-use customer for its own use; - a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW unless the generating unit is part of an industrial complex; - within a power plant which: - is not part of an aggregated generating facility; - is directly connected to the bulk electric system; and - has a combined maximum authorized real power rating greater than 67.5 MW unless the power plant is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; - an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW unless the aggregated generating facility is part of an industrial complex; - within an industrial complex with supply transmission service greater than 67.5 MW; or - a contracted blackstart resource; and - control centres and backup control centres. - The following are exempt from this reliability standard: - [Intentionally left blank.] - cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - for the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as High Impact or Medium Impact according to the CIP‐002-AB‐5.1 identification and categorization processes. 2 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the legal owner of an electric distribution system, without human operator initiation, of 300 MW or more; - each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to transmission where the protection system is subject to one or more requirements in a reliability standard; and - each cranking path and group of elements meeting the initial switching requirements from a contracted blackstart resource up to and including the first point of supply and/or point of delivery of the next generating unit or aggregated generating facility to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| Part 1.2 |  |  |  |
| Part 1.3 |  |  |  |
| Part 1.4 |  |  |  |
| Part 1.5 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| Part 2.2 |  |  |  |
| Part 2.3 |  |  |  |
| R3 |  |  |  |
| Part 3.1 |  |  |  |
| Part 3.2 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall have one or more documented recovery plans that collectively include each of the applicable requirement parts in CIP‐009-AB‐5 Table R1 – Recovery Plan Specifications.

M1.	Evidence must include the documented recovery plan(s) that collectively include the applicable requirement parts in CIP‐009-AB‐5 Table R1 – Recovery Plan Specifications.

## R1 Part 1.1

| CIP-007-AB-5 Table R1 – Recovery Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Conditions for activation of the recovery plan(s). | An example of evidence may include, but is not limited to, one or more plans that include language identifying conditions for activation of the recovery plan(s). |

### Entity Response (Required):

Question: Is Part 1.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify the Responsible Entity has documented one or more recovery plans which include conditions for activation of the recovery plan(s). |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.2

| CIP-007-AB-5 Table R1 – Recovery Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Roles and responsibilities of responders. | An example of evidence may include, but is not limited to, one or more recovery plans that include language identifying the roles and responsibilities of responders. |

### Entity Response (Required):

Question: Is Part 1.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R1, Part 1.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.2) Verify the Responsible Entity has documented one or more recovery plans that include roles and responsibilities of responders. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.3

| CIP-007-AB-5 Table R1 – Recovery Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.3 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | One or more processes for the backup and storage of information required to recover BES cyber system functionality. | An example of evidence may include, but is not limited to, documentation of specific processes for the backup and storage of information required to recover BES cyber system functionality. |

### Entity Response (Required):

Question: Is Part 1.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R1, Part 1.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.3) Verify the Responsible Entity has documented one or more recovery plan(s) that include one or more processes for the backup and storage of information required to recover BES cyber system functionality. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.4

| CIP-007-AB-5 Table R1 – Recovery Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.4 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | One or more processes to verify the successful completion of the backup processes in Part 1.3 and to address any backup failures. | An example of evidence may include, but is not limited to, logs, workflow or other documentation confirming that the backup process completed successfully and backup failures, if any, were addressed. |

### Entity Response (Required):

Question: Is Part 1.4 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R1, Part 1.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.4) Verify the Responsible Entity has documented one or more recovery plans that include one or more processes to verify the successful completion of the backup processes in Part 1.3 and to address any backup failures. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.5

| CIP-007-AB-5 Table R1 – Recovery Plan Specifications |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.5 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | One or more processes to preserve data, per cyber asset capability, for determining the cause of a cyber security incident that triggers activation of the recovery plan(s). Data preservation should not impede or restrict recovery. | An example of evidence may include, but is not limited to, procedures to preserve data, such as preserving a corrupted drive or making a data mirror of the system before proceeding with recovery. |

### Entity Response (Required):

Question: Is Part 1.5 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R1, Part 1.5

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.5) Verify the Responsible Entity has documented one or more recovery plans which include one or more processes to preserve data, per cyber asset capability, for determining the cause of a cyber security incident that triggers activation of the recovery plan(s). Data preservation should not impede or restrict recovery. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement, in a manner that identifies, assesses, and corrects deficiencies, its documented recovery plan(s) to collectively include each of the applicable requirement parts in CIP‐009-AB‐5 Table R2 – Recovery Plan Implementation and Testing.

M2.	Evidence must include, but is not limited to, documentation that collectively demonstrates implementation of each of the applicable requirement parts in CIP‐009-AB‐5 Table R2 – Recovery Plan Implementation and Testing.

## R2 Part 2.1

| CIP-007-AB-5 Table R2 – Recovery Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Test each of the recovery plans referenced in requirement R1 at least once every 15 months: by recovering from an actual incident; with a paper drill or tabletop exercise; or with an operational exercise. | An example of evidence may include, but is not limited to, dated evidence of a test (by recovering from an actual incident, with a paper drill or tabletop exercise, or with an operational exercise) of the recovery plan at least once every 15 months. For the paper drill or full operational exercise, evidence may include meeting notices, minutes, or other records of exercise findings. |

### Entity Response (Required):

Question: Is Part 2.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity has tested each of the recovery plans referenced in requirement R1 at least once every 15 months: - by recovering from an actual incident; - with a paper drill or tabletop exercise; or - with an operational exercise. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Part 2.2

| CIP-007-AB-5 Table R2 – Recovery Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Test a representative sample of information used to recover BES cyber system functionality at least once every 15 months to ensure that the information is useable and is compatible with current configurations. An actual recovery that incorporates the information used to recover BES cyber system functionality substitutes for this test. | An example of evidence may include, but is not limited to, operational logs or test results with criteria for testing the usability (e.g. sample tape load, browsing tape contents) and compatibility with current system configurations (e.g. manual or automated comparison checkpoints between backup media contents and current configuration). |

### Entity Response (Required):

Question: Is Part 2.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R2, Part 2.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.2) For each recovery plan, verify either: - the Responsible Entity has tested a representative sample of information used to recover BES cyber system functionality at least once every 15 months to ensure that the information is useable and is compatible with current configurations; or - the Responsible Entity has performed an actual recovery that incorporates the information used to recover BES cyber system functionality. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Part 2.3

| CIP-007-AB-5 Table R2 – Recovery Plan Implementation and Testing |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.3 | High Impact BES cyber systems | Test each of the recovery plans referenced in requirement R1 at least once every 36 months through an operational exercise of the recovery plans in an environment representative of the production environment. An actual recovery response may substitute for an operational exercise. | Examples of evidence may include, but are not limited to, dated documentation of: an operational exercise at least once every 36 months between exercises, that demonstrates recovery in a representative environment; or an actual recovery response that occurred within the 36 month timeframe that exercised the recovery plans. |

### Entity Response (Required):

Question: Is Part 2.3 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R2, Part 2.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.3) For each recovery plan, verify either: - the Responsible Entity has tested each of the recovery plans referenced in requirement R1 at least once every 36 months through an operational exercise of the recovery plans in an environment representative of the production environment; or - the Responsible Entity has performed an actual recovery response. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall maintain each of its recovery plans in accordance with each of the applicable requirement parts in CIP‐009-AB‐5 Table R3 – Recovery Plan Review, Update and Communication.

M3.	Acceptable evidence includes, but is not limited to, each of the applicable requirement parts in CIP-009-AB‐5 Table R3 – Recovery Plan Review, Update and Communication.

## R3 Part 3.1

| CIP-007-AB-5 Table R3 – Recovery Plan Review, Update and Communication |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | No later than 90 days after completion of a recovery plan test or actual recovery: 3.1.1. document any lessons learned associated with a recovery plan test or actual recovery or document the absence of any lessons learned; 3.1.2. update the recovery plan based on any documented lessons learned associated with the plan; and 3.1.3. notify each person or group with a defined role in the recovery plan of the updates to the recovery plan based on any documented lessons learned. | An example of evidence may include, but is not limited to, all of the following: 1. dated documentation of identified deficiencies or lessons learned for each recovery plan test or actual incident recovery or dated documentation stating there were no lessons learned; 2. dated and revised recovery plan showing any changes based on the lessons learned; and 3. evidence of plan update distribution including, but not limited to: emails; USPS or other mail service; electronic distribution system; or training sign-in sheets. |

### Entity Response (Required):

Question: Is Part 3.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R3, Part 3.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.1) Verify that no later than 90 days after completion of a recovery plan test or actual recovery, the Responsible Entity has: |
| --- | --- |
|  | (Part 3.1.1) Documented any lessons learned associated with a recovery plan test or actual recovery or document the absence of any lessons learned; |
|  | (Part 3.1.2) Updated the recovery plan based on any documented lessons learned associated with the plan; and |
|  | (Part 3.1.3) Notified each person or group with a defined role in the recovery plan of the updates to the recovery plan based on any documented lessons learned. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.2

| CIP-007-AB-5 Table R3 – Recovery Plan Review, Update and Communication |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems at control centres and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | No later than 60 days after a change to the roles or responsibilities, responders, or technology that the Responsible Entity determines would impact the ability to execute the recovery plan: 3.2.1. update the recovery plan; and 3.2.2. notify each person or group with a defined role in the recovery plan of the updates. | An example of evidence may include, but is not limited to, all of the following: 1. dated and revised recovery plan with changes to the roles or responsibilities, responders, or technology; and 2. evidence of plan update distribution including, but not limited to: emails; USPS or other mail service; electronic distribution system; or training sign-in sheets. |

### Entity Response (Required):

Question: Is Part 3.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any systems listed in the “Applicable Systems” column of the table for this part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-009-AB-5, R3, Part 3.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.2) Verify that no later than 60 days after a change to the roles or responsibilities, responders, or technology that the Responsible Entity determines would impact the ability to execute the recovery plan, the Responsible Entity has: |
| --- | --- |
|  | (Part 3.2.1) Updated the recovery plan; and |
|  | (Part 3.2.2) Notified each person or group with a defined role in the recovery plan of the updates. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |