# Cyber Security – Configuration Change Management and Vulnerability Assessments

# CIP-010-AB-4

# Standard Effective Date: October 1, 2024

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R2 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R3 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R4 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of functional entities marked in the table above will be collectively referred to as “Responsible Entities.” For requirements in this reliability standard where a specific functional entity or subset of functional entities are the applicable entity or entities, the functional entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - Legal owner of an electric distribution system and legal owner of a transmission facility: One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - Is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - Performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more. - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard. - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to any transmission facility or electric distribution system where the protection system is subject to one or more requirements in a reliability standard. - Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies) to be started. - Responsible Entities marked in the table above other than a legal owner of an electric distribution system: all bulk electric system facilities - Exemptions: The following are exempt from CIP-010-AB-4: - Cyber assets at facilities regulated by the Canadian Nuclear Safety Commission. - Cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - For the legal owner of an electric distribution system, the systems and equipment that are not included in section (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as high impact or medium impact according to the CIP-002 identification and categorization processes. 2 The legal owner of an aggregated generating facility that is part of the bulk electric system. 3 The operator of an aggregated generating facility that is part of the bulk electric system. 4 The legal owner of a generating unit that is part of the bulk electric system. 5 The operator of a generating unit that is part of the bulk electric system. 6 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - Is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - Performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more. - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to an electric distribution system where the protection system is subject to one or more requirements in a reliability standard; and - Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies) to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| Part 1.2 |  |  |  |
| Part 1.3 |  |  |  |
| Part 1.4 |  |  |  |
| Part 1.5 |  |  |  |
| Part 1.6 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| R3 |  |  |  |
| Part 3.1 |  |  |  |
| Part 3.2 |  |  |  |
| Part 3.3 |  |  |  |
| Part 3.4 |  |  |  |
| R4 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R1 – Configuration Change Management. [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning].

M1.	Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R1 – Configuration Change Management and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R1 Part 1.1

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | Develop a baseline configuration, individually or by group, which shall include the following items: 1.1.1. Operating system(s) (including version) or firmware where no independent operating system exists; 1.1.2. Any commercially available or open-source application software (including version) intentionally installed; 1.1.3. Any custom software installed; 1.1.4. Any logical network accessible ports; and 1.1.5. Any security patches applied. | Examples of evidence may include, but are not limited to: • A spreadsheet identifying the required items of the baseline configuration for each cyber asset, individually or by group; or • A record in an asset management system that identifies the required items of the baseline configuration for each cyber asset, individually or by group. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify that the Responsible Entity has documented one or more processes that include the development of a baseline configuration for each Applicable System. |
| --- | --- |
|  | (Part 1.1) For each Applicable System, verify the above documented process(es) collectively include all of the following: - Operating system(s) (including version) or firmware where no independent operating system exists; - Any commercially available or open-source application software (including version) intentionally installed; - Any custom software installed; - Any logical network accessible ports; and - Any security patches applied. |
|  | (Part 1.1) Verify the Responsible Entity has a baseline configuration for each Applicable System, individually or by group, which includes: - Operating system(s) (including version) or firmware where no independent operating system exists; - Any commercially available or open-source application software (including version) intentionally installed; - Any custom software installed; - Any logical network accessible ports; and - Any security patches applied. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.2

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | Authorize and document changes that deviate from the existing baseline configuration. | Examples of evidence may include, but are not limited to: • A change request record and associated electronic authorization (performed by the individual or group with the authority to authorize the change) in a change management system for each change; or • Documentation that the change was performed in accordance with the requirement. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.2) Verify the Responsible Entity documented one or more processes to authorize and document changes that deviate from the existing baseline configuration. |
| --- | --- |
|  | (Part 1.2) For each Applicable System, verify the Responsible Entity authorized and documented changes that deviate from the existing baseline configuration. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.3

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.3 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | For a change that deviates from the existing baseline configuration, update the baseline configuration as necessary within 30 days of completing the change. | An example of evidence may include, but is not limited to, updated baseline documentation with a date that is within 30 days of the date of the completion of the change. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.3) For a change that deviates from the existing baseline configuration, verify the Responsible Entity documented one or more processes for updating the baseline configuration as necessary within 30 days of completing the change. |
| --- | --- |
|  | (Part 1.3) For each Applicable System, for a change that deviates from the existing baseline configuration, verify the Responsible Entity updated the baseline configuration as necessary within 30 days of completing the change. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.4

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.4 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | For a change that deviates from the existing baseline configuration: 1.4.1. Prior to the change, determine required cyber security controls in CIP-005 and CIP-007 that could be impacted by the change; 1.4.2. Following the change, verify that required cyber security controls determined in 1.4.1 are not adversely affected; and 1.4.3. Document the results of the verification. | An example of evidence may include, but is not limited to, a list of cyber security controls verified or tested along with the dated test results. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.4) For a change that deviates from the existing baseline configuration, verify the Responsible Entity documented one or more processes to: - Determine, prior to the change, required cyber security controls in CIP-005 and CIP-007 that could be impacted by the change; - Verify, following the change, that required cyber security controls determined in Part 1.4.1 are not adversely affected; and - Document the results of the verification. |
| --- | --- |
|  | (Part 1.4) For each change that deviates from the existing baseline configuration, for each Applicable System, verify that: - Prior to the change, the Responsible Entity has determined the required security controls in CIP-005 and CIP-007 that could be impacted by the change; - Following the change, the Responsible Entity has verified that the required cyber security controls determined in 1, above, are not adversely affected; and - The Responsible Entity has documented the results of the verification required by 2, above. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.5

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.5 | High Impact BES cyber systems | Where technically feasible, for each change that deviates from the existing baseline configuration: 1.5.1. Prior to implementing any change in the production environment, test the changes in a test environment or test the changes in a production environment where the test is performed in a manner that minimizes adverse effects, that models the baseline configuration to ensure that required cyber security controls in CIP-005 and CIP-007 are not adversely affected; and 1.5.2. Document the results of the testing and, if a test environment was used, the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments. | An example of evidence may include, but is not limited to, a list of cyber security controls tested along with successful test results and a list of differences between the production and test environments with descriptions of how any differences were accounted for, including the date of the test. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.5

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.5) For changes that deviate from the existing baseline configuration, verify the Responsible Entity documented one or more processes that include: - Prior to implementing any change in the production environment, test the changes in a test environment or test the changes in a production environment where the test is performed in a manner that minimizes adverse effects, that models the baseline configuration to ensure that required cyber security controls in CIP-005 and CIP-007 are not adversely affected; and - Document the results of the testing and, if a test environment was used, the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments. |
| --- | --- |
|  | (Part 1.5) Verify that, for each Applicable System, for each change that deviated from the existing baseline configuration, prior to implementing any change in the production environment, where a technical feasibility exception did not cover the circumstance: - The Responsible Entity tested the changes in a test environment that modeled the baseline configuration to ensure that required cyber security controls in CIP-005 and CIP-007 were not adversely affected by the change; or - The Responsible Entity tested the changes in a production environment where the test was performed in a manner that minimized adverse effects to ensure that required cyber security controls in CIP-005 and CIP-007 were not adversely affected by the change. |
|  | (Part 1.5) Verify that, for each Applicable System, where technically feasible, for each change that deviated from the existing baseline configuration: - The Responsible Entity documented the results of the testing; and - If a test environment was used, the Responsible Entity documented the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments. |
|  | (Part 1.5) If a technical feasibility exception is applicable to this Part, verify the compensating measures identified by the technical feasibility exception are implemented. |
| Note to Auditor: The Responsible Entity may maintain a document describing the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments, rather than documenting these differences for every change. If this is the case, this document should be referenced by the change documentation and may be reviewed by the audit team as part of the change documentation. |  |

### Auditor Notes:

## R1 Part 1.6

| CIP-010-AB-4 Table R1 – Configuration Change Management |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.6 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Note: Implementation does not require the Responsible Entity to renegotiate or abrogate existing contracts (including amendments to master agreements and purchase orders). Additionally, the following issues are beyond the scope of Part 1.6: (1) the actual terms and conditions of a procurement contract; and (2) vendor performance and adherence to a contract. | Prior to a change that deviates from the existing baseline configuration associated with baseline items in Parts 1.1.1, 1.1.2, and 1.1.5, and when the method to do so is available to the Responsible Entity from the software source: 1.6.1. Verify the identity of the software source; and 1.6.2. Verify the integrity of the software obtained from the software source. | An example of evidence may include, but is not limited to a change request record that demonstrates the verification of identity of the software source and integrity of the software was performed prior to the baseline change or a process which documents the mechanisms in place that would automatically ensure the identity of the software source and integrity of the software. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R1, Part 1.6

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.6) For changes that deviate from the existing baseline configuration associated with baseline items in Parts 1.1.1, 1.1.2, and 1.1.5, verify the Responsible Entity documented one or more processes that include: - Verification of the identity of the software source; and - Verification of the integrity of the software obtained from the software source. |
| --- | --- |
|  | (Part 1.6.1) Verify that, for each Applicable System, prior to each change that deviates from the existing baseline configuration associated with baseline items in Parts 1.1.1, 1.1.2, and 1.1.5: - The Responsible Entity verified the identity of the software source; or - The Responsible Entity documented that a method to verify the identity of the software source is not available to the Responsible Entity from the software source. |
|  | (Part 1.6.1) Part 1.6 does not require the Responsible Entity to verify the identity of the software source when there is no method available to do so from the software source. If this is the case, verify that there is no method available to the Responsible Entity from the software source to verify the identity of the software source. |
|  | (Part 1.6.2) Verify that, for each Applicable System, prior to each change that deviates from the existing baseline configuration associated with baseline items in Parts 1.1.1, 1.1.2, and 1.1.5: - The Responsible Entity verified the integrity of the software obtained from the software source; or - The Responsible Entity documented that a method to verify the integrity of the software obtained from the software source is not available to the Responsible Entity from the software source. |
|  | (Part 1.6.2) Part 1.6 does not require the Responsible Entity to verify the integrity of the software when there is no method available to do so from the software source. If this is the case, verify that there is no method available to the Responsible Entity from the software source to verify the integrity of the software. |
| Note to Auditor: If the identity of the software source cannot be verified, then it will not be possible to verify the integrity of the software obtained from the software source. In this case, the documentation of the inability to verify the identity of the software source may also serve to document the inability to verify the integrity of the software. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R2 – Configuration Monitoring. [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning].

M2.	Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R2 – Configuration Monitoring and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R2 Part 2.1

| CIP-010-AB-4 Table R2 – Configuration Monitoring |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. protected cyber assets | Monitor at least once every 35 days for changes to the baseline configuration (as described in Requirement R1, Part 1.1). Document and investigate detected unauthorized changes. | An example of evidence may include, but is not limited to, logs from a system that is monitoring the configuration along with records of investigation for any unauthorized changes that were detected. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity documented one or more processes to monitor at least once every 35 days for changes to the baseline configuration (as described in Requirement R1, Part 1.1). |
| --- | --- |
|  | (Part 2.1) Verify the Responsible Entity documented one or more processes to document and investigate detected unauthorized changes. |
|  | (Part 2.1) For each Applicable System, verify the Responsible Entity monitored at least once every 35 days for changes to the baseline configuration (as described in Requirement R1, Part 1.1). |
|  | (Part 2.1) For each Applicable System, verify all detected unauthorized changes were documented and investigated. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R3– Vulnerability Assessments. [Alberta Risk Rating: Medium] [Time Horizon: Long-term Planning and Operations Planning]

M3.	Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP-010-AB-4 Table R3 – Vulnerability Assessments and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R3 Part 3.1

| CIP-010-AB-4 Table R3 – Vulnerability Assessments |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | At least once every 15 months, conduct a paper or active vulnerability assessment. | Examples of evidence may include, but are not limited to: • A document listing the date of the assessment (performed at least once every 15 months), the controls assessed for each BES cyber system along with the method of assessment; or • A document listing the date of the assessment and the output of any tools used to perform the assessment. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R3, Part 3.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.1) Verify the Responsible Entity documented one or more processes for conducting a paper or active vulnerability assessment at least once every 15 months. |
| --- | --- |
|  | (Part 3.1) For each Applicable System, verify the Responsible Entity conducted a paper or active vulnerability assessment at least once every 15 months. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.2

| CIP-010-AB-4 Table R3 – Vulnerability Assessments |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.2 | High Impact BES cyber systems | Where technically feasible, at least once every 36 months: 3.2.1 Perform an active vulnerability assessment in a test environment, or perform an active vulnerability assessment in a production environment where the test is performed in a manner that minimizes adverse effects, that models the baseline configuration of the BES cyber system in a production environment; and 3.2.2 Document the results of the testing and, if a test environment was used, the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments. | An example of evidence may include, but is not limited to, a document listing the date of the assessment (performed at least once every 36 months), the output of the tools used to perform the assessment, and a list of differences between the production and test environments with descriptions of how any differences were accounted for in conducting the assessment. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R3, Part 3.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.2) Verify the Responsible Entity documented one or more processes to: - Perform an active vulnerability assessment in a test environment, or perform an active vulnerability assessment in a production environment where the test is performed in a manner that minimizes adverse effects, that models the baseline configuration of the BES cyber system in a production environment; and - Document the results of the testing and, if a test environment was used, the differences between the test environment and the production environment, including a description of the measures used to account for any differences in operation between the test and production environments. |
| --- | --- |
|  | (Part 3.2) For each Applicable System, was an active vulnerability assessment technically feasible? - If yes, verify: - An active vulnerability assessment was conducted at least once every 36 months, in accordance with Part 3.2.1; and - Results of testing are documented, in accordance with Part 3.2.2. - If no, verify the compensating measures identified by the technical feasibility exception are implemented. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Part 3.3

| CIP-010-AB-4 Table R3 – Vulnerability Assessments |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.3 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. protected cyber assets | Prior to adding a new applicable cyber asset to a production environment, perform an active vulnerability assessment of the new cyber asset, except for CIP exceptional circumstances and like replacements of the same type of cyber asset with a baseline configuration that models an existing baseline configuration of the previous or other existing cyber asset. | An example of evidence may include, but is not limited to, a document listing the date of the assessment (performed prior to the commissioning of the new cyber asset) and the output of any tools used to perform the assessment. |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R3, Part 3.3

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.3) Verify the Responsible Entity documented one or more processes for performing an active vulnerability assessment, prior to adding a new applicable cyber asset to a production environment, of the new cyber asset, except for CIP exceptional circumstances and like replacements of the same type of cyber asset with a baseline configuration that models an existing baseline configuration of the previous or other existing cyber asset. |
| --- | --- |
|  | (Part 3.3) For each Applicable System, was a new applicable cyber asset added to a production environment? If yes, verify that an active vulnerability assessment of the new cyber asset was performed prior to adding it to a production environment, except for CIP exceptional circumstances and like replacements of the same type of cyber asset with a baseline configuration that models an existing baseline configuration of the previous or other existing cyber asset. |
|  | (Part 3.3) If the Responsible Entity has experienced an exception for CIP exceptional circumstances, verify the Responsible Entity has adhered to any applicable cyber security policies. |
| Note to Auditor: The Responsible Entity may reference a separate set of documents to demonstrate its response to any requirements impacted by CIP exceptional circumstances. |  |

### Auditor Notes:

## R3 Part 3.4

| CIP-010-AB-4 Table R3 – Vulnerability Assessments |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 3.4 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems 2. physical access control systems; and 3. protected cyber assets | Document the results of the assessments conducted according to Parts 3.1, 3.2, and 3.3 and the action plan to remediate or mitigate vulnerabilities identified in the assessments including the planned date of completing the action plan and the execution status of any remediation or mitigation action items. | An example of evidence may include, but is not limited to, a document listing the results or the review or assessment, a list of action items, documented proposed dates of completion for the action plan, and records of the status of the action items (such as minutes of a status meeting, updates in a work order system, or a spreadsheet tracking the action items). |

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R3, Part 3.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 3.4) Verify the Responsible Entity documented one or more processes to document the results of the assessments conducted according to Parts 3.1, 3.2, and 3.3 and the action plan to remediate or mitigate vulnerabilities identified in the assessments, including the planned date of completing the action plan and the execution status of any remediation or mitigation action items. |
| --- | --- |
|  | (Part 3.4) For each Applicable System, for each assessment conducted according to Parts 3.1, 3.2, and 3.3, verify the results of the assessment were documented. |
|  | (Part 3.4) For each Applicable System, for each assessment conducted according to Parts 3.1, 3.2, and 3.3, were any vulnerabilities identified? If yes, verify: - An action plan to remediate or mitigate the identified vulnerabilities was created or modified; - The action plan includes a planned date of completion; - The action plan includes the execution status of any remediation or mitigation action items; - The status of the action plan, if the planned date of completion has been exceeded; and - The completion of the action plan, if the action plan status is complete. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	Each Responsible Entity, for its high impact and medium impact BES cyber systems and associated protected cyber assets, shall implement, except under CIP exceptional circumstances, one or more documented plan(s) for transient cyber assets and removable media that include the sections in Attachment 1. [Alberta Risk Rating: Medium] [Time Horizon: Long-term Planning and Operations Planning]

M4.	Evidence shall include each of the documented plan(s) for transient cyber assets and removable media that collectively include each of the applicable sections in Attachment 1 and additional evidence to demonstrate implementation of plan(s) for transient cyber assets and removable media. Additional examples of evidence per section are located in Attachment 2. If a Responsible Entity does not use transient cyber asset(s) or removable media, examples of evidence include, but are not limited to, a statement, policy, or other document that states the Responsible Entity does not use transient cyber asset(s) or removable media.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-010-AB-4, R4

(This section to be completed by the Compliance Monitoring Entity):

| Section 1. Transient Cyber Assets(s) Managed by the Responsible Entity: |  |
| --- | --- |
|  | Verify that the Responsible Entity has documented at least one plan, as specified in Attachment 1, for transient cyber asset(s) that includes: - Transient cyber asset management; - Transient cyber asset authorization; - Software vulnerability mitigation; - Introduction of malicious code mitigation; and - Unauthorized use mitigation. |
|  | Verify that the Responsible Entity has implemented its plan(s) to manage transient cyber asset(s) individually or by group: (1) in an ongoing manner to ensure compliance with applicable requirements at all times, (2) in an on-demand manner applying the applicable requirements before connection to a BES cyber system, or (3) a combination of both (1) and (2) above. |
|  | For each individual or group of transient cyber asset(s), verify the Responsible Entity authorizes: - Users, either individually or by group or role; - Locations, either individually or by group; and - Uses, which shall be limited to what is necessary to perform business functions. |
|  | Verify that the Responsible Entity has implemented one or a combination of the following methods to achieve the objective of mitigating the risk of vulnerabilities posed by unpatched software on the transient cyber asset (per transient cyber asset capability): - Security patching, including manual or managed updates; - Live operating system and software executable only from read-only media; - System hardening; or - Other method(s) to mitigate software vulnerabilities. If a transient cyber asset is not fully capable of any of the methods above, then verify the transient cyber asset capabilities and the implementation of those capabilities up to the requirement. |
|  | Verify that the Responsible Entity has implemented one or a combination of the following methods to achieve the objective of mitigating the introduction of malicious code (per transient cyber asset capability): - Antivirus software, including manual or managed updates of signatures or patterns; - Application whitelisting; or - Other method(s) to mitigate the introduction of malicious code. If a transient cyber asset is not fully capable of any of the methods above, then verify the transient cyber asset capabilities and the implementation of those capabilities up to the requirement. |
|  | Verify that the Responsible Entity has implemented one or a combination of the following methods to achieve the objective of mitigating the risk of unauthorized use of transient cyber asset(s): - Restrict physical access; - Full-disk encryption with authentication; - Multi-factor authentication; or - Other method(s) to mitigate the risk of unauthorized use. |
| Section 2. Transient Cyber Asset(s) Managed by a Party Other than the Responsible Entity: |  |
|  | Verify that the Responsible Entity has documented at least one plan, as specified in Attachment 1, for transient cyber asset(s) managed by a party other than the Responsible Entity that includes: - Software vulnerability mitigation; - Introduction of malicious code mitigation; and - Determination of additional mitigation actions, as necessary. |
|  | Verify that the Responsible Entity has implemented one or a combination of the following methods to achieve the objective of mitigating the risk of vulnerabilities posed by unpatched software on the transient cyber asset (per transient cyber asset capability): - Review of installed security patch(es); - Review of security patching process used by the party; - Review of other vulnerability mitigation performed by the party; or - Other method(s) to mitigate software vulnerabilities. If a transient cyber asset is not fully capable of any of the methods above, then verify the transient cyber asset capabilities and the implementation of those capabilities up to the requirement. |
|  | Verify that the Responsible Entity has implemented one or a combination of the following methods to achieve the objective of mitigating malicious code (per transient cyber asset capability): - Review of antivirus update level; - Review of antivirus update process used by the party; - Review of application whitelisting used by the party; - Review use of live operating system and software executable only from read-only media; - Review of system hardening used by the party; or - Other method(s) to mitigate malicious code. If a transient cyber asset is not fully capable of any of the methods above, then verify the transient cyber asset capabilities and the implementation of those capabilities up to the requirement. |
|  | For any method used to mitigate software vulnerabilities or malicious code as specified in 2.1 and 2.2: - Verify that the Responsible Entity determined whether any additional mitigation actions are necessary. - If any additional mitigation actions were necessary, verify that such actions were implemented prior to connecting the transient cyber asset. |
| Section 3. Removable Media: |  |
|  | Verify that the Responsible Entity has documented at least one plan, as specified in Attachment 1, for removable media that includes: - Removable media authorization; and - Malicious code mitigation. |
|  | Verify the Responsible Entity authorized, for each individual or group of removable media: - Users, either individually or by group or role; and - Locations, either individually or by group. |
|  | Verify that the Responsible Entity has implemented the following methods to achieve the objective of mitigating the threat of introducing malicious code to high impact or medium impact BES cyber systems and their associated protected cyber assets: - Use method(s) to detect malicious code on removable media using a cyber asset other than a BES cyber system or protected cyber assets; and - Mitigate the threat of detected malicious code on removable media prior to connecting the removable media to a high impact or medium impact BES cyber system or associated protected cyber assets. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |