# Cyber Security – Information Protection

# CIP-011-AB-3

# Standard Effective Date: April 1, 2026

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R2 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of functional entities marked in the table above will be collectively referred to as “Responsible Entities.” For requirements in this reliability standard where a specific functional entity or subset of functional entities are the applicable entity or entities, the functional entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - Legal owner of an electric distribution system and legal owner of a transmission facility: One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more. - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard. - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to any transmission facility or electric distribution system where the protection system is subject to one or more requirements in a reliability standard. - Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies) to be started. - Responsible Entities marked in the table above other than a legal owner of an electric distribution system: all bulk electric system facilities. - Exemptions: The following are exempt from CIP-011-AB-3: - Cyber assets at facilities regulated by the Canadian Nuclear Safety Commission. - Cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.]. - For the legal owner of an electric distribution system, the systems and equipment that are not included in subsection (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as high impact or medium impact according to the CIP-002 identification and categorization processes. 2 The legal owner of an aggregated generating facility that is part of the bulk electric system. 3 The operator of an aggregated generating facility that is part of the bulk electric system. 4 The legal owner of a generating unit that is part of the bulk electric system. 5 The operator of a generating unit that is part of the bulk electric system. 6 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more; - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to an electric distribution system where the protection system is subject to one or more requirements in a reliability standard; and - Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies) to be started.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| Part 1.1 |  |  |  |
| Part 1.2 |  |  |  |
| R2 |  |  |  |
| Part 2.1 |  |  |  |
| Part 2.2 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall implement one or more documented information protection program(s) for BES cyber system information pertaining to “Applicable Systems” identified in CIP-011-AB-3 Table R1 – Information Protection Program that collectively includes each of the applicable requirement parts in CIP-011-AB-3 Table R1 – Information Protection Program. [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning].

M1.	Evidence for the information protection program must include the applicable requirement parts in CIP-011-AB-3 Table R1 – Information Protection Program and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R1 Part 1.1

| CIP-011-AB-3 Table R1 – Information Protection Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Method(s) to identify BES cyber system information. | Examples of acceptable evidence may include, but are not limited to, the following: • Documented method(s) to identify BES cyber system information from the entity’s information protection program; or • Indications on information (e.g., labels or classification) that identify BES cyber system information as designated in the entity’s information protection program; or • Training materials that provide personnel with sufficient knowledge to identify BES cyber system information; or • Storage locations identified for housing BES cyber system information in the entity’s information protection program. |

### Entity Response (Required):

Question: Is Part 1.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity is not responsible for compliance for any of the systems listed in the “Applicable Systems” column of the Table for this Part. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-011-AB-3, R1, Part 1.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.1) Verify the Responsible Entity has documented one or more information protection programs that have method(s) to identify BES cyber system information. |
| --- | --- |
|  | (Part 1.1) Verify the Responsible Entity has implemented the method(s) to identify BES cyber system information. |
| Note to Auditor: |  |

### Auditor Notes:

## R1 Part 1.2

| CIP-011-AB-3 Table R1 – Information Protection Program |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 1.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems | Method(s) to protect and securely handle BES cyber system information to mitigate risks of compromising confidentiality. | Examples of evidence for on-premise BES cyber system information may include, but are not limited to, the following: • Procedures for protecting and securely handling, which include topics such as storage, security during transit, and use of BES cyber system information; or • Records indicating that BES cyber system information is handled in a manner consistent with the entity’s documented procedure(s). Examples of evidence for off-premise BES cyber system information may include, but are not limited to, the following: • Implementation of electronic technical method(s) to protect electronic BES cyber system information (e.g., data masking, encryption, hashing, tokenization, cipher, electronic key management); or • Implementation of physical technical method(s) to protect physical BES cyber system information (e.g., physical lock and key management, physical badge management, biometrics, alarm system); or • Implementation of administrative method(s) to protect BES cyber system information (e.g., vendor service risk assessments, business agreements). |

### Entity Response (Required):

Question: Is Part 1.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-011-AB-3, R1, Part 1.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 1.2) Verify the Responsible Entity has documented one or more information protection programs that include method(s) to protect and securely handle BES cyber system information to mitigate risks of compromising confidentiality. |
| --- | --- |
|  | (Part 1.2) Verify the Responsible Entity has implemented the method(s) to protect and securely handle BES cyber system information to mitigate risks of compromising confidentiality. |
| Note to Auditor: Authorization of access to BES cyber system information that pertains to BES cyber systems, electronic access control or monitoring systems, and physical access control systems at the medium-without-external routable connectivity impact rating should be addressed in the information protection program. CIP-004-AB-7 R6 applies to provisioned access to BES cyber system information. Other forms of access, if any, should be addressed by the information protection program. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement one or more documented process(es) that collectively include the applicable requirement parts in CIP-011-AB-3 Table R2 – BES cyber asset Reuse and Disposal. [Alberta Risk Rating: Lower] [Time Horizon: Operations Planning].

M2.	Evidence must include each of the applicable documented processes that collectively include each of the applicable requirement parts in CIP-011-AB-3 Table R2 – BES cyber asset Reuse and Disposal and additional evidence to demonstrate implementation as described in the Measures column of the table.

## R2 Part 2.1

| CIP-011-AB-3 Table R2 – BES Cyber Asset Reuse and Disposal |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.1 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets | Prior to the release for reuse of applicable cyber assets that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column), the Responsible Entity shall take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media. | Examples of acceptable evidence may include, but are not limited to, the following: • Records tracking sanitization actions taken to prevent unauthorized retrieval of BES cyber system information such as clearing, purging, or destroying; or • Records tracking actions such as encrypting, retaining in the physical security perimeter or other methods used to prevent unauthorized retrieval of BES cyber system information. |

### Entity Response (Required):

Question: Is Part 2.1 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-011-AB-3, R2, Part 2.1

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.1) Verify the Responsible Entity has documented one or more processes to take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media, prior to the release for reuse of applicable cyber assets that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column). |
| --- | --- |
|  | (Part 2.1) Verify that prior to the release for reuse of applicable cyber assets that contain BES cyber system information (except for reuse within other systems identified in the “Applicable Systems” column), the Responsible Entity has taken action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset data storage media. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Part 2.2

| CIP-011-AB-3 Table R2 – BES Cyber Asset Reuse and Disposal |  |  |  |
| --- | --- | --- | --- |
| Part | Applicable Systems | Requirements | Measures |
| 2.2 | High Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets Medium Impact BES cyber systems and their associated: 1. electronic access control or monitoring systems; and 2. physical access control systems; and 3. protected cyber assets | Prior to the disposal of applicable cyber assets that contain BES cyber system information, the Responsible Entity shall take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset or destroy the data storage media. | Examples of acceptable evidence may include, but are not limited to, the following: • Records that indicate that data storage media was destroyed prior to the disposal of an applicable cyber asset; or • Records of actions taken to prevent unauthorized retrieval of BES cyber system information prior to the disposal of an applicable cyber asset. |

### Entity Response (Required):

Question: Is Part 2.2 applicable to this audit? ☐ Yes ☐ No If “No,” why not? ☐ The Responsible Entity does not have any Applicable Systems. ☐ Other: [Provide explanation below]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-011-AB-3, R2, Part 2.2

(This section to be completed by the Compliance Monitoring Entity):

|  | (Part 2.2) Verify the Responsible Entity has documented one or more processes to take action to prevent the unauthorized retrieval of BES cyber system information from the cyber asset or destroy the data storage media, prior to the disposal of applicable cyber assets that contain BES cyber system information. |
| --- | --- |
|  | (Part 2.2) Verify that, prior to the disposal of applicable cyber assets that contain BES cyber system information, the Responsible Entity has taken action to prevent the unauthorized retrieval BES cyber system information from the cyber asset or destroyed the data storage media. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-06-01 | Initial version |