# Cyber Security – Communications between Control Centres

# CIP-012-AB-1

# Standard Effective Date: July 1, 2022

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X1 | X1 | X1 | X1 | X1 | X1 | X1 |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 This reliability standard applies to the entities marked above, referred to as “Responsible Entities”, that own or operate a control centre. Exemptions: The following are exempt from this reliability standard: - cyber assets at facilities regulated by the Canadian Nuclear Safety Commission; and - a control centre that transmits to another control centre real-time assessment or real-time monitoring data pertaining only to the generating resource, transmission station, or substation co-located with the transmitting control centre.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity must implement, except under CIP exceptional circumstances, one or more documented plans to mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres. The Responsible Entity is not required to include oral communications in its plan. The plan must include:

R1.1 identification of security protection used to mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between control centres;

R1.2 identification of where the Responsible Entity applied security protection for transmitting real-time assessment and real-time monitoring data between control centres; and

R1.3 if the control centres are owned or operated by different Responsible Entities, identification of the responsibilities of each Responsible Entity for applying security protection to the transmission of real-time assessment and real-time monitoring data between those control centres.

M1.	Evidence of implementing one or more documented plans and including the required elements of the plan as required in requirement R1 exists. Evidence may include documentation demonstrating the implementation of the plan and a documented plan, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-012-AB-1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the Responsible Entity has identified any applicable control centres. |
| --- | --- |
|  | (R1) Verify the Responsible Entity has identified the transmission of real-time assessment and real-time monitoring data between any applicable control centres. |
|  | (R1) Verify the Responsible Entity has documented one or more plans to mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres. |
|  | (R1.1) Verify the documented plan(s) includes identification of security protection used to mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres. |
|  | (R1.2) Verify the documented plan(s) includes identification of where the Responsible Entity applied security protection for transmitting real-time assessment and real-time monitoring data between any applicable control centres. |
|  | (R1.3) If real-time assessment or real-time monitoring data is transmitted between any applicable control centres owned or operated by different Responsible Entities, verify the documented plan(s) includes identification of the responsibilities of each Responsible Entity for applying security protection to these transmissions. |
|  | (R1) Verify the Responsible Entity has implemented, except under CIP exceptional circumstances, the documented plan(s) to mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres. |
|  | (R1) Verify the documented and implemented plan(s) achieves the security objective of mitigating the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres. |
|  | (R1) If the Responsible Entity has declared and responded to CIP exceptional circumstances, verify the Responsible Entity has adhered to its applicable cyber security policies. |
| Note to Auditor: 1. The Responsible Entity is not required to include oral communications in its plans. 2. See Applicability of Requirements section for a description of control centres that are exempt from this Alberta Reliability Standard. 3. To mitigate the risks posed by unauthorized disclosure and unauthorized modification of real-time assessment and real-time monitoring data while being transmitted between any applicable control centres, the Responsible Entity may have a single comprehensive plan, a plan that references other individual plans, or individual plans for each sub-requirement. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |