# Emergency Operations

# EOP-011-AB-1

# Standard Effective Date: January 1, 2022

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  |  |  |  |  |  | X1 |  |  |  |
| R1A |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  |  |  |  |  |  |  | X1 |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The operator of a transmission facility that is part of the bulk electric system. This reliability standard does not apply to the operator of a transmission facility whose transmission facilities are only: - radial circuits connecting to any one or more of: - load; - one or more generating units; and - one or more aggregated generating facilities; or - part of an industrial complex, or connected to an industrial complex, and cannot interrupt power flow on the interconnected electric system other than power flow on its own transmission facilities.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R1A |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each operator of a transmission facility must develop, maintain, and, in the event of an operating emergency, implement one or more ISO-reviewed operating plans to mitigate operating emergencies in its area. The operating plans must include the following, as applicable:

R1.1 roles and responsibilities for activating the operating plans;

R1.2 processes to prepare for and mitigate operating emergencies including:

R1.2.1 notification to the ISO, to include current and projected conditions, when experiencing an operating emergency;

R1.2.2 coordination with the ISO for the cancellation or recall of transmission facility outages;

R1.2.3 requests to the ISO for transmission system reconfiguration;

R1.2.4 requests to the ISO to change generation level;

R1.2.5 provisions for manual load shedding that minimizes the overlap with automatic load shedding and are capable of being implemented in a timeframe adequate for mitigating the emergency; and

R1.2.6 reliability impacts of extreme weather conditions.

M1.	Evidence of developing, maintaining, and implementing operating plans, and having operating plans reviewed as required in requirement R1 exists. Evidence of:

- developing an operating plan may include documented operating plans with effective dates;

- maintaining an operating plan may include documented operating plans with version history;

- implementing an operating plan may include operator logs, voice recordings, system logs, sequence of events records or disturbance reports;

- having operating plan reviewed by the ISO, as applicable, which may include emails; or

- other equivalent evidence.

### Entity Response (Required):

Question: Has there been an operating emergency during the compliance audit period? ☐ Yes ☐ No If Yes, provide a detailed and dated list of such emergencies. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the operating plan(s) was developed, maintained, implemented, and reviewed by the ISO in accordance with requirement R1 and includes the following processes to prepare for and mitigate operating emergencies. |
| --- | --- |
|  | (R1.1) roles and responsibilities for activating the operating plans. |
|  | (R1.2.1) notification to the ISO, to include current and projected conditions, when experiencing an operating emergency. |
|  | (R1.2.2) coordination with the ISO for the cancellation or recall of transmission facility outages. |
|  | (R1.2.3) requests to the ISO for transmission system reconfiguration. |
|  | (R1.2.4) requests to the ISO to change generation level. |
|  | (R1.2.5) provisions for manual load shedding that minimizes the overlap with automatic load shedding and are capable of being implemented in a timeframe adequate for mitigating the emergency. |
|  | (R1.2.6) reliability impacts of extreme weather conditions. |
| Note to Auditor: |  |

### Auditor Notes:

## R1A Supporting Evidence and Documentation

R1A.	The ISO must develop, maintain, and implement one or more operating plans to mitigate operating emergencies on the interconnected electric system. The operating plans must include the following, as applicable:

R1A.1 roles and responsibilities for activating the operating plans;

R1A.2 processes to prepare for and mitigate operating emergencies including:

R1A.2.1 intentionally left blank;

R1A.2.2 cancellation or recall of transmission facility and generating unit outages;

R1A.2.3 transmission system reconfiguration;

R1A.2.4 provisions to issue directives for managing generation level;

R1A.2.5 provisions to issue directives for manual load shedding for mitigating the emergency; and;

R1A.2.6 reliability impacts of extreme weather conditions.

M1A.	Evidence of developing, maintaining, and implementing operating plans as required in requirement R1A exists. Evidence of:

- developing an operating plan may include documented operating plans with effective dates;

- maintaining an operating plan may include documented operating plans with version history;

- implementing an operating plan may include operator logs, voice recordings, system logs, sequence of events records or disturbance reports; or

- other equivalent evidence.

### Entity Response (Required):

Question: Has there been an emergency where the ISO’s operating plan(s) has been implemented to mitigate operating emergencies on the interconnected electric system during the compliance audit period? ☐ Yes ☐ No If Yes, provide a detailed and dated list of such emergencies. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R1A

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1A) Verify the ISO developed, maintained, and implemented one or more operating plan(s) to mitigate operating emergencies on the interconnected electric system. |
| --- | --- |
|  | (R1A) Verify the operating plan(s) include the following components and processes, as applicable: |
|  | (R1A.1) roles and responsibilities for activating the operating plans. |
|  | (R1A.2.2) cancellation or recall of transmission facility and generating unit outages. |
|  | (R1A.2.3) transmission system reconfiguration. |
|  | (R1A.2.4) provisions to issue directives for managing generation level. |
|  | (R1A.2.5) provisions to issue directives for manual load shedding to mitigating emergencies. |
|  | (R1A.2.6) reliability impacts of extreme weather conditions. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must develop, maintain, and implement one or more operating plans to mitigate capacity emergencies and energy emergencies within its balancing authority area. The operating plans must include the following, as applicable:

R2.1 roles and responsibilities for activating the operating plans;

R2.2 processes to prepare for and mitigate emergencies including:

R2.2.1 intentionally left blank;

R2.2.2 declaring an energy emergency alert, in accordance with Appendix 1;

R2.2.3 managing generating resources in its balancing authority area to address:

R2.2.3.1 capability and availability;

R2.2.3.2 fuel supply and inventory concerns;

R2.2.3.3 fuel switching capabilities; and

R2.2.3.4 environmental constraints;

R2.2.4 public appeals for voluntary load reductions;

R2.2.5 intentionally left blank;

R2.2.6 intentionally left blank;

R2.2.7 use of interruptible demand, curtailable load and demand response;

R2.2.8 provisions to issue directives for manual load shedding for mitigating the emergency; and

R2.2.9 reliability impacts of extreme weather conditions.

M2.	Evidence of developing, maintaining, and implementing one or more operating plans to mitigate capacity emergencies and energy emergencies as required in requirement R2 exists. Evidence may include documented operating plans with effective dates, operator logs, voice recordings, system logs, sequence of events records, disturbance reports, or other equivalent evidence.

### Entity Response (Required):

Question: Has there been an emergency where the ISO’s operating plan(s) has been implemented to mitigate capacity emergencies and energy emergencies within its balancing authority area during the compliance audit period? ☐ Yes ☐ No If Yes, provide a detailed and dated list of such emergencies. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO developed, maintained, and implemented one or more operating plans to mitigate capacity emergencies and energy emergencies within its balancing authority area. |
| --- | --- |
| (R2) Verify the operating plan(s) include the following components and processes, as applicable: |  |
|  | (R2.1) roles and responsibilities for activating the operating plans. |
|  | (R2.2.2) declaring an energy emergency alert, in accordance with Appendix 1. |
|  | (R2.2.3.1) managing generating resources in its balancing authority area to address capability and availability. |
|  | (R2.2.3.2) managing generating resources in its balancing authority area to address fuel supply and inventory concerns. |
|  | (R2.2.3.3) managing generating resources in its balancing authority area to address fuel switching capabilities. |
|  | (R2.2.3.4) managing generating resources in its balancing authority area to address environmental constraints. |
|  | (R2.2.4) public appeals for voluntary load reductions. |
|  | (R2.2.7) use of interruptible demand, curtailable load and demand response. |
|  | (R2.2.8) provisions to issue directives for manual load shedding for mitigating the emergency. |
|  | (R2.2.9) reliability impacts of extreme weather conditions. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must review the operating plans to mitigate operating emergencies submitted by an operator of a transmission facility regarding any reliability risks that are identified between operating plans,

R3.1 within 60 days of receiving the initial operating plans and within 30 days of receiving subsequent operating plans, the ISO must:

R3.1.1 review each submitted operating plan on the basis of compatibility and inter-dependency with operating plans of the ISO and other operators of a transmission facility;

R3.1.2 review each submitted operating plan for coordination to avoid risk to wide-area reliability; and

R3.1.3 notify each operator of a transmission facility of the results of its review, specifying any time frame for resubmittal of its operating plans if revisions are identified.

M3.	Evidence of reviewing operating plans as required in requirement R3 exists. Evidence may include dated e-mails, other correspondence, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify that the ISO performs a review in accordance with requirements R3.1.1 and R3.1.2 for all initial operating plans submitted by an operator of a transmission facility within 60 days. |
| --- | --- |
|  | (R3) Verify that the ISO performs a review in accordance with requirements R3.1.1 and R3.1.2 for all subsequent operating plans submitted by an operator of a transmission facility within 30 days. |
|  | (R3.1.3) Verify the ISO notified each operator of a transmission facility of the results of its review, specifying any time frame for resubmittal of its operating plan(s) if revisions are identified. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	Each operator of a transmission facility must address any reliability risks the ISO identifies pursuant to requirement R3 and resubmit the related operating plans to the ISO within a time period the ISO specifies.

M4.	Evidence of addressing reliability risks identified in an operating plan as required in requirement R4 exists. Evidence may include dated emails, other correspondence, version history showing that the operator of a transmission facility has responded and updated the operating plan, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO identify any reliability risks associated with the operator of a transmission facility’s operating plan(s) during the compliance audit period? ☐ Yes ☐ No If Yes, provide a list of notifications. If No, describe how this was determined in the narrative section below. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Dated correspondence between the operator of a transmission facility and the ISO regarding revisions to the operator of a transmission facility’s operating plan(s) based on reliability risks identified by the ISO.

Operating plan(s) with version history showing that the operator of a transmission facility responded and updated the operating plan(s).

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the operator of a transmission facility resubmitted its operating plan to the ISO within the time period specified by the ISO in instances where the ISO identified reliability risks associated with the operating plan. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must, when it identifies an operating emergency, notify within 30 minutes from the time of identification, any affected adjacent reliability coordinators.

M5.	Evidence of notifying affected adjacent reliability coordinators as required in requirement R5 exists. Evidence may include operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence.

### Entity Response (Required):

Question: Has the ISO identified an operating emergency during the compliance audit period? ☐ Yes ☐ No If Yes, provide a detailed and dated list of such notifications. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Verify the ISO notified any affected adjacent reliability coordinators of identified operating emergencies within 30 minutes from the time of identification. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must, when experiencing a potential or actual energy emergency within Alberta declare an energy emergency alert, as detailed in Appendix 1.

M6.	Evidence of declaring an energy emergency alert as required in requirement R6 exists. Evidence may include operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO experience a potential or actual energy emergency during the compliance audit period? ☐ Yes ☐ No If Yes, provide a detailed and dated list of such actual or potential emergencies. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-011-AB-1, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) For all, or a sample of potential or actual energy emergencies within Alberta that occurred during the compliance audit period, verify the ISO declared an energy emergency alert, as detailed in Appendix 1 of Alberta Reliability Standard EOP-011-AB-1. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |