# Transmission Vegetation Management Program

# FAC-003-AB1-1

# Standard Effective Date: December 17, 2012

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  |  |  |  |  | X1 |  |  |  |  |
| R2 |  |  |  |  |  |  | X1 |  |  |  |  |
| R3 |  |  |  |  |  |  | X1 |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a transmission facility with transmission facilities operated at 200 kV and above and any lower voltage transmission facilities designated by the ISO as critical to the reliability of the AIES as identified in Appendix A; provided that transmission facilities on ROWs that are assessed and identified on an annual basis not to have vegetation capable of growing higher than 2 meters are excluded.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each legal owner of a transmission facility must prepare a TVMP. This program is to be updated at least annually. The TVMP must include the objectives, practices, approved procedures, and work specifications of the legal owner of a transmission facility.

R1.1 The TVMP must define a schedule for and the type (aerial or ground) of ROW vegetation inspections. This schedule must be flexible enough to adjust for changing conditions. The inspection schedule must be based on the anticipated growth of vegetation and any other environmental or operational factors that could impact the relationship of vegetation to the transmission facilities of the legal owner of a transmission facility. The legal owner of a transmission facility must perform vegetation inspections as identified in the schedule.

R1.2 The TVMP must identify and document clearances between vegetation and any overhead ungrounded supply conductors, taking into consideration transmission line voltage, the effects of ambient temperature on conductor sag under maximum design loading, and the effects of wind velocities on conductor sway. Specifically, the legal owner of a transmission facility must establish clearances to be achieved at the time of vegetation management work identified herein as Clearance 1, and must also establish and maintain a set of clearance requirements identified herein as Clearance 2 to prevent flashover between vegetation and overhead ungrounded supply conductors.

R1.2.1 Clearance 1 — Each legal owner of a transmission facility must determine and document appropriate clearance distances to be achieved at the time of vegetation management work based upon local conditions and the expected time frame in which the legal owner of a transmission facility plans to return for future vegetation management work. Local conditions may include, but are not limited to: operating voltage, appropriate vegetation management techniques, fire risk, reasonably anticipated tree and conductor movement, species types and growth rates, species failure characteristics, local climate and rainfall patterns, line terrain and elevation, location of the vegetation within the span, and worker approach distance requirements. Clearance 1 distances must be greater than those defined in Clearance 2.

R1.2.2 Clearance 2 — Each legal owner of a transmission facility must determine and document specific minimum radial clearance distances to be maintained between vegetation and conductors under all rated electrical operating conditions. These minimum radial clearance distances are necessary to prevent flashover between vegetation and conductors and will vary due to such factors as altitude and operating voltage. Subject to R1.2.2.1 and R1.2.2.2, the documented specific minimum radial clearance distances must be no less than those set forth in the Institute of Electrical and Electronics Engineers (IEEE) Standard 516-2003 (Guide for Maintenance Methods on Energized Power Lines) and as specified in its Section 4.2.2.3, Minimum Air Insulation Distances without Tools in the Air Gap.

R1.2.2.1 Where transmission system transient overvoltage factors are not known, clearances must be derived from Table 5, IEEE 516-2003, phase-to-ground distances, with appropriate altitude correction factors applied.

R1.2.2.2 Where transmission system transient overvoltage factors are known, clearances must be derived from Table 7, IEEE 516-2003, phase-to-phase voltages, with appropriate altitude correction factors applied.

R1.3 All personnel directly involved in the design and implementation of the TVMP must hold appropriate qualifications and must have taken appropriate training, as defined by the legal owner of a transmission facility, to perform their duties.

R1.4 Each legal owner of a transmission facility must develop mitigation measures to achieve sufficient clearances for the protection of its transmission facilities when it identifies locations on the ROW where it is restricted from attaining Clearance 1 distances.

R1.5 Each legal owner of a transmission facility must establish and document a process for the immediate communication of vegetation conditions that present an imminent threat of a transmission line outage.

This is so that action (temporary reduction in line rating, switching line out of service, etc.) may be taken until the threat is relieved.

M1.	A revision history of the TVMP is provided annually to the ISO. A TVMP exists and is provided in the format specified in the ISO TVMP template. The TVMP is provided within 30 days of request. The TVMP is complete and includes the required component sections specified in the template.

M1.1 A vegetation inspection schedule exists in the TVMP. The schedule is completed in accordance with the ISO TVMP template. The schedule includes all applicable transmission lines. Documentation exists to show that the vegetation inspections have been performed.

M1.2 Clearance 1 and Clearance 2 values exist in the TVMP

M1.2.1 Clearance 1 values exist for every transmission line. Clearance 1 values specified are greater than those of Clearance 2.

M1.2.2 Clearance 2 values exist for every transmission line. Clearance 2 values specified are greater than the minimum clearances set in IEEE standards for the applicable scenarios.

M1.3 Requirements, training, and qualifications for positions responsible for preparing and implementing the TVMP exist. Documentation exists to confirm that personnel meet the requirements, training, and qualifications of the position. Acceptable documentation includes training records, licenses, certificates, and resumes.

M1.4 A list exists and specifies locations on the ROW where Clearance 1 is not attainable. Mitigation measures exist where there are restrictions. Mitigating measures are appropriate and meet the intent of this reliability standard.

M1.5 A documented process or procedure for communication exists. The process is appropriate and of sufficient detail to meet the intent of the requirement.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-003-AB1-1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify TVMP exists for the entity under review. |
| --- | --- |
|  | (R1) Verify and document in assessment notes the dates the TVMP was requested and provided. |
|  | (R1) Review the TVMP revision history and document in assessment notes the date the TVMP was last updated. Identify whether the revision has been appropriately signed-off. |
|  | (R1) Examine the TVMP to verify required component sections exist as specified in the template. |
|  | (R1) Verify that the TVMP document is content complete. Check that sections for objectives, practices, approved procedures, work specifications are included and are reasonable. Verify each section has content consistent with the intent of the TVMP. |
|  | (R1.1) Review the evidence provided by the entity to verify the legal owner of a transmission facility has defined a schedule for ROW vegetation inspects. Check TVMP to confirm it contains a schedule by type for ROW vegetation inspections. |
|  | (R1.1) Review the TVMP to determine if it contains all applicable transmission lines and any lower transmission lines designated as critical to the reliability of the AIES in Appendix A of FAC-003-AB1-1. |
|  | (R1.1) Examine the TVMP for an inspection schedule. Verify whether inspection schedules are complete and cover all ROWs in a reasonable timeline. |
|  | (R1.1) Verify that an inspection method is designated for each ROW in the TVMP. |
|  | (R1.1) Verify that the legal owner of a transmission facility has considered changing conditions – determine if the TVMP has identified what those conditions may be and how the TVMP reflects them. |
|  | (R1.1) Verify the vegetation inspections have been performed for each scheduled ROW. Review work orders and confirm timelines, methods, and actions taken. Explain any irregularities. |
|  | (R1.1) Verify that an assessment of growth has been conducted. The TVMP should contain evidence of species, growth rates, etc. Inspection schedules should tie into the growth rates. |
|  | (R1.1) Review the legal owner of a transmission facility’s inspection database for the following items: - Work orders exist which tie to the inspection schedule - Work orders have been completed as per the inspection schedule |
|  | (R1.1) Verify that inspections have been completed in accordance to the schedule. Compare work orders and/or other evidence to inspection schedule. Record mismatches. |
|  | (R1.2) Review the TVMP and confirm both Clearances 1 and 2 are specified for each line. |
|  | (R1.2.1) Verify that Clearance 1 is greater than Clearance 2 for each line. |
|  | (R1.2.2) Verify that Clearance 2 values exist and is greater than the minimum clearances set in IEEE standards. |
|  | (R1.3) Verify the personnel directly involved in the design and implementation of the legal owner of a transmission facility’s TVMP holds the qualifications identified by the legal owner of a transmission facility. |
|  | Note to Auditor (R1.3): Required certification document is acceptable, no validation with issuing institution is required. Upon receipt of evidence in support of requirement R1.3, the ISO may request a sample of the certification documentation held by personnel directly involved in the design and implementation of the TVMP in order to perform the assessment step for requirement R1.3. Where the audit team chooses to exercise a review of specific personnel’s qualification(s), it will be treated as a secondary information request. |
|  | (R1.4) Request the entity to identify whether mitigation procedures were necessary during the audit period. Where mitigation measures occurred, request a copy of the mitigation plan. Verify that the legal owner of a transmission facility has identified all areas not meeting the Clearance 1 distance. Verify that each deficiency is addressed with a mitigation plan. Mitigation plan must be detailed and reasonable. |
|  | (R1.5) Review the TVMP to verify the legal owner of a transmission facility has a documented process for the immediate communication of imminent threats by vegetation. |
|  | (R1.5) Review the documented process to verify the following: - Verify that the process has been communicated and understood. A clear plan exists including requirement for communication with decision making authority. - Verify that decision making authority and other key personnel are identified to receive the imminent threat communication. - Verify that the process has documented timelines for communication. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The legal owner of a transmission facility must create and implement an annual plan for vegetation management work to ensure the reliability of its transmission facilities. The plan must describe the methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. The plan must be flexible enough to adjust to changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the AIES. Adjustments to the plan must be documented as they occur. The plan must include the time required to obtain permissions or permits from landowners or regulatory authorities. Each legal owner of a transmission facility must have systems and procedures for documenting and tracking the planned vegetation management work and ensuring that the vegetation management work was completed according to its work specifications.

M2.	A work plan exists in the form of the ISO vegetation management work plan template. The work plan is complete. The work plan is submitted annually and within 30 days of being requested.

Evidence exists to show that the work plan is implemented. Evidence may include status and inspection reports, work orders, and/or contracts. The work plan is being followed in accordance to the schedule. The work is completed in accordance with the work plan. Revision documentation exists where the plan has been revised. Evidence is provided to the ISO within 30 days of a request.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-003-AB1-1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Request the entity to provide evidence if their submission of the ISO vegetation management work plan where it was requested by the ISO. Verify the legal owner of a transmission facility’s work plan exists in the form specified in the template. Upon receipt of evidence in support of requirement R2, the ISO may request a sample of status and inspection reports, work orders, and/or contracts in order to perform the assessment step for requirement R2. Where the audit team chooses to request a sample, it will be treated as a secondary information request. |
| --- | --- |
|  | (R2) Verify and document in assessment notes the dates the work plan was requested and provided. |
|  | (R2) Assess completeness of annual work plan for vegetation management to verify the plan: - Describes methods used, such as manual clearing, mechanical clearing, herbicide treatment, or other actions. - Provides flexibility for changing conditions, taking into consideration anticipated growth of vegetation and all other environmental factors that may have an impact on the reliability of the transmission systems. - Documents any adjustments as they occurred. - Considers the time required to obtain permission or permits from landowners or regulatory authorities. |
|  | (R2) Request evidence from the legal owner of a transmission facility to verify work plan has been implemented as planned or that adjustments have been appropriately documented and/or addressed for any year(s) within the audit period. |
|  | (R2) Verify and document in assessment notes the dates the evidence was requested and provided. |
|  | (R2) Review the evidence provided by the entity to verify the legal owner of a transmission facility has systems and procedures for documenting and tracking planned vegetation management work and has ensured the work was completed according to work specifications. Where work has been delayed past the audit period, include documentation of the delay in assessment notes below for future audit consideration. |
|  | (R2) During the audit assessment the audit team may determine a physical inspection is required. Where identified, inspect a minimum of one (1) transmission line, or designated critical transmission facility, for evidence the work was completed according to work specifications. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each legal owner of a transmission facility must report quarterly to the ISO, sustained outages to its transmission lines determined by the legal owner of a transmission facility to have been caused by vegetation.

R3.1 Multiple sustained outages on an individual transmission line, if caused by the same vegetation, must be reported as one outage regardless of the actual number of outages within a 24-hour period.

R3.2 The legal owner of a transmission facility is not required to report to the ISO, sustained outages to its transmission lines caused by either:

- vegetation falling onto a transmission line from outside the ROW caused by a natural disasters are not considered reportable (examples of disasters include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, ice storms, floods, major storms as defined either by the legal owner of a transmission facility or an applicable regulatory body); or

- vegetation falling onto a transmission line caused by human or animal activity are not considered reportable (examples of human or animal activity include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural, horticultural or agricultural activities, or removal/digging of vegetation).

R3.3 The outage information provided by the legal owner of a transmission facility to the ISO must include at a minimum:

- number or name of the transmission line(s) forced out of service;

- date and time;

- duration of the outage;

- description of the cause of the outage;

- other pertinent comments; and

- remedial action taken by the legal owner of a transmission facility.

R3.4 An outage must be categorized by the legal owner of a transmission facility as one of the following:

R3.4.1 Category 1 — Grow-ins: Outages caused by vegetation growing into transmission lines from vegetation inside and/or outside of the ROW;

R3.4.2 Category 2 — Fall-ins: Outages caused by vegetation falling into transmission lines from inside the ROW; or

R3.4.3 Category 3 — Fall-ins: Outages caused by vegetation falling into transmission lines from outside the ROW.

M3.	Quarterly reports are submitted to the ISO by the dates specified by the ISO. Quarterly reports contain all sustained outages caused by vegetation for that reporting period. Quarterly reports contain the specific information in the requirement.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-003-AB1-1, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Request evidence demonstrating quarterly reporting to the ISO occurred. Review past submissions for any year(s) under review to ensure submissions have occurred by the dates specified. |
| --- | --- |
|  | (R3) Review past submissions and associated legal owner of a transmission facility work orders to ensure outages have been classified appropriately. |
|  | (R3) Review processes and procedures (these do not have to be documented) to determine if a particular outage is a vegetation outage to ensure the legal owner of a transmission facility reports sustained transmission line outages determined to have been caused by vegetation to the ISO as outlined by requirements R3.1 through R3.4. |
|  | (R3) Where no outage has been reported as caused by vegetation during any year(s) under review, on a sample basis review supporting documentation for non-vegetation outage events to verify appropriate classification of each sampled outage. |
|  | (R3.3) Review supporting documentation used by the legal owner of a transmission facility to determine whether outages have been appropriately reported as applicable and contain the required information. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must report quarterly to WECC, sustained outages to transmission lines determined by the legal owner of a transmission facility to have been caused by vegetation.

R4.1 Multiple sustained outages within a 24-hour period on an individual transmission line, if caused by the same vegetation, must be reported as one outage regardless of the actual number of outages.

R4.2 The ISO is not required to report to WECC, sustained outages to transmission lines caused by either:

- outages from vegetation falling onto transmission lines from outside the ROW caused by natural disasters are not reportable (examples of disasters include, but are not limited to, earthquakes, fires, tornados, hurricanes, landslides, wind shear, ice storms, floods, major storms as defined either by the legal owner of a transmission facility, or an applicable regulatory body); or

- outages from vegetation caused by human or animal activity are not considered reportable (examples of human or animal activity include, but are not limited to, logging, animal severing tree, vehicle contact with tree, arboricultural, horticultural or agricultural activities, or removal/digging of vegetation).

R4.3 The outage information provided by the ISO to WECC must include at a minimum:

- number or name of the transmission line(s) forced out of service;

- date and time;

- duration of the outage;

- description of the cause of the outage;

- other pertinent comments; and

- remedial action taken by the legal owner of a transmission facility.

R4.4 An outage must be categorized by the legal owner of a transmission facility as one of the following:

R4.4.1 Category 1 — Grow-ins: Outages caused by vegetation growing into transmission lines from vegetation inside and/or outside of the ROW;

R4.4.2 Category 2 — Fall-ins: Outages caused by vegetation falling into transmission lines from inside the ROW; or

R4.4.3 Category 3 — Fall-ins: Outages caused by vegetation falling into transmission lines from outside the ROW.

M4.	Quarterly reports are submitted to the WECC by dates specified by WECC. Quarterly reports contain all sustained outages caused by vegetation received by the ISO for that reporting period. Quarterly reports contain the specific information in the requirement.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-003-AB1-1, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Review past submissions for any year(s) under review to ensure quarterly submissions have occurred. |
| --- | --- |
|  | (R4) Review past submissions to ensure outages have been classified appropriately. |
|  | (R4) Review past submissions and confirm the outage information reported meets the minimum reporting requirements found in requirement R4.3. |
|  | (R4) Review information submitted to the ISO regarding vegetation outages and the ISO’s submissions to WECC to ensure all outage information provided to it by the legal owner of a transmission facility as required by requirement R3 has been submitted to WECC. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |

ANSI A300, Tree Care Operations – Tree, Shrub, and Other Woody Plant Maintenance – Standard Practices, while not a requirement of this reliability standard, is considered by NERC to be an industry best practice.