# Transmission Maintenance

# FAC-501-WECC-AB2-1

# Standard Effective Date: July 1, 2015

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  |  |  |  |  | X1 |  |  |  |  |
| R2 |  |  |  |  |  |  | X1 |  |  |  |  |
| R3 |  |  |  |  |  |  | X1 |  |  |  |  |
| R4 |  |  |  |  |  |  | X1 |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a transmission facility that is, or is part of, a major transmission path identified in the table “Major WECC Transfer Paths in the Bulk Electric System” as provided by the WECC.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must detail its inspection and maintenance requirements and must apply to each transmission facility that is associated with each of the transmission paths identified by the ISO.

R1.1 The legal owner of a transmission facility must review its Transmission Maintenance and Inspection Plan annually and update it as required.

R1.2 The legal owner of a transmission facility must annually submit its Transmission Maintenance and Inspection Plan and any updates to the ISO.

M1.	A documented Transmission Maintenance and Inspection Plan as identified in requirement R1 exists and covers each transmission facility as identified by the ISO.

M1.1 Evidence exists that shows the legal owner of a transmission facility reviewed their Transmission Maintenance and Inspection Plan annually and updated it as needed.

M1.2 The Transmission Maintenance and Inspection Plan and updates, if any, are received by the ISO annually.

### Entity Response (Required):

Question: Does the entity own a transmission facility that is, or is part of, a major transmission path identified in the table “Major WECC Transfer Paths in the Bulk Electric System” as provided by the WECC? ☐ Yes ☐ No If yes, please list or provide a list of all such transmission facilities and the transmission paths with which they are associated. If no, this standard is not applicable. No additional information is required.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

A copy of the entity’s Transmission Maintenance and Inspection Plan.

A list of transmission facilities that are, or are part of, major transmission paths identified in the table “Major WECC Transfer Paths in the Bulk Electric System” as provided by the WECC.

Evidence that shows the legal owner of a transmission facility reviewed their Transmission Maintenance and Inspection Plan annually and updated it as needed.

Evidence that the Transmission Maintenance and Inspection Plan and updates, if any, are received by the ISO annually.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-501-WECC-AB2-1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Determine if the legal owner of a transmission facility owns any transmission paths or transmission facilities on those paths applicable to this standard. If not, no further assessment is required. |
| --- | --- |
|  | (R1) Verify the legal owner of a transmission facility developed a Transmission Maintenance and Inspection Plan that details its inspection and maintenance requirements and applies to each transmission facility that is associated with each of the transmission paths identified by the ISO. |
|  | (R1.1) Verify the legal owner of a transmission facility reviewed its Transmission Maintenance and Inspection Plan annually and updated it as required. |
|  | (R1.2) Verify the legal owner of a transmission facility annually submitted its Transmission Maintenance and Inspection Plan and any updates to the ISO. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must include without limitation the following maintenance categories:

R2.1 Transmission line maintenance details:

R.2.1.1 patrol/inspection;

R.2.1.2 contamination control; and

R.2.1.3 tower and wood pole structure management;

R2.2 Station maintenance details:

R.2.2.1 inspections;

R.2.2.2 contamination control; and

R.2.2.3 equipment maintenance for the following:

(a) circuit breakers;

(b) power transformers (including phase-shifting transformers);

(c) regulators; and

(d) reactive power devices (including, but not limited to, shunt capacitors, series capacitors, static VAR compensators, synchronous condensers, shunt reactors, and tertiary reactors).

M2.	The Transmission Maintenance and Inspection Plan addresses the required maintenance details of requirement R2.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-501-WECC-AB2-1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility includes without limitation the following maintenance categories |
| --- | --- |
|  | (R2.1) Transmission line maintenance details: |
|  | (R2.1.1) patrol/inspection; |
|  | (R2.1.2) contamination control; and |
|  | (R2.1.3) tower and wood pole structure management; |
|  | (R2.2) Station maintenance details: |
|  | (R2.2.1) inspections; |
|  | (R2.2.2) contamination control; and |
|  | (R2.2.3) equipment maintenance for the following: |
|  | (R2.2.3(a)) circuit breakers; |
|  | (R2.2.3(b)) power transformers (including phase-shifting transformers); |
|  | (R2.2.3(c)) regulators; and |
|  | (R2.2.3(d)) reactive power devices (including, but not limited to, shunt capacitors, series capacitors, static VAR compensators, synchronous condensers, shunt reactors, and tertiary reactors). |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The maintenance practices of the legal owner of a transmission facility in the Transmission Maintenance and Inspection Plan must be either performance-based, time-based, or condition-based, or a combination of all three (3).

The Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility must include scheduled intervals for any time-based maintenance activities and/or a description supporting condition or performance-based maintenance practices including a description of the condition or performance based trigger.

M3.	The Transmission Maintenance and Inspection Plan addresses the items in requirement R3.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-501-WECC-AB2-1, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the maintenance practices of the legal owner of a transmission facility in the Transmission Maintenance and Inspection Plan are either performance-based, time-based, or condition-based, or a combination of all three (3). |
| --- | --- |
|  | (R3) Verify the Transmission Maintenance and Inspection Plan of the legal owner of a transmission facility includes scheduled intervals for any time-based maintenance activities and/or a description supporting condition or performance-based maintenance practices including a description of the condition or performance based trigger. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The legal owner of a transmission facility must implement its Transmission Maintenance and Inspection Plan and retain records that demonstrate such implementation including without limitation the following:

R4.1 The names of individual or crew members responsible for performing the work or inspection;

R4.2 The date(s) the work or inspection was performed;

R4.3 The transmission facility on which the work or inspection was performed; and

R4.4 A description of the inspection or maintenance performed.

M4.	Records exist that show the legal owner of a transmission facility implemented and followed its Transmission Maintenance and Inspection Plan.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-501-WECC-AB2-1, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the legal owner of a transmission facility implemented its Transmission Maintenance and Inspection Plan and retained records that demonstrate such implementation including without limitation the following: |
| --- | --- |
|  | (R4.1) The names of individual or crew members responsible for performing the work or inspection; |
|  | (R4.2) The date(s) the work or inspection was performed; |
|  | (R4.3) The transmission facility on which the work or inspection was performed; and |
|  | (R4.4) A description of the inspection or maintenance performed. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |