# Reliability Coordinator Operational Analyses and Real-time Assessments

# IRO-008-AB-2

# Standard Effective Date: December 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 | X |  |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 | X |  |  |  |  |  |  |  |  |  |  |
| R6 | X |  |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R4 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must perform an operational planning analysis that will allow it to assess whether the planned operations for the next day will exceed system operating limits and interconnection reliability operating limits within its wide-area.

M1.	Evidence of performing an operational planning analysis as required in requirement R1 exists. Evidence may include a completed operational planning analysis, dated power flow study results, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-008-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Review a sample of evidence and verify that the ISO performs an operational planning analysis, which determines if the planned operations for the next-day will exceed system operating limits and interconnection operating reliability limits within its wide-area. |
| --- | --- |
| Note to Auditor: 1) The standard does not specify that a new daily operational planning analysis shall be performed. The ISO may rely on an existing operational planning analysis if it is still valid for projected operating conditions. However, it would be valuable to understand in what situations the ISO would not perform a daily “next-day” analysis in order to assess whether planned operations will exceed system operating limits or interconnection reliability operating limits. 2) For specific next-day analyses selected, consider how previous studies are validated, if used in place of conducting a unique next-day study for the specific next-day analysis selected? |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must have an operating plan for next-day operations to address potential system operating limit and interconnection reliability operating limit exceedances identified as a result of its operational planning analysis as performed in requirement R1.

M2.	Evidence of having an operating plan as required in requirement R2 exists. Evidence may include plans for precluding operating in excess of each system operating limit and interconnected reliability operating limit that were identified as a result of the operational planning analysis, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-008-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Review a sample of operating planning analyses and associated operating plans provided by the ISO to verify that it has a coordinated plan for next-day operations that addresses potential system operating limit and interconnection reliability operating limit exceedances. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must perform a real time assessment at least once every 30 minutes.

M4.	Evidence of performing a real time assessment at least once every 30 minutes as required in requirement R4 exists. Evidence may include dated computer logs showing times of assessment as conducted, dated checklists, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-008-AB-2, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) For all, or a sample of, BES events selected by the auditor, review evidence (dates and times in the audit period) and determine if the ISO ensured a real time assessment was performed at least once every 30 minutes. |
| --- | --- |
| Note to Auditor: Auditors are advised to monitor compliance with Requirement R4 during events, due to the importance of real time assessments in such instances. Auditors can obtain a population of events for sampling from NERC’s, or the Regional Entity’s, records of mandatory event reports, other information available at the Regional Entities, or a query of the ISO. Auditors are encouraged to monitor compliance during the most critical events on the ISO’s system occurring during the compliance monitoring period. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |