# Steady-State and Dynamic Data for Transmission System Modeling and Simulation

# MOD-010&012-AB-0

# Standard Effective Date: January 1, 2014

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  | X1 |  | X2 |  | X |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of an aggregated generating facility that is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat. 2 The legal owner of a generating unit that is: - directly connected to the transmission system or to transmission facilities within the City of Medicine Hat; and - not part of an aggregated generating facility.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each legal owner of a generating unit, legal owner of an aggregated generating facility and legal owner of a transmission facility must provide, within thirty (30) days of the ISO’s written request, equipment characteristics and system data that the ISO requires to meet requirements R2 and R3.

M1.	Evidence of providing equipment characteristics and system data as required in requirement R1. Evidence may include data files, email or mail.

### Entity Response (Required):

Question: Has there been a written request received from the ISO for equipment characteristics and system data during the compliance audit period? ☐ Yes ☐ No If Yes, provide a list of requests. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to MOD-010&012-AB-0, R1

(This section to be completed by the Compliance Monitoring Entity):

| (R1) Verify the legal owner of a generating unit, legal owner of an aggregated generating facility or legal owner of a transmission facility provided the following to the ISO: |  |
| --- | --- |
|  | (R1) Equipment characteristics. |
|  | (R1) System data. |
|  | (R1) Verify the date of the ISO’s written request for this information. |
|  | (R1) Verify the entity provided the above items within thirty (30) days of the ISO’s written request. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Subject to requirement R3, the ISO must provide equipment characteristics and system data, including dynamics system modeling, simulation data and interchange schedules, to the WECC in compliance with the appropriate Interconnection-wide WECC steady-state and dynamics system modeling and simulation data requirements and reporting procedures.

M2.	Evidence of providing equipment characteristics and system data as required in requirement R2. Evidence may include data files, email or mail.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to MOD-010&012-AB-0, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Determine if WECC requested any of the following data from ISO for use in either steady state or dynamic system modeling or simulation processes: Equipment characteristics, system data, (including dynamics system modeling, simulation data and, interchange schedules.) |
| --- | --- |
|  | (R2) Verify the ISO provided requested data to the WECC per the data requirements and reporting procedures. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must provide the equipment characteristics and system data, including modeling data and information specified in requirement R2, according to the data bank compilation schedule the WECC publishes but if no such schedule has been published, then the ISO must provide such equipment characteristics and system data no later than:

(a) thirty (30) days from the date the WECC requests it if the ISO has received the requested information prior to the date that WECC requested it; or

(b) sixty (60) days from the date the WECC requests it if the ISO has not received the information prior to the date that WECC requested it.

M3.	Evidence of providing equipment characteristics and system data within the timelines specified in requirement R3. Evidence may include email or mail.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to MOD-010&012-AB-0, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Determine if the WECC data bank compilation schedule was published and if so what the required submission dates were. |
| --- | --- |
|  | (R3) If the WECC data bank compilation schedule was published, verify the ISO provided the required data by the specified due date in accordance with the published schedule. |
| (R3) If the WECC data bank compilation schedule was not published, determine the following: |  |
|  | (R3) The date WECC made the request for information. |
|  | (R3) The date ISO received requested information from other entities. |
|  | (R3) Verify the ISO provided requested information as specified in requirement R2 to WECC no later than: |
| (R3(a)) thirty (30) days from the date the WECC requested it if the ISO had received the requested information prior to the date that WECC requested it; or |  |
| (R3(b)) sixty (60) days from the date the WECC requested it if the ISO had not received the information prior to the date that WECC requested it. |  |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |