# Protection System Coordination

# PRC-001-AB3-1.1(ii)

# Standard Effective Date: October 1, 2017

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  |  | X1 |  | X2 |  |  |  |  |  |
| R2 |  |  |  | X1 |  | X2 |  | X3 |  |  |  |
| R3 |  |  | X1 |  | X2 |  |  |  |  |  |  |
| R4 |  |  |  |  |  |  | X3 |  |  |  |  |
| R5 |  |  |  | X1 |  | X2 |  | X3 |  |  |  |
| R6 |  |  |  |  |  |  |  | X3 |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner or operator of an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW; - within a power plant or industrial complex which: (A) is directly connected to the bulk electric system; and (B) has a combined maximum authorized real power rating greater than 67.5 MW; - a blackstart resource; or - material to this reliability standard and to the reliability of the bulk electric system, regardless of its maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1. 2 The legal owner or operator of a generating unit that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 18 MW; - within a power plant which: (A) is not part of an aggregated generating facility; (B) is directly connected to the bulk electric system; and (C) has a combined maximum authorized real power rating greater than 67.5 MW; - a blackstart resource; or - material to this reliability standard and to the reliability of the bulk electric system, regardless of its maximum authorized real power rating, as the ISO determines and publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1. 3 The legal owner or operator of a transmission facility that is: - part of the bulk electric system; or - not part of the bulk electric system and which the ISO: (A) determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system; and (B) publishes on the AESO website and may amend from time to time in accordance with the process set out in Appendix 1.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each operator of a generating unit and operator of an aggregated generating facility must, upon failure of any component of a protection system of a generating unit or an aggregated generating facility which it operates, take the actions listed in requirement R1.1 and R1.2.

R1.1 Notify the operator of a transmission facility to which the generating unit or aggregated generating facility is connected as soon as possible, but no longer than twenty-four (24) hours after becoming aware of such a failure, and provide the following information, regardless of whether or not the generating unit or aggregated generating facility remains on-line:

(a) identify the protection system that failed; and

(b) identify whether or not a functionally equivalent protection system remains in service.

R1.2 Correct the failure as soon as possible.

M1.	Evidence of notifying, providing information and correcting failures of any component of a protection system as required in requirement R1 exists. Evidence may include, but is not limited to:

M1.1 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence; and

M1.2 work orders, setting change files, electronic records or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity experience a failure of any component of a protection system of a generating unit or an aggregated generating facility which it operates during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R1. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) For any failure of a component of a protection system of a generating unit or an aggregated generating facility which the entity operates, verify the entity took the following actions: |
| --- | --- |
|  | (R1.1) Notify the operator of a transmission facility to which the generating unit or aggregated generating facility is connected as soon as possible, but no longer than twenty-four (24) hours after becoming aware of such a failure, and provide the following information, regardless of whether or not the generating unit or aggregated generating facility remains on-line: - identify the protection system that failed; and - identify whether or not a functionally equivalent protection system remains in service. |
|  | (R1.2) Correct the failure as soon as possible. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility must take the actions listed in requirements R2.1 through R2.3 after becoming aware of the failure of any of the following protection systems or teleprotection communication channels under its authority:

(a) a protection system, other than a related teleprotection communication channel referred to in requirement R2(c) or R2(d), that protects a transmission facility operated at a nominal voltage greater than 200 kV, whether or not a functionally equivalent protection system remains in service;

(b) a protection system, other than a related teleprotection communication channel referred to in requirement R2(c) or R2(d), that protects a transmission facility that is part of the bulk electric system where a functionally equivalent protection system is not available;

(c) a teleprotection communication channel, that is part of a protection system for a transmission facility operated at a nominal voltage greater than 200 kV, where there is an equivalent backup teleprotection communication channel, and where the failure lasts for more than twenty-four (24) continuous hours; or

(d) a teleprotection communication channel, where there is no equivalent backup teleprotection communication channel, and where the failure lasts for more than ten (10) consecutive minutes.

R2.1 Provide notification to the ISO, and to each directly affected operator of a transmission facility, directly affected operator of a generating unit, directly affected operator of an aggregated generating facility and directly affected interconnected transmission operator as soon as possible, but no longer than twenty-four (24) hours after becoming aware of a failure identified in requirements R2(a), R2(b) and R2(d), and no longer than forty-eight (48) hours after becoming aware of a failure identified in requirement R2(c), regardless of whether or not the transmission facility is removed from service following the awareness of such failure, that includes the following information:

(a) the identification of the protection system or teleprotection communication channel(s) that failed;

(b) when the protection system or teleprotection communication channel(s) failed or when such failure was first discovered; and

(c) an estimate of the date when the protection system or teleprotection communication channel(s) will be returned to service.

R2.2 Where the protection system or teleprotection communication channel(s) are not returned to service by the estimated return to service date identified in requirement R2.1, provide a new estimate of the return to service date up to five (5) days after the previous estimated return to service date to the entities that received the notification in accordance with requirement R2.1.

R2.3 Correct the failure as soon as possible.

M2.	Evidence of providing notification, providing an estimate and correcting failures of any of the protection systems or teleprotection communication channel(s) as required in requirement R2 exists. Evidence may include, but is not limited to:

M2.1 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence;

M2.2 voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence; and

M2.3 work orders, setting change files, electronic records or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity become aware of the failure of any of the protection systems or teleprotection communication channels under its authority listed in requirement R2(a) through R2(d) during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R2. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) For any instance in which the entity became aware of the failure of any of the protection systems or teleprotection communication channels under its authority listed in requirement R2(a) through R2(d) during the audit period, verify the entity took the following actions: |
| --- | --- |
|  | (R2.1) Provide notification to the ISO, and to each directly affected operator of a transmission facility, directly affected operator of a generating unit, directly affected operator of an aggregated generating facility and directly affected interconnected transmission operator as soon as possible, but no longer than twenty-four (24) hours after becoming aware of a failure identified in requirements R2(a), R2(b) and R2(d), and no longer than forty-eight (48) hours after becoming aware of a failure identified in requirement R2(c), regardless of whether or not the transmission facility is removed from service following the awareness of such failure, that includes the following information: - the identification of the protection system or teleprotection communication channel(s) that failed; - when the protection system or teleprotection communication channel(s) failed or when such failure was first discovered; and - an estimate of the date when the protection system or teleprotection communication channel(s) will be returned to service. |
|  | (R2.2) Where the protection system or teleprotection communication channel(s) are not returned to service by the estimated return to service date identified in requirement R2.1, provide a new estimate of the return to service date up to five (5) days after the previous estimated return to service date to the entities that received the notification in accordance with requirement R2.1. |
|  | (R2.3) Correct the failure as soon as possible. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each legal owner of a generating unit and legal owner of an aggregated generating facility must coordinate all new protection systems and all protection system changes with each affected interconnecting legal owner of a transmission facility and notify the ISO that such coordination has occurred.

M3.	Evidence of coordinating protection systems and notifying the ISO as required in requirement R3 exists.

Evidence of coordinating protection systems may include, but is not limited to, a fault analysis study, letters of agreement on settings, notifications of changes or other equivalent evidence.

Evidence of notifying the ISO may include, but is not limited to, electronic notifications (emails), hard copy notifications, or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity have any new protection systems or protection system changes during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R3. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) For all new protection systems and all protection system changes, verify the entity coordinated with each affected interconnecting legal owner of a transmission facility. |
| --- | --- |
|  | (R3) Verify the entity notified the ISO that such coordination had occurred. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	Each legal owner of a transmission facility must coordinate all new protection systems and all protection system changes with:

(a) each affected adjacent legal owner of a transmission facility;

(b) each affected legal owner of a generating unit;

(c) each affected legal owner of an aggregated generating facility;

(d) each affected interconnected transmission operator; and

(e) the ISO, as affected,

and must notify the ISO that such coordination has occurred.

M4.	Evidence of coordinating protection systems and notifying the ISO as required in requirement R4 exists.

Evidence of coordinating protection systems may include, but is not limited to, a fault analysis study, letters of agreement on settings, notifications of changes or other equivalent evidence.

Evidence of notifying the ISO may include, but is not limited to, electronic notifications (emails), hard copy notifications or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity have any new protection systems or protection system changes during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R4. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) For all new protection systems and all protection system changes, verify the entity coordinated with the following: |
| --- | --- |
|  | (R4(a)) each affected adjacent legal owner of a transmission facility; |
|  | (R4(b)) each affected legal owner of a generating unit; |
|  | (R4(c)) each affected legal owner of an aggregated generating facility; |
|  | (R4(d)) each affected interconnected transmission operator; and |
|  | (R4(e)) the ISO, as affected. |
|  | (R4) Verify the entity notified the ISO that such coordination had occurred. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	Each operator of a generating unit, operator of an aggregated generating facility and operator of a transmission facility must identify, notify and coordinate planned changes that may require changes in the protection systems of others as described in requirements R5.1 and R5.2.

R5.1 Each operator of a generating unit and operator of an aggregated generating facility must identify planned changes to its generation, load, or operating conditions that may require changes to the protection systems of others, and must notify the ISO and coordinate with each affected operator of a transmission facility in advance of making such changes.

R5.2 Each operator of a transmission facility must identify planned changes to its transmission, load or operating conditions that may require changes to the protection systems of others, and must notify the ISO and coordinate with each affected:

(a) operator of a transmission facility;

(b) adjacent interconnected transmission operator;

(c) operator of a generating unit; and

(d) operator of an aggregated generating facility,

in advance of making such changes.

M5.	Measures for this requirement are identified in the subsections below:

M5.1 Evidence of identifying, notifying and coordinating planned changes that may require changes to the protection systems of others as required in requirement R5.1 exists.

Evidence may include, but is not limited to, voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence.

M5.2 Evidence of identifying, notifying and coordinating planned changes that may require changes to the protection systems of others as required in requirement R5.2 exists.

Evidence may include, but is not limited to, voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity identify any planned changes as described in requirement R5 during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R5. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5.1) Verify the operator of a generating unit or operator of an aggregated generating facility identified planned changes to its generation, load, or operating conditions that may require changes to the protection systems of others. |
| --- | --- |
|  | (R5.1) Verify the operator of a generating unit or operator of an aggregated generating facility notified the ISO in advance of making such changes. |
|  | (R5.1) Verify the operator of a generating unit or operator of an aggregated generating facility coordinated with each affected operator of a transmission facility in advance of making such changes. |
|  | (R5.2) Verify the operator of a transmission facility identified planned changes to its transmission, load or operating conditions that may require changes to the protection systems of others. |
|  | (R5.2) Verify the operator of a transmission facility notified the ISO in advance of making such changes. |
|  | (R5.2) Verify the operator of a transmission facility coordinated with each affected: - operator of a transmission facility; - adjacent interconnected transmission operator; - operator of a generating unit; and - operator of an aggregated generating facility, in advance of making such changes. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	Each operator of a transmission facility must monitor the status (on/off) of each remedial action scheme in its area, and must notify the ISO and each affected:

(a) operator of a transmission facility;

(b) adjacent interconnected transmission operator;

(c) operator of a generating unit; and

(d) operator of an aggregated generating facility,

of each change in status.

M6.	Evidence of monitoring the status of each remedial action scheme in its area and notifying entities of each change in status as required in requirement R6 exists.

Evidence of monitoring the status of each remedial action scheme may include, but is not limited to, SCADA data, wiring diagrams or other equivalent evidence.

Evidence of notifying entities may include, but is not limited to, SCADA data, voice recordings, operator logs, electronic notifications (emails) or other equivalent evidence.

### Entity Response (Required):

Question: Did the entity experience any change in the status (on/off) of a remedial action scheme in its area during the audit period? ☐ Yes ☐ No If yes, provide details in the box below and evidence of compliance with requirement R6. If No, describe how this was determined in the narrative section below.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-001-AB3-1.1(ii), R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the entity monitored the status (on/off) of each remedial action scheme in its area. |
| --- | --- |
|  | (R6) For each change in the status of a remedial action scheme in its area, verify the entity notified the ISO and each affected: - operator of a transmission facility; - adjacent interconnected transmission operator; - operator of a generating unit; and - operator of an aggregated generating facility. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |