# Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection

# PRC-019-AB-2

# Standard Effective Date: January 1, 2022

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  | X1, 2 |  | X1, 3, 4, 5 |  | X1, 6 |  |  |  |  |
| R2 |  |  | X1, 2 |  | X1, 3, 4, 5 |  | X1, 6 |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a generating unit, the legal owner of an aggregated generating facility and the legal owner of a transmission facility whose resource is material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and includes on a list published on the AESO website, which the ISO may amend from time to time in accordance with the process set out in Appendix 1. 2 The legal owner of an aggregated generating facility that has a maximum authorized real power rating greater than 67.5 MW, where voltage regulating control for the facility is performed solely at the individual generating units of the aggregated generating facility, and the aggregated generating facility is: - directly connected to the transmission system; - directly connected to transmission facilities within the City of Medicine Hat; or - part of an industrial complex that is directly connected to the transmission system. 3 The legal owner of a generating unit whose generating unit has a maximum authorized real power rating greater than 18 MW that is: - directly connected to the transmission system; - directly connected to transmission facilities within the City of Medicine Hat; or - part of an industrial complex that is directly connected to the transmission system. 4 The legal owner of a generating unit whose generating unit is within a power plant that has a combined maximum authorized real power rating greater than 67.5 MW and that: - is not part of an aggregated generating facility; and - is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat. 5 The legal owner of a generating unit whose generating unit is a blackstart resource. 6 The legal owner of a transmission facility that owns a synchronous condenser greater than 20 MVA (gross nameplate rating) directly connected to the transmission system.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must, by the effective date of this reliability standard and at a maximum of every 5 calendar years, coordinate the voltage regulating system controls, including in-service limiters and protection functions, with the applicable equipment capabilities and settings of the applicable protection system devices and functions, assuming normal automatic voltage regulator control loop and steady-state system operating conditions, by verifying the following coordination items for each applicable facility:

(a) the in-service limiters are set to operate before the protection system of the applicable facility in order to avoid disconnecting the generating unit or synchronous condenser unnecessarily; and

(b) the applicable in-service protection system devices are set to operate to isolate or de-energize equipment in order to limit the extent of damage when operating conditions exceed equipment capabilities or stability limits.

M1.	Evidence of coordinating the voltage regulating system controls by verifying the coordination items as required in requirement R1 exists. Evidence may include dated documentation that demonstrates the coordination was performed, or other equivalent evidence.

### Entity Response (Required):

Question: Does the entity have any applicable facilities in accordance with requirement R1? ☐ Yes ☐ No [If yes, provide a summary of those facilities in the box below, and proceed to the sections below. If no, proceed to the sections below.] [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

A list of all applicable voltage regulating system controls.

Evidence of coordinating the voltage regulating system controls by verifying the coordination items as required in requirement R1, which may include dated documentation that demonstrates the coordination was performed, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-019-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Select all, or a sample of, voltage regulating system controls, and ensure they have been coordinated with the applicable equipment capabilities and settings of the applicable protection system devices and functions, assuming normal automatic voltage regulator control loop and steady-state system operating conditions, by verifying the following coordination items for each applicable facility: |
| --- | --- |
|  | (R1(a)) the in-service limiters are set to operate before the protection system of the applicable facility in order to avoid disconnecting the generating unit or synchronous condenser unnecessarily; and |
|  | (R1(b)) the applicable in-service protection system devices are set to operate to isolate or de-energize equipment in order to limit the extent of damage when operating conditions exceed equipment capabilities or stability limits. |
| Note to Auditor: The entity is required to coordinate the voltage regulating system controls by the effective date of this reliability standard and at a maximum of every 5 calendar years. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must:

(a) by the later of either the effective date of this reliability standard or within 90 days following the identification of unplanned systems, equipment or setting changes that will affect the coordination described in requirement R1; or

(b) prior to electrically connecting to the transmission system:

(i) a generating unit;

(ii) a synchronous condenser; or

(iii) a generating unit that is part of an aggregated generating facility;

any of which are impacted by planned system, equipment or setting changes that will affect the coordination as described in requirement R1,

perform the coordination described in requirement R1.

M2.	Evidence of performing the coordination as described in requirement R1 in accordance with the requirements in requirement R2 exists. Evidence may include dated documentation that demonstrates the specified interval in requirement R2(a) has been met or an operator log, or other equivalent evidence.

### Entity Response (Required):

Question: During the audit period, has the entity identified any unplanned systems, equipment or setting changes that will affect the coordination described in requirement R1? ☐ Yes ☐ No [If yes, provide a summary of the unplanned systems, equipment or setting changes in the box below, and proceed to the next question. If no, proceed to the next question.] [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Question: During the audit period, has the entity electrically connected to the transmission system any facilities listed in requirement R2(b) which are impacted by planned system, equipment or setting changes that will affect the coordination as described in requirement R1? ☐ Yes ☐ No [If yes, provide a summary of the facilities in the box below, and proceed to the sections below. If no, proceed to the sections below.] [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

A list of all unplanned systems, equipment or setting changes that will affect the coordination described in requirement R1 during the audit period.

A list of all facilities listed in requirement R2(b) electrically connected to the transmission system during the audit period which are impacted by planned system, equipment or setting changes that will affect the coordination as described in requirement R1.

Evidence of performing the coordination as described in requirement R1 in accordance with the requirements in requirement R2, which may include dated documentation that demonstrates the specified interval in requirement R2(a) has been met or an operator log, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-019-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2(a)) For all, or a sample of, unplanned systems, equipment or setting changes that will affect the coordination described in requirement R1, verify the entity performed the coordination described in requirement R1 by the later of either the effective date of this reliability standard or within 90 days following the identification of the unplanned systems, equipment or setting changes. |
| --- | --- |
|  | (R2(b)) For all, or a sample of, generating units, synchronous condensers, or generating units that are part of an aggregated generating facility, any of which are impacted by planned system, equipment or setting changes that will affect the coordination as described in requirement R1, verify the entity performed the coordination described in requirement R1 prior to electrically connecting to the transmission system. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |