# Generator Load Reliability

# PRC-025-AB-2

# Standard Effective Date: October 1, 2024

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  | X1 |  | X2 |  | X3 |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of an aggregated generating facility that is: - directly connected to the bulk electric system and has a maximum authorized real power rating greater than 67.5 MW; - within a power plant or industrial complex which: (A) is directly connected to the bulk electric system; and (B) has a combined maximum authorized real power rating greater than 67.5 MW; - a blackstart resource; or - material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1. 2 The legal owner of a generating unit, including all electrical equipment that connects the stator windings of any generating unit to the transmission system, that is: - directly connected to the bulk electric system, or that is part of an industrial complex that is directly connected to the bulk electric system, and has a maximum authorized real power rating greater than 18 MW; - within a power plant or industrial complex which: (A) is not part of an aggregated generating facility; (B) is directly connected to the bulk electric system; and (C) has a combined maximum authorized real power rating greater than 67.5 MW; - a blackstart resource; or - material to this reliability standard and to the reliability of either the interconnected electric system or the City of Medicine Hat electric system as the ISO determines and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1. 3 The legal owner of a transmission facility that is: - part of the bulk electric system; or - which the ISO determines is necessary for the reliable operation of either the interconnected electric system or the City of Medicine Hat electric system and publishes on the AESO website and may amend from time to time on notice to market participants in accordance with the process set out in Appendix 1.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each legal owner of a generating unit, legal owner of an aggregated generating facility, and legal owner of a transmission facility, must apply settings that are in accordance with Appendix 3 - Relay Loadability Evaluation Criteria to protection systems, excluding those listed in Appendix 2 - Excluded Protection Systems, on each load-response protection relay while maintaining reliable fault protection.

M1.	Evidence of applying protection relay settings in accordance with requirement R1 exists. Evidence may include summaries of coordination studies, calculations, setting sheets, and protection relay test reports or records of installation of settings in protection relays including references to how the requirements of Table 1 and maintaining reliable fault protection have been met, or other equivalent evidence.

It is only necessary to provide evidence that the protection relays settings do not limit loadability. PRC-025-AB-2 does not require evidence to be provided that the protection relays reliably detect all fault conditions and protect the applicable system elements from these faults.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

A list of the entity’s load-response protection relays.

Evidence of applying protection relay settings in accordance with requirement R1, which may include summaries of coordination studies, calculations, setting sheets, and protection relay test reports or records of installation of settings in protection relays including references to how the requirements of Table 1 and maintaining reliable fault protection have been met, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended….

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-025-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) For all, or a sample of, load-response protection relays: |
| --- | --- |
|  | (R1) Verify the entity applied settings that are in accordance with Appendix 3 - Relay Loadability Evaluation Criteria to protection systems while maintaining reliable fault protection. |
|  | (R1) Verify that if applicable, the entity excluded any protection systems listed in Appendix 2 - Excluded Protection Systems. |
| Note to Auditor: It is only necessary to provide evidence that the protection relays settings do not limit loadability. PRC-025-AB-2 does not require evidence to be provided that the protection relays reliably detect all fault conditions and protect the applicable system elements from these faults. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |