# Voltage and Reactive Control

# VAR-001-AB-4

# Standard Effective Date: December 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must specify a system voltage range with an associated tolerance band, as part of its plan to operate within system operating limits and interconnection reliability operating limits.

R1.1 The ISO must provide a copy of the system voltage range with an associated tolerance band to an interconnected transmission operator within thirty (30) days of a request.

M1.	Evidence of specifying a system voltage range with an associated tolerance band as required in requirement R1 exists.

M1.1 Evidence of providing a copy of the system voltage range with an associated tolerance band as required in requirement R1.1 exists. Evidence may include, but is not limited to, emails, website postings, or any other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO receive a request to provide a copy of the system voltage range with an associated tolerance band to an interconnected transmission operator during the audit period? ☐ Yes ☐ No If yes, provide evidence of compliance. If no, state the process used to determine no such request was received.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the ISO specified a system voltage range with an associated tolerance band, as part of its plan to operate within system operating limits. |
| --- | --- |
|  | (R1) Verify the ISO specified a system voltage range with an associated tolerance band, as part of its plan to operate within interconnection reliability operating limits. |
|  | (R1.1) Verify system voltage ranges were provided within thirty (30) days of request if applicable. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must operate with sufficient reactive power resources available within Alberta to protect the voltage levels of the transmission system under normal and contingency conditions.

M2.	Evidence of operating with sufficient reactive power resources as required in requirement R2 exists. Evidence may include, but is not limited to, data files or any other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Review the methodology used by the ISO to determine the level of reactive power resources that are sufficient to protect voltage levels of the transmission system under normal and contingency conditions. |
| --- | --- |
|  | (R2) Verify that the ISO followed its methodology and maintained sufficient reactive power resources. |
| Note to Auditor: The requirement to maintain sufficient reactive power resources to protect voltage levels under normal and contingency conditions is a real-time, moment to moment requirement to maintain transmission system reliability. However, it would be acceptable if the ISO only has historical data saved on an hourly basis. |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must be able to regulate transmission voltage and reactive power flow by issuing directives or instructions to operate the devices necessary to do so.

M3.	Evidence of being able to regulate transmission voltage and reactive power flow as required in requirement R3 exists. Evidence may include, but is not limited to, relevant ISO authoritative documents.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the ISO has documented authority to regulate transmission voltage and reactive power flow by issuing directives or instructions to operate the devices necessary to do so. |
| --- | --- |
|  | (R3) Verify the ISO had procedure and/or tools to regulate transmission voltage and reactive power flow by issuing directives or instructions to operate the devices necessary to do so. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must specify the criteria that will exempt a generating unit or an aggregated generating facility from:

a) following a voltage or reactive power instruction or directive;

b) having its automatic voltage regulator or voltage regulating system in service or being in voltage control mode; or

c) making any associated notifications.

R4.1 If the ISO determines that a generating unit or an aggregated generating facility has satisfied the exemption criteria, the ISO must notify the associated operator of a generating unit or operator of an aggregated generating facility.

M4.	Evidence of specifying the criteria that will exempt a generating unit or an aggregated generating facility as specified in requirement R4 exists.

M4.1 Evidence of notifying the associated operator of a generating unit or operator of an aggregated generating facility if the ISO determines that the exemption criteria were satisfied. Evidence may include, but is not limited to, emails, data files or other equivalent evidence.

### Entity Response (Required):

Question: (R4.1) Did the ISO determine an applicable generating unit or aggregated generating facility satisfied the exemption criteria during the audit period? ☐ Yes ☐ No If yes, provide evidence of having made the required notification. If no, state the process used to determine no such determination was made.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the ISO specified the criteria that will exempt a generating unit or an aggregated generating facility from: |
| --- | --- |
|  | (R4(a)) following a voltage or reactive power instruction or directive; |
|  | (R4(b)) having its automatic voltage regulator or voltage regulating system in service or being in voltage control mode; or |
|  | (R4(c)) making any associated notifications. |
|  | (R4.1) If applicable, verify the ISO notified the associated operator of a generating unit or operator of an aggregated generating facility of having met the exemption criteria. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO, when issuing directives or instructions for voltage level or reactive power, to the operator of a generating unit or the operator of an aggregated generating facility, must specify the following:

a) the voltage level at the point of connection between the transmission system and a generating unit or an aggregated generating facility, including those in a power plant or an industrial complex; or

b) the reactive power to be achieved by the generating unit, aggregated generating facility, power plant or industrial complex.

M5.	Evidence of issuing directives or instructions to the operator of a generating unit or the operator of an aggregated generating facility as required in requirement R5 exists. Evidence may include, but is not limited to, voice recordings or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Verify when issuing directives or instructions for voltage level or reactive power to the operator of a generating unit or the operator of an aggregated generating facility, the ISO, specified the following: |
| --- | --- |
|  | (R5(a)) the voltage level at the point of connection between the transmission system and a generating unit or an aggregated generating facility, including those in a power plant or an industrial complex; or |
|  | (R5(b)) the reactive power to be achieved by the generating unit, aggregated generating facility, power plant or industrial complex. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must, after a review with the legal owner of a generating unit or the legal owner of an aggregated generating facility regarding necessary off-load tap changes for the step-up transformer that connects to the transmission system, provide documentation to the legal owner of a generating unit or the legal owner of an aggregated generating facility specifying the required tap changes, a timeframe for making the changes, and technical justification for these changes.

M6.	Evidence of providing documentation as required in requirement R6 exists. Evidence may include, but is not limited to, dated study results or email to appropriate recipients that identifies contents submitted or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO determine off-load tap changes were necessary for an applicable generating unit or aggregated generating facility step-up transformer during the audit period? ☐ Yes ☐ No If yes, provide evidence of compliance. If no, state the process used to determine no such request was received.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to VAR-001-AB-4, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the ISO reviewed necessary off-load tap changes for the step-up transformer that connects to the transmission system, with the legal owner of a generating unit or the legal owner of an aggregated generating facility. |
| --- | --- |
|  | (R6) Verify the ISO provided documentation to the legal owner of a generating unit or the legal owner of an aggregated generating facility specifying: - the required tap changes - a timeframe for making the changes, and - technical justification for these changes. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |